## Introduction
The test scripts contained in this packet are not intended to test the functionality of CPRS, but rather the refactored Problem List functionality. The intent of this test script is to access the Problem List in CPRS and check the common functions ensuring that the refactored code in VistA does not cause adverse effects. Additional testing using the VistA Cache scroll-and-roll interface will test the Problem List in low level detail.
The test scripts documented for CPRS testing of the Problem List adhere to the approved guidelines as described in the NIST Test Procedure for §170.302 (c) Maintain up-to-date problem list found at: http://healthcare.nist.gov/docs/170.302.c_problemlist_v1.1.pdf .
Note: All test cases were documented using the CPRS Demo system; all screenshots contained herewithin were also taken from this demo. Reference: http://www.ehealth.va.gov/EHEALTH/CPRS_Demo.asp

## PL_Start
Action | Expected Result | UI Example | Actual Results | Pass/Fail
Launch CPRS | Patient Selection window is displayed. The user is presented with the following radio buttons: No Default, Providers, Team/Personal, Specialties, Clinics, Wards, and All. Chart tab -> Coversheet is displayed.
Click on each radio button. | User may only select one radio button at a time. The radio button position changes for each selection. Certain radio buttons may be disabled, for example No Default.
Click the All radio button. | The All radio button is selected. The Patients (All Patients ) is displayed in the list-box. The last selected patient is shown above the live in the list-box. All other patients are listed below the line in the list-box.
Select a patient from the patient list. | When the patient is selected the Patient is highlighted in the list. The patients name is shown with their SSN, DOB, Sex and Veteran status.
Click OK | CPRS displays a list of Active Problems on the GUI.
Select one of the Active Problems. | The Active Problem selected is highlighted. Popup window is displayed with the title bar showing the highlighted text in the Active Problem window as the title of the popup window. The popup window shows the TIU Note details of the Active Problem starting with the text/diagnosis description, the ICD9 code (799.9 as example), the Onset, Status, SC Cond, Exposure, Provider, Clinic, Recorded, Entered, and Updated information. The user can Print the details of the active Problem or Close the window.
Click Print | Windows Print manager displays and the user specifies the printer or print output device. Output (not formatted): Benign Prostatic Hypertrophy ADEMOPATIENT,EIGHT 666-00-0928 Oct 01, 1933 (78) ========================================================================== *** WORK COPY ONLY *** Printed: Feb 23, 2012 23:37 Benign Prostatic Hypertrophy (799.9) Onset: Status: ACTIVE SC Cond: NO Exposure: None Provider: PROVIDER,ONE Clinic: PRIMARY CARE Recorded: 3/2/11, by PROVIDER,ONE Entered: 3/2/11, by PROVIDER,ONE Updated: 3/2/11 --------------------------------------------------------------------------End of report
Click Close | The Active Problem window closes and returns the user to the CRS screen with the patient selected.
Click View -> Chart Tab -> Problem List from the CPRS Menu bar. | The CPRS Problem List is displayed. User is presented with a View Option to choose from Active, Inactive, Both inactive and active, and Removed. User has the option to ass New problem by clicking the <New problem> button ('problem' in the button has a lower case 'p'). The list of problems are displayed (depending on the View option selection. The columns shown are Status, Description, Onset Date, Last Update, and Location.
Click View -> Chart Tab -> Cover Sheet from the CPRS Menu bar. | The CPRS Cover Sheet is displayed.
Press Ctrl+P key combination. | Problem List is displayed.
Click View -> Chart Tab -> Cover Sheet from the CPRS Menu bar. | The CPRS Cover Sheet is displayed.
Click the 'Problems' tab at the bottom of the screen. | Problem List is displayed.
Click Active in the View options box. | CPRS will display all Active problems for the selected patient. In the Status column each row is designated with an 'A'.
click the Inactive View option. | The problems listed will have a 'I' to designate Inactive Problems. If no Inactive problems are listed the GUI will display 'No problems found'.
Click the 'Both active and inactive' option. | All problems with an 'A' and 'I' status will be listed. No indicator will be displayed if there are no 'A' or 'I' problems. If no problems exist for the patient the patient the GUI will display 'No problems found'.
Click the Removed view option. | All problems with a Status of 'R' will be displayed. Is no Problems with an 'R' status exist the GUI will display 'No problems found'.

## New Problem
Action | Expected Result | UI Example | Actual Results | Pass/Fail
Click on the Problems tab. | The Problems tab displays.
Click on the New problem button. User may also chose from the menu bar the Action menu | and select New Problem.
Type a term, Cerebrovascular Accident, to search for in the Enter Term to Search field. Click the Search button. | Two terms are displayed for Cerebrovascular Accident.
Select Cerebrovascul:[434.91] and click OK.
Set the Status to Active, Immediacy to Acute and specify the Date of Onset, Resp Provider, and Clinic. | The system allows the user to set the Status to Active, Immediacy to Acute and specify the Date of Onset, Resp Provider, and Clinic
Click the Add comment button. | The Annotate a problem pop-up window displays.
The typed text is shown in the pop-up window. After OK clicked the comment is added to the Problem.
Select the comment shown in the comments box and click Edit Comment. | The Annotate a problem pop-up appears with the comment text highlighted. The user can replace or edit the existing text.
Type 'Updated Comment' in the Annotate a problem text box and click OK. | Comment is updated to show the revised text.
Click OK | Problem List is displayed showing Cerebrovascular Accident as an Active Problem.
Establish a new and Active problem for the following:  Recurrent Urinary Tract Infection, ICD-9 Code: V13.02, Status: Vendor-supplied (e.g. Active), Date Diagnosed: Vendor-supplied (e.g. June 24, 2010)  Chronic Obstructive Pulmonary Disease, ICD-9 Code: 496.0, Status: Vendor-supplied (e.g. Active), Date Diagnosed: Vendor-supplied (e.g. April 4, 2010)  Essential Hypertension, ICD-9 Code: 401.9, Status: Vendor-supplied (e.g. Active), Date Diagnosed: Vendor-supplied (e.g. March 30, 2010)

## Change Problem
Action | Expected Result | UI Example | Actual Results | Pass/Fail
Select Cerebrovascular Accident from the Active Problems. Select the Action menu and click Change
Change the Immediacy to Acute and the Date of Onset and click OK. | User is returned to the Problem List and the problem is updated.
Modify the Status of Urinary Tract Infection from Active resolved
Modify the Status of Essential Hypertension from Active to Inactive. Inactive)

## Inactivate Prob
Action | Expected Result | UI Example | Actual Results | Pass/Fail
Select Cerebrovascular Accident from the Active Problems. Select the Action menu and click Inactivate | The Active Cerebrovascular Accident from the Active Problems is changed to an Inactive problem.
Click on Inactive. | The Inactive problems are displayed. Verify that Cerebrovascular Accident problem is displayed in the list.
Select Cerebrovascular Accident from the Active Problems. Select the Action menu and click Change. Select the Active and OK. | The Cerebrovascular Accident problem is returned to the Active Problem List.
lem

## Annotate Problem
Action | Expected Result | UI Example | Actual Results | Pass/Fail
Select Cerebrovascular Accident from the Active Problems and click the Action menu, select Annotate. | The Annotate a problem pop-up is displayed as a modal window.
Type 'This is another test.' in to the Annotate a problem' pop-up and click OK. | The problem is updated with a new comment to show the specified text.

## Remove Problem
Action | Expected Result | UI Example | Actual Results | Pass/Fail
Select Cerebrovascular Accident from the Active Problems and click the Action menu, select Remove. | The selected Problem is displayed and the Remove button becomes enabled.
Click the Remove button. | The selected problem is removed from the Active Problem list.
Under View options select Removed. | The Removed problems are displayed. Shown in the list is the problem removed in Step 3.

## Restore Problem
Action | Expected Result | UI Example | Actual Results | Pass/Fail
Select Cerebrovascular Accident from the Active Problems and click the Action menu, select Remove. | The selected Problem is displayed and the Remove button becomes enabled.
Click on the Removed View option. | The Removed problems are displayed.
Click on the Removed problem in the problem list. Select the Action menu and click Restore. | The selected problem is Restored and placed in the Active or Inactive Problem List as the Status indicates.