LEDI IV

Laboratory 
Version 5.2

Patch LA*5.2*74/LR*5.2*350

Test Evaluation Summary

December 2011

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 12/19/2011 | 0.1 | Set up of the LEDI IV Remediation Test evaluation Summary |  |
| 12/20/2011 | 0.2 | Star with the defect breakdown |  |
| 12/21/11 | 0.3 | Input of figures from user1 |  |
| 12/22/11 | 0.4 | Set up of tables and Pies |  |
| 12/23/11 | 0.5 | Updating graphs and pies |  |
| 01/04/2012 | 0.6 | Write up of coverage sections |  |
| 01/05/12 | 0.7 | Write up of test result section |  |

Table of Contents

1.	Introduction	1

1.1.	Purpose	1

1.2.	Scope	1

1.3.	Definitions, Acronyms and Abbreviations	1

1.4.	References	1

2.	Test Results Summary	2

2.1.	Defect Severity and Priority Levels	2

2.2.	Total Defects by Severity Level	2

2.3.	Defects by Iteration and Severity Level	2

2.4.	Defects by Source and Resolution	3

2.5.	Defects by Resolution and Module	5

2.6.	Defects by Defect Category	6

3.	Test Coverage	6

3.1.	Requirements Covered	6

3.2.	Risks Covered	6

3.3.	Code-based Coverage	7

3.4.	Security Coverage	7

3.5.	Privacy Coverage	7

3.6.	Section 508 Compliance Coverage	7

4.	Suggested Actions	7

A.	Defect Severity and Priority Definitions	8

B.	Optional Tables, Charts, and Graphs	10

B.1.	Defect Source (TOP 5)	10

B.2.	Defect Status	10

B.3.	Aging of Open Defects	11

# Introduction

The Laboratory Electronic Data Interchange (LEDI) IV patches LA*5.2*74 and LR*5.2*350, enhances a bi-directional interface that allows electronic sharing of lab data between VA VistA Laboratories and Commercial Reference Labs and the Laboratory System Reengineering Project (LSRP) Laboratory Information Management System (LIMS).

## Purpose

The purpose of this Test Evaluation Summary for the LEDI IV software is to:

- Present a summary analysis of the key test results and key measures of test for review and assessment by designated stakeholders

- Provide a general statement of the relative quality of the system under test

- Make recommendations for future testing efforts

- The last full regression testing was against 2.0.0 and the scoped risk based testing was applied to 2.0.1

This Test Evaluation Summary also supports the following objectives specified in the LEDI IV Patch LA*5.2*74/LR*5.2*350 Master Test Plan:

- Enter Microbiology and Anatomic Pathology orders

- Accessioning

- Process the Microbiology and Anatomic Pathology results

- Change or delete orders

- HL7Messaging:

    - Changes to allow Lab data related to orders and results to be transmitted in a future patch to/received from related VistA or COTS Laboratories via HL7 Order (ORM) and Result (ORU) Messages for VistA Laboratory associated with the following areas:

      - “MI” subscript – microbiology

      - “SP” subscript – surgical pathology

      - “CY” subscript – cytology

      - “EM” subscript – electron microscopy.

    - Orders and results can be transmitted to and from the VistA Laboratories or COTS environment and VA.

    - Verify data functionality transmission to Global file.

- File 63 Remediation

- Detection of incorrectly defined Antibiotic field within LAB DATA File (#63).

- Reporting of incorrectly defined Antibiotic field within LAB DATA File (#63) if found. Report a null set if no errors found.

- Placing the report of incorrectly defined Clinical Pathology (Chemistry and Hematology) data names into a VistA MailMan message- and transmitting it to the members of the VistA mail group LMI.   Verify VistA MailMan message transmission to the members of the VistA mail group LMI.

- Correction of any incorrectly defined Antibiotic field within LAB DATA File (#63) and any related result data.

- Detection of incorrectly defined Clinical Pathology (Chemistry and Hematology) data names in LABORATORY TEST File (#60) and LAB DATA file (#63).

- Correction of incorrectly defined Clinical Pathology (Chemistry and Hematology) data names in LABORATORY TEST File (#60) and LAB DATA File (#63) and any related result data.

- Reporting of incorrectly defined Clinical Pathology (Chemistry and Hematology) data names in LABORATORY TEST File (#60) and LAB DATA File (#63). Report a null set if no errors found.

- Correction of incorrectly defined Clinical Pathology (Chemistry and Hematology) data names in LAB DATA File (#63) and any related result data.

- Scheduled task ‘LRTASK NIGHTLY’ for Antibiotic fields in File #63.

- Scheduled task ‘LRTASK NIGHTLY’ for Clinical Pathology (Chemistry and Hematology) fields in File #63. See comment for #10. The SDD says it checks file 60 and 63 in the cleanup but never specifies how either is cleaned up.

## Scope

This test evaluation summary will provide a high level view of the (LEDI) Phase IV – Anatomic Pathology (AP) & Microbiology (Micro) patches LA*5.2*74 and LR*5.2*350 test cases, their results and defects during the development testing process of the project.

The tester performed functional testing in a no-harm capacity. The tester concentrated on the following options:

- The tester created orders in the Cheyenne collection site which is on LEDI 3  and sent them to  Lexington which is on Version 20 of LEDI IV

    - An order is created  for a Chemistry sub test

    - The order is accessioned (Accessioning)

    - A Long Form list is generated in Cheyenne

    - A Manifest is created

    - Manifest shipping option to transmit electronically

    - The SME verifies the collection site Cheyenne receives email for changes, adds tests and views alerts for all when Results are available, results changes have been made, and/or tests have been added in Lexington

    - Cheyenne Receives Error View Alerts from Lexington

    - Cheyenne verifies test received from Lexington

  - Host Site Lexington LEDI IV receiving and processing data from Cheyenne LEDI 3

- Lexington receives a view alert for incoming manifest from Cheyenne

    - Lexington receives an error view alert from Cheyenne – test/collection sample miss match

    - Lexington Accepts the manifest from Cheyenne – log in manifest

    - Lexington verifies the test results

    - Manifest shipping option to transmit electronically

    - Lexington can build a Long Form Accession lists

    - Lexington can build an Incomplete Lists

  - In addition to the above, the following options will be tested in LEDI IV V20 Lexington:

    - General Lab User Parameters  [LR USER PARAM]

    - Package Parameters

    - Manage MI/AP Test Mappings [LRCAPFF]

    - Accessioning and resulting of a Micro test (no interface just functional)

    - Accessioning and reporting of an AP case (no interface just functional)

Editing of an Antibiotic [LRWU7 EDIT]

## Definitions, Acronyms and Abbreviations

| Acronym | Definition |
| --- | --- |
| AITC | Austin Information Technology Center |
| AP | Anatomic Pathology |
| API | Application Program Interface |
| BMC | Branch Medical Clinic |
| CH | Chemistry |
| CHCS | Composite Heath Care System |
| CHCS II | Composite Heath Care System, version 2 |
| CPRS | Computerized Patient Record System |
| CY | Cytology |
| DBS | Database Server |
| DISA | Defense Information Systems Administration |
| DMIS | Defense Medical Information Systems |
| DoD | Department of Defense |
| DS | Data Standardization |
| E3R | Electronic Error and Enhancement Report |
| EA | Enter/verify/modify (auto instrument) option located in VistA |
| EM | Electron Microscopy |
| EM | Enter/verify/modify (manual) option located in VistA |
| ETS | Enterprise Terminology Services, now known as STS |
| GUI | Graphic User Interface |
| HCS | Health Care System |
| HL7 | Health Level 7 |
| IP | Internet Protocol |
| LA | Laboratory Auto Instrument |
| LA7 | Automated Laboratory Instruments |
| LEDI | Laboratory Electronic Data Interchange |
| LEDI III | Laboratory Electronic Data Interchange, version 3 |
| LDSI | Laboratory Data Sharing Interoperability |
| LIM’s | Laboratory Information Manager’s |
| LMI | Local Management Interface |
| LOINC | Laboratory Logical Observation Identifier Names and Codes |
| MB | Megabytes |
| MI | Microbiology |
| MSM | Micrometrics’ Standard MUMPS |
| NOIS | National On-Line Information Sharing |
| ORM | HL7 Order Message |
| ORU | HL7 Result Message (Observation Result Unsolicited) |
| P&LMS | Pathology & Laboratory Medicine Service |
| RSD | Requirements Specification Document |
| SDD | Software Design Document |
| SNOMED | Systemized Nomenclature of Medicine Clinical Terminology |
| SP | Surgical Pathology |
| SMEs | Subject matter experts |
| STS | Standards & Terminology Service |
| TCP | Transmission Control Protocol |
| UID | Unique Identifier assigned to VistA Laboratory accessions |
| VA | Veterans Affairs |
| VAMC(s) | Veterans Affairs Medical Center (s) |
| VistA | Veterans Information System and Technology Architecture |
| VPN | Virtual Private Network |
| VSU | VPN Service Unit |
| WAN | Wide Area Network |

### Definitions

| Term | Definition |
| --- | --- |
| Backdoor method | The term is used to describe the process of ordering laboratory tests directly into the Laboratory application by one of the Laboratory options. The suggested or correct manner of ordering entails placing the order into the VISTA Clinical Patient Record System (CPRS). |
| E3R | The Electronic Error and Enhancement Report system is located on the VA FORUM mail system. The utility provides tools for entering, tracking and reporting enhancement requests for VISTA packages. |
| FORUM | VA’s national electronic mail system is used for electronic discussions, conferences, distribution of VA directives, news, and computer programs. In addition to network mail, FORUM also hosts several national databases. A national communications system that is used within the Department of Veterans Affairs. In addition to network mail, FORUM hosts several national databases that include: Physician Data Query (PDQ) Cancer Information Database; Performance Excellence Database for sharing quality assurance success stories; VA/DoD Health Care Sharing Agreement; National On-Line Information System for tracking problems reported to IRM Field Office specialists; Interlibrary Loan System; National Vacancy File; Facility ADP Plans; DHCP Site implementation System; and E3R System designed for entering Requests for software enhancements. A Physician’s Guide for Disability Evaluation Exams is also available. |

## References

The references that support the implementation of this MTP are:

- LEDI IV HL7 Interface Specification for Patches LA*5.2*74 and LR*5.2*350.

- LEDI IV – Patch LA*5.2*74/LR*5.2*350 Master Test Plan

- LEDI IV Requirement Specification Document (RSD)

- LEDI IV Traceability Metrics

- LEDI IV Software Requirements Specification

Messaging & Interface Services (M&IS)

- VHA Software Document Library (VDL), Laboratory Electronic Data Interchange (LEDI), Clinical Section Version 5.2

# Test Results Summary

All test cases written (85) were executed and ultimately passed after the anomalies were addressed by development.

There are a total of 52 defects. 44 defects have been fixed, 3 are in a state of approval or postponement and 5 have been rejected by the development team.

## Defect Severity and Priority Levels

A defect is defined as a flaw in a component or system that can cause the component or system to fail to perform its required function, e.g. an incorrect statement or data definition. A defect, if encountered during execution, may cause a failure of the component or system.

Defects are categorized according to severity and priority levels: The Test Analyst assigns the severity, while the Development Manager assigns the priority for repair. For more information, see Appendix A – Defect Severity and Priority Definition in this Test Evaluation Summary.

## Total Defects by Severity Level

## Defects by Iteration and Severity

The breakdown by Iteration and Severity is as follow:

| Iterations | Low | Medium | High | Critical | Totals | % Of Identified |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PECA Required * |  |  | 1 |  | 1 | 1.9 |  |
| PECA not Required * | 1 | 29 |  |  | 30 | 57.7 |  |
| Alpha |  | 5 | 4 |  | 9 | 17.3 |  |
| OO3 |  |  | 1 |  | 1 | 1.9 |  |
| OO4 |  | 2 | 2 | 3 | 7 | 13.5 |  |
| OO5 |  | 2 |  |  | 2 | 3.8 |  |
| OO7 | 1 | 1 |  |  | 2 | 3.8 |  |
| Total Identified | 2 | 39 | 8 | 3 | 52 | 100 |  |

- PECA - A form required for submission by LABORATORY SYSTEMS RE-ENGINEERING PROJECT COMMERCIAL-OFF-THE-SHELF (LSRP COTS) SOFTWARE?

## Defects by Source and Resolution

|  | Internal | Test site | Other | Totals | % Of Identified |
| --- | --- | --- | --- | --- | --- |
| Fixed as directed | 1 | 6 | 8 | 15 | 28.8 |
| Fixed Indirectly | 0 | 2 | 0 | 2 | 3.8 |
| Create_CodeCR | 2 | 19 | 6 | 27 | 50.0 |
| Enhancements as Create Code CR | 2 | 1 | 0 | 3 | 5.45 |
| Rejected | 1 | 3 | 1 | 5 | 9.6 |
| Total Identified | 6 | 31 | 15 | 52 | 100 |

## Defects by Resolution and Module

N/A

## Defects by Defect Category

# Test Coverage

There are 74 requirements and 100 % of the requirements were covered by the test cases entered in the Rational Quality Manager. All test cases (85) have been performed and passed, including 47 defects identified during regression testing.

## Requirements Covered

- The Microbiology Section has 21 requirements which are 100 % covered by the executed tests.

- The Anatomic Pathology Section has 17 requirements which are 100 % covered by the executed tests.

- The Systemized Nomenclature of Medicine Clinical Terminology (SNOMED) Section has 23 requirements which are 100 % covered by the executed tests.

- The Laboratory Logical Observation Identifier Names and Codes (LOINC) Section has 4 requirements which are 100 % covered by the executed tests.

- The File 63 Remediation Utilities Section has 9 requirements which are 100 % covered by the executed tests.

## Risks Covered

| Risk | Mitigation Strategy | % of Risk Covered |
| --- | --- | --- |
| Adequate test environments are not available to support conflicting needs of different projects. | SQA will submit detailed requests for test environments for manual and automated testing, load/performance testing, and beta/acceptance testing, including requirements for database size and data integrity | 85 |
| 3646-If the standard LEDI IV code (v20 at a minimum), on non-LSRP VistA lab sites, cannot be interfaced to Laboratory Systems Re-engineering Project Commercial-Off-The-Shelf (LSRP COTS) software. | Until LSRP is fully deployed, sites will temporarily lose functionality to electronically send and receive orders and results to/from other VA labs. This is no longer a problem the risk has been closed. | 100 |
| 3863- If the LEDI IV code is not nationally deployed prior to LSRP approval for national deployment, and the LSRP field sites are not added as test sites | The LSRP alpha deployment is at risk for adequate development support. We are currently deploying the LEDI IV with enough time for the LSRP alpha deployment. | 95 |
| Late code delivery. | SQA can monitor the status of development and escalate to management if it appears a delay is imminent | 75 |
| Unstable or variable scope management. | SQA can prepare for a large scope and adjust their expectations downward when details are available | 80 |
| Artifacts not made available for review. | The best recourse (if artifacts are not made available for review) will be to escalate this to management | 60 |
| Quantity of testing resources not available | Enough SQA testers become available through contract negotiations. | 95 |
| Learning curb of the SQA testers could be high due to complexity of the LAB application. | Allow time in the Testing schedule for training the SQA testers to become familiar with the LAB application. | 68 |
| Network performance impacts SQA’s ability to test or use testing tools. | Project management should develop the schedule with the anticipation of inevitable network outages and slow-downs. Some of the performance issues may be mitigated by adding more dedicated lines and implementation of the web version of Rational Quality Manager. | 99 |

## Code-based Coverage

N/A

## Security Coverage

Security and access control testing verified that access to the system is controlled and that unwanted or unauthorized access is prohibited. These tests are implemented and executed on various targets to ensure the safety of HIPAA compliance and PIA regulations are followed.

| Test Objective | To verify that the LEDI III V19 and LEDI IV V20 software adheres to the security and access rules defined by the VistA LIMS. |
| --- | --- |
| Technique | - Exercised tests that verified that a user has access to the system only according to the criteria defined for that user. - Using provided or defined log-in information, verified that users can log into the system after it has been loaded. - Exercised tests that verified that the system times out at defined times. - Exercised tests that verified that the user is locked out for a defined period of time when the defined number of failed log-in attempts has been reached. |
| Completion | Users have no access to perform any functions on the information system until a specific role has been assigned to the established user account. The account will not allow unlimited attempted logons and will disable the account. |

## Privacy Coverage

Privacy testing verified that the system follows all Health Insurance Portability and Accountability Act (HIPAA) and the Privacy Impact Assessment (PIA) as required components of Certification and Accreditation Package. This testing is subject to ensure that a patient’s personal identifiable data is correctly displayed, stored, and ensure an audit of all user’s accessibility to the patient data. Additionally, this testing ensured that the system stores user information for all testing results released, corrected or updated within the system.

| Test | Verified that the LEDI III V19 and LEDI IV V20 software adheres to the Privacy rule provisions as stated by the Health Insurance Portability and Accountability Act (HIPAA) and the Privacy Impact Assessment (PIA) as required components of Certification and Accreditation Package. |
| --- | --- |
| Technique | - Used the audit solutions designed by the LEDI III V19 and LEDI IV V20 software of the users’ actions as patient – identifiable information is accessed to ensure HIPAA and PIA rules are followed. - Exercised tests that ensured complete and accurate availability of data and stored data that is date and time stamped. - Exercised tests that ensured that data that is verified within the LEDI III V19 and LEDI IV V20 software, stores and transmits HIPAA compliant information on the collection, results and update of results. |
| Completion | The system records and stores data on the user’s actions within the system as defined by the HIPAA and PIA guidelines provided. |

## Section 508 Compliance Coverage

N/A

# Suggested Actions

As mentioned in the Test Coverage section, 100 % of the requirements were covered by the test cases entered in the Rational Quality Manager.  A large percentage of the defects found during testing were coding defects of medium severity. All defects were addressed by development in an organized positive manner.

- Defect Severity and Priority Definitions

The classification of defects within a system examines both the severity and priority of the defect. Severity is a measure of how great the impact is on the user’s ability to complete the documented actions within the system. On the other hand, priority determines the speed with which a given defect must be repaired. Defect classification may be determined either because testing is delayed by a failure in the system or a cumbersome workaround prevents a user from completing their assigned tasks. Both severity and priority measures must be recorded when scheduling defect resolution tasks.

Defect Severity Level

Severity Level 1 – Critical

[IEEE definition: The defect results in the failure of the complete software system, of a subsystem, or of a software unit (program or module) within the system.]

- Any defect that compromises patient safety or system security, (examples of system security defects include breach of confidentiality requirements of the Privacy Act, the Health Insurance Portability and Accountability Act (HIPAA), or Federal Tax Information guidelines)

- Loss of system functionality critical to user operations with no suitable workaround. (i.e., there is no way to achieve the expected results using the application.)

- System crash or hang that prevents further testing or operation of the complete application or a section of the application.

- Any defect that causes corruption of data from a result of the system (as opposed to user error).

- Any defect in which inappropriate transmissions are consistently generated or appropriate transmissions of HL7 messages fail to be generated.

- Loss of functionality resulting in erroneous eligibility/enrollment determinations or communications not being sent.

Severity Level 2 - High

[IEEE definition: The defect results in the failure of the complete software system, of a subsystem, or of a software unit (program or module) within the system.] There is no way to make the failed component(s) function. However, there are acceptable processing alternatives which will yield the desired result.]

- A major defect in the functionality which does not result in corruption of data.

- A major defect in the functionality resulting in a failure of all or part of the application, where

- The expected results can temporarily be achieved by alternate means. The customer indicates the work around is acceptable for the short term.

- Any defect that does not conform to Section 508 standards

- Any defect that results in inaccurate or missing requirements

- Any defect that results in invalid authentication  or authentication of an invalid end user

Severity Level 3 - Medium

[IEEE definition: The defect does not result in a failure, but causes the system to produce incorrect, incomplete, or inconsistent results, or the defect impairs the systems usability.]

- Minor functionality is not working as intended and a workaround exists but is not suitable for long term use.

- The inability of a valid user to access the system consistent with granted privileges

- Typographical or grammatical errors in the application, including installation guides, user guides, training manuals, design documents, etc.

- Any defect producing cryptic, incorrect or inappropriate error messages

- Any defect that results from the use of non-standard data terminology in the application or documentation, as defined by the Department of Veterans Affairs

- Cosmetic issues that are important to the integrity of the product, but do not result in data entry and or data quality problems

Severity Level 4 - Low

[IEEE definition: The defect does not cause a failure, does not impair usability, and the desired processing results are easily obtained by working around the defect.]

- Minor loss of or defect in the functionality where a long term use exists.

- Low level cosmetic issues

Priority Classifications

Priority 1- Resolve Immediately

Further development and/or testing cannot occur until the defect has been repaired. The system cannot be used until the repair has been affected. [IEEE definition]

Priority 2 - Give High Attention

The defect must be resolved as soon as possible because it is impairing development and/or testing activities. System use will be severely affected until the defect is fixed. [IEEE definition]

Priority 3 - Normal Queue

The defect should be resolved in the normal course of development activities. It can wait until a new build or version is created. [IEEE definition]

Priority 4 - Low Priority

The defect is an irritant which should be repaired but which can be repaired after more serious defects have been fixed. [IEEE definition]

- Optional Tables, Charts, and Graphs

  - Defect Source (TOP 5)

- N/A

  - Defect Status

N/A

  - Aging of Open Defects

N/A