## Purpose
CR | 1006 | order checks stored in file 100.05 | Regression test
CCR | 5906 |  | Activity Log
Area | OP |  | Hidden Action
PSJU VIEW
Validating Order checks that display on an order displays properly in the activity log.
Adds order checks to the activity log

## Test Script
Type | Description | Expected Results | Notes | Pass/Fail | total vp's | 175
PREP Steps | Must have MOCHA 2 installed in test account.
A patient must have an order that exceeds the single dose to generate a dosing order check that is non-verified
Other order checks can be associated with a drug, see the test cases for the other order checks for verification points
Dosing Order Checks > Max Single Dose
Navigate to Inpatient > Inpatient Order Entry (IOE)
Navigate to a patients medication profile.
| Enter and complete a new order that will generate a Dosing Order Check for Maximum Single Dose | order is active | Take note of all order checks that display for that order
| In the order detail screen, type ?? At the select action prompt | Hidden actions display
| Notice the AL Activity Logs (IP) option displays. Press ENTER to return to the Select Action prompt, and enter AL. | Activity Log options display
VP | Validate the activity log displays '6. Order Check History'
VP | Validate All Logs are listed for #7.
Enter either 6 to view only the Order Check History, or 7 to view all logs, and go to the order check history section of the Activity Logs
VP | Validate all the proper info displays for the DOSING Order Check: o Date/Time the order check occurred o The Order Check Name (i.e. MAX SINGLE DOSE o Type of Drug (prospective for dosing) o Order Check Description - Short description of the interaction/warning displayed to the user. o Overriding provider (if available) o Overriding reason (if available) o Intervention Date (if available) o Intervention Recommendation (do not store, just display) o Order Check Database o Activity Reason – how order check generated? o Where order check was generated (i.e. CPRS, Pharmacy) o Dosage ordered (for each dosing sequence if complex order) |  | Currently only Max Single Dose is available. The other Dosing orderchecks will come in future releases. The Labels displayed may vary across the different Order Check types and may be displayed only when data exists for this field.
VP | Validate all order check messages received display in the Activity Log
VP | Validate the order check activities display in order of occurrence
VP | Validate all previous order checks for the specific order still display - Order check history remains
| scroll through the entire activity log | returned to the Order Detail
| Do the same for editing, copy, renew, refill, and reinstate. For each , do the same validations. |  | A matrix on the last tab can help with tracking testing
| Run the above in the following areas of inpatient: Complete Orders from OERR View Prescriptions (need prescription numbers) |  | A matrix on the last tab can help with tracking testing

## Matrix
Order Check Display | Create / Change an order in VistA | [5 empty] | 169
if info below is not available, it will not display field | New | Verify | Edit | Renew | Copy | Reinstate
Inpatient Order Entry
Date/Time the order check occurred | vp | vp | vp | vp | vp | vp
The Order Check Name – (i.e. Dosing) | vp | vp | vp | vp | vp | vp
Type of Drug (prospective) | vp | vp | vp | vp | vp | vp
Order Check Description - short description of warning | vp | vp | vp | vp | vp | vp
Overriding provider (if available) | vp | vp | vp | vp | vp | vp
overriding reason (if available) | vp | vp | vp | vp | vp | vp
Intervention IEN (if available) | vp | vp | vp | vp | vp | vp
Intervention Recommendation (display only) | vp | vp | vp | vp | vp | vp
Order Check Database | vp | vp | vp | vp | vp | vp
Activity Reason | vp | vp | vp | vp | vp | vp
Where ordercheck was generated (CPRS, Pharmacy) | vp | vp | vp | vp | vp | vp
Dosage Orders (for each dosing sequence if complex only (OP ONLY) | vp | vp | vp | vp | vp | vp
Validate all previous order checks for the specific order still display - Order check history remains | vp | vp | vp | vp | vp | vp
Complete Orders from OERR
Date/Time the order check occurred |  | vp
The Order Check Name – (i.e. Dosing) |  | vp
Type of Drug (prospective) |  | vp
Order Check Description - short description of warning |  | vp
Overriding provider (if available) |  | vp
overriding reason (if available) |  | vp
Intervention Date (if available) |  | vp
Intervention Recommendation (display only) |  | vp
Order Check Database |  | vp
Activity Reason |  | vp
Where ordercheck was generated (CPRS, Pharmacy) |  | vp
Dosage Orders (for each dosing sequence if complex only (OP ONLY) |  | vp
Validate all previous order checks for the specific order still display - Order check history remains |  | vp
View Prescriptions (need prescription numbers for orders that have completed the above processes)
Date/Time the order check occurred | vp | vp | vp | vp | vp | vp
The Order Check Name – (i.e. Dosing) | vp | vp | vp | vp | vp | vp
Type of Drug (prospective) | vp | vp | vp | vp | vp | vp
Order Check Description - short description of warning | vp | vp | vp | vp | vp | vp
Overriding provider (if available) | vp | vp | vp | vp | vp | vp
overriding reason (if available) | vp | vp | vp | vp | vp | vp
Intervention Date (if available) | vp | vp | vp | vp | vp | vp
Intervention Recommendation (display only) | vp | vp | vp | vp | vp | vp
Order Check Database | vp | vp | vp | vp | vp | vp
Activity Reason | vp | vp | vp | vp | vp | vp
Where ordercheck was generated (CPRS, Pharmacy) | vp | vp | vp | vp | vp | vp
Dosage Orders (for each dosing sequence if complex only (OP ONLY) | vp | vp | vp | vp | vp | vp
Validate all previous order checks for the specific order still display - Order check history remains | vp | vp | vp | vp | vp | vp