Implant Tracking Registry (ITR)

Requirements Specification Document

Department of Veterans Affairs

May 2015

Version 4.3

PREPARED BY:

Booz Allen Hamilton, Inc.

T4 Contract # VA118-11-D-1008, Task Order (TO) # 63

Revision History

Note: The revision history cycle begins once changes or enhancements are requested after the Requirements Specification Document has been baselined.

| Date | Revision | Description | Author |
| --- | --- | --- | --- |
| 05/15/2015 | 4.3 | Updated requirements with reference to “Cross Walk ITR_VITAS Requirements_NCPS Elaboration.xlsx” sheet |  |
| 12/18/2014 | 4.2 | Updated to latest ProPath Template and Included feed back from 12/18/14 review meeting. |  |
| 12/17/2014 | 4.1 | Includes feedback from meeting with the client on December 15th 2014 |  |
| 12/11/2014 | 4.0 | Submitted ITR RSD Final Draft |  |
| 7/14/2014 |  | Consolidation of VITAS requirements for Increments 1, 2 and 3 for the purpose of gap analysis. |  |
| 08/02/2012 | 3.9 | Peer Review |  |
| 07/25/2012 | 3.4 | Descoped requirements for transmitting implant and recall indicators to CPRS. Added in requirements for new standard reports |  |
| 06/23/2012 | 3.3 | Reviewed and edited |  |
| 01/11/2012 | 3.2 | Peer reviewed |  |
| 01/09/2012 | 3.1 | Revised Increment 4 Scope statement |  |
| 09/22/2011 | 3.0 | Minor formatting edits, added signature blocks,brought up to version 3.0 |  |
| 09/21/2011 | 2.8 | Updated requirement with new information |  |
| 09/20/2011 | 2.7 | Review |  |
| 09/20/2011 | 2.6 | Added increment subheadings |  |
| 09/19/2011 | 2.5 | Updated document with comments from review |  |
| 09/16/2011 | 2.4 | Review |  |
| 09/14/2011 | 2.3 | Added in additional Increment 3 requirements |  |
| 09/07/2011 | 2.2 | Review |  |
| 08/16/2011 | 2.1 | Added in additional Increment 3 requirements |  |
| 08/01/2011 | 2.0 | Final Review |  |
| 07/29/2011 | 1.5 | Deleted instructions, updated template, edited and formatted |  |
| 07/25/2011 | 1.4 | Added in Increment 3 requirements |  |
| 06/22/2011 | 1.3 | Consolidated Increment 1 and 2 RSD addendums into single document |  |
| 12/20/2010 | 1.2 | Increment 2 Addendum |  |
| 03/31/2011 | 1.1 | Increment 1 Addendum |  |
| 06/14/2010 | 1.0 | Added Temporary Implant exception requirements to the Special Requirements section of Manage Implant; per 6/11/2010 WIPT review of RSD. |  |
| 05/26/2010 | 0.2 | Draft |  |
| 04/30/2010 | 0.1 | Initial draft |  |

Table of Contents

1.	Introduction	5

1.1.	Purpose	5

1.2.	Scope	5

1.3.	References	6

1.4.	Acronyms and Definitions	6

1.4.1.	Acronyms	6

1.4.2.	Definitions	8

2.	Overall Description	9

2.1.	ITR Physical Architecture Constraints	9

2.2.	Data Backups and Continuity of Operations	10

2.3.	Accessibility Specifications	10

2.4.	Business Needs	11

2.5.	Business Rules Specification	11

2.6.	Design Constraints Specification	13

2.7.	Disaster Recovery Specification	13

2.8.	Documentation Specifications	13

2.9.	Functional Specifications	13

2.10.	Non Functional Requirements	25

2.11.	Graphical User Interface (GUI) Specifications	25

2.12.	Multi-divisional Specifications	26

2.13.	Performance Specifications	26

2.14.	Quality Attributes Specification	27

2.15.	Reliability Specifications	27

2.16.	Scope Integration	27

2.17.	Security Specifications	27

2.18.	System Features	27

2.19.	Usability Specifications	29

3.	Applicable Standards	29

3.1.	One-VA Enterprise Architecture Compliance	29

3.2.	Notice of the Federal Accessibility Law Affecting All Electronic and Information Technology Procurements (Section 508)	30

3.3.	VA Directive 6102 Internet/Intranet Services	30

3.4.	DOD Standard 5015.2 – Electronic Records Management Software Applications Design Criteria Standard	30

3.5.	National Archives and Records Administration (NARA)	31

3.6.	Federal Information Processing Standards (FIPS) Publication 140-2 – Security Requirements for Cryptographic Modules	31

3.7.	ANSI/INCITS 359-2012 Standard-Role Based Access Control	32

4.	Interfaces	32

4.1.	Communications Interfaces	32

4.2.	Hardware Interfaces	32

4.3.	Software Interfaces	32

4.4.	User Interfaces	32

5.	Legal, Copyright, and Other Notices	32

6.	Purchased Components	32

6.1.	Defect Source (TOP 5)	33

7.	User Class Characteristics	33

8.	Estimation	33

9.	Appendix A: Implant Types by Specialty Areas	34

10.	Approval Signatures	37

# Introduction

## Purpose

This document describes the overall requirements for a solution for an enterprise-wide Implant Tracking Registry (ITR). These requirements correspond to the same requirements set forth in the Performance Work Statement (PWS).

This document shall serve as a reference to the audience of stakeholders external and internal to the project team. These stakeholders include (but are not limited to) Office of Information & Technology (OI&T) Product Development (PD) team, business owners, Information Technology (IT) architects and project team members.

## Project Background

The Veterans Health Administration (VHA) is responsible for monitoring and processing implant recalls for surgically implanted devices.  Since there is no central database for implant data nor a standard location within Veterans Health Information Systems & Technology Architecture (VistA)/ Computerized Patient Record System (CPRS) to record implant data, this process is difficult and manually intensive.

The previous development effort for the Implant Tracking Registry (ITR) was the Veterans Implant Tracking and Alert System (VITAS).  The VITAS solution, a web-based, Government Off-The-Shelf (GOTS) product, failed to fully implement and stalled during the Initial Operating Capability (IOC) phase of development.  After extensive review of the test results, it was determined that due to high risk to the Government, an analysis of the design and development work would need to be performed to identify the issues within the application, correct them, re-implement the IOC phase, and upon approval, move forward into a Full Operational Capacity (FOC).

The purpose of the ITR project is to assess the technical gaps in the previously delivered VITAS program and address gaps to insure successful IOC testing of initial baseline requirements as detaild in this RSD. This document shall serve as a reference to both external and internal stakeholders to the project team. These stakeholders include (but are not limited to) Office of Information & Technology (OI&T) Product Development (PD) team, Veteran Affairs Medical Centers (VAMC) staff and patients.

The GAP analysis of VITAS found that VHA does not follow uniform implant tracking processes and practices across the enterprise.  Aditionally, the GAP analyss identified numerous shortcomings in the VITAS system, and a decision was made to baseline ITR requirements based on existing VITAS functionality in pre-production and transition that code base forward as the ITR application.

The recommended “To Be” process and the associated tool will also allow VHA to more efficiently track implants and respond to recalls and safety notices in a timely and accurate manner.  The tracking tool and process will help facilitate report the status of the responses, track who is currently working the response, and when the response is expected to be completed.

## Scope

This requirements specification document (RSD) establishes the requirements necessary for ITR system to support VHA tracking of implants and internal/external correspondence to address recalls and safety notices.  The system will be web based.  VA will host the solution at the VA’s Austin Information Technology Center (AITC).

The following basic capabilities of ITR will support the underlying VHA business processes for implant tracking and recall notifications:

- Creating, tracking and monitoring of implants and recalls

- Validating data through standardized data entry

- Searching and retrieval of implants and recalls for reporting

- Generating alerts and messages to system end-users

- Providing an intuitive and user-friendly interface

- Complying with VHA system security practices and standards, with access privileges defined by user roles

- Supporting a records management that is compliant with Federal regulations

- Interfacing with internal VHA systems (including Registry Database, Corporate Data Warehouse (CDW), Vista via the Medical Domain Web Service (MDWS))

- Providing a scalable solution that meets industry and Government standards for system performance

Not included in this document are the non-functional requirements for ITR:  hosting requirements, phased implementation, helpdesk support, training support, and a transition phase at the end of the period of performance.

## References

- Implant Tracking Registry (ITR) Performance Work Statement (PWS TAC-14-16951)
August 5th, 2014

- GAO Report (GAO-14-463T, Veterans’ Health Care: Oversight of Tissue Product Safety)
April 2nd, 2014

- ITR GAP Analysis Report – November 12th, 2014

- ITR SharePoint site: http://wwww.abc.domain.domain/projects/registries/Pages/Implant-Tracking-Registry-(ITR).aspx

- VA OED ITR Project Notebook: http://wwww.abc.domain.domain/projects/registries/internal/Implant%20Tracking%20Library/Forms/AllItems.aspx?RootFolder=%2Fprojects%2Fregistries%2Finternal%2FImplant%20Tracking%20Library%2FDevelopment%2FFY15%2FMeeting%20Minutes%2FStakeholder%20Meetings

## Acronyms and Definitions

### Acronyms

VA Acronym Lookup:  http://srver.domain/acronyms/

| Acronym | Definition |
| --- | --- |
| AITC | Austin Information Technology Center |
| BCV | Business Continuance Volumes |
| CDW | Corporate Data Warehouse |
| CFR | Code of Federal Regulations |
| COOP | Continuity of Operations Plan |
| CPRS | Computerized Patient Record System |
| DASD | Direct Access Storage Device |
| EIT | Electronic and Information Technology |
| EMI/EMC | Electromagnetic Interference/Electromagnetic Compatibility |
| FIPS | Federal Information Processing Standards |
| FOC | Full Operational Capacity |
| FTP | File Transfer Protocol |
| GOTS | Government Off-The-Shelf |
| HDPE | Health Data Product Enhancements |
| HITC | Hines Information Technology Center |
| HTML | Hypertext Markup Language |
| IOC | Initial Operating Capability |
| IPT | Integrated Program Team |
| ITR | Implant Tracking Registry |
| JSP | Java Server Pages |
| LAN | Local Area Network |
| MDWS | Medical Domain Web Service |
| NARA | National Archives and Records Administration |
| NCPS | National Center for Patient Safety |
| NSR | New Service Request |
| OI&T | Office of Information & Technology |
| OPR | Office of Primary Responsibility |
| PD | Product Development |
| POC | Point of Care |
| PWS | Performance Work Statement |
| RMA | Records Management Application |
| RSD | Requirements Specification Document |
| SLA | Service Level Agreement |
| SME | Subject Matter Expert |
| SMTP | Simple Mail Transfer Protocol |
| SSL | Secure Sockets Layer |
| TRM | Technical Reference Model |
| VAAFI | VA Authentication Federation Infrastructure |
| VAMC | Veteran Affairs Medical Centers |
| VHA | Veterans Health Administration |
| VITAS | Veterans Implant Tracking and Alert System |
| WAN | Wide Area Network |

### Definitions

| Term | Definition |
| --- | --- |
| Centralized Data Storage | An automated national repository that captures implant data within and outside of VHA. |
| Clinical Quality Management | A System that provides better preventive care with the ability to access implants data, to track and monitor infection rates and other patients’ adverse effects. |
| Data Availability at Point of Care | A System that can search against the implant repository to better meet FDA recall notification, provide alerts, and serve clinical needs at the point of care. |
| Implant | Implants to be stored and tracked in ITR are defined as: Any material of a non-biological or biological nature (devices and tissues) that is 'manufactured and or processed' to be placed into a surgically or naturally formed cavity of the human body and is covered with tissue or has the potential to be covered with tissue. Excludes transplantation of solid organs (e.g. heart, liver, kidney) and bone marrow, and transfusion of blood and blood products. |
| Implant Item | The name of the individual devices component’s that make-up the whole device and is identified by the manufacturers name listed on the device or packaging. |
| Implant Type | General category of implant, a grouping for the purpose of user recognition. |
| Implants Outside of VHA | All implants not done within the VA facilities. |
| Implants Within VHA | All implants done within the VA facilities. |
| Interface | A point of communication between two Systems or between an actor and a System (often a GUI today.) |
| Specialty Area | Medical/Surgical Areas who place Implants (manufactured devices and processed tissues). |
| Temporary Implant | Any manufactured and or processed implant device or tissue that is placed into a surgically or naturally formed cavity of the human body and is covered with tissue or has the potential to be covered with tissue and intended for explantation one year or less from date of implantation. |

# Overall Description

## ITR Physical Architecture Constraints

The ITR servers will be hosted at the Austin Information Technology Center (AITC).  AITC will provide application hosting, application management, 24x7 service support, and remote data vaulting for disaster recovery, as well as near-line and off-line tape storage for ITR. AITC commits informally to a Service Level Agreement (SLA) of 99.0% availability for its customers.

AITC is configured as a VMware server farm on which ITR will be hosted. Additional hosting details are contained in the “Enterprise Operations, National Data Center Hosting Services”, v1.0, September 26, 2012.

The ITR solution is required to be in compliance with the latest version of One-VA Technical Reference Model (TRM).

All users shall access ITR within the VA Intranet. Users with a ITR account shall access the application through IE using a Secure Sockets Layer (SSL) session with the ITR web server. Firewalls on the local area network (LAN) and wide area network (WAN) protect the system and its information and restrict access to this connectivity. Users shall be authenticated via the VA Single Sign-on (Active Directory) prior to accessing the system.

The web/application server shall provide the user interface and process all user actions. The Web server shall communicate with the database server for access to the records database. The database server shall support the database management system which shall utilize the data storage device to store the ITR information.

## Data Backups and Continuity of Operations

AITC shall provide multiple layers of redundant data storage. The Direct Access Storage Device (DASD) shall mirror the data locally and create Business Continuance Volumes (BCV). The data shall also be backed up to tape at an offsite location. AITC shall perform full database backups three (3) times a week with incremental backups the remaining four (4) nights. The operating systems and applications shall be backed up on the weekends, with incremental backups throughout the week. Archive logs shall be backed up every four (4) hours.

In the case of a failure at AITC, the Continuity of Operations Plan (COOP) should go into effect. The COOP involves installing the ITR application at the Hines Information Technology Center (HITC) and recovering the database from the offsite storage facility.

## Accessibility Specifications

All Section 508 requirements will be adhered to. VHA recognizes that these are Enterprise cross-cutting legal requirements for all developed Electronic & Information Technology. To ensure that these requirements are met, they are addressed through the Enterprise-level requirements maintained by VHA Health Information Technology, Software Engineering and Integration, and Enterprise Requirements Management.

The link for the Uniform Resource Locator (URL) 508 Compliance is: http://vista.domain.ext/508workgroup/index.asp

## Business Needs

| ITR Requirements |  |
| --- | --- |
| Requirement ID# | Requirement |
| NEED14: | Centralized Data Storage: An automated national repository that captures implant data originating from within and outside of VHA. |
| NEED15: | Data Availability at Point of Care: A System that can search against the implant repository to better meet FDA alert notification, provide alerts, and serve clinical needs at the point of care. |
| NEED19: | Clinical Quality Management: Ability to access implants data to track and monitor. Clinical Quality Management (30 day check for implant related infection, one year follow-up) Outcomes Assessment. |

## Business Rules Specification

| ITR Requirements |  |
| --- | --- |
| Requirement ID# | Requirement |
| BR13: | The System shall calculate the age with the following algorithm Current date – Date of Birth = Age. Round to whole numbers. |
| BR16: | The System shall only process the Patient Implant Alert indicator using “the selected patients are ready to be notified”. |
| BR17: | The System shall indicate that a patient has been put on an alert notification for the same device number so they cannot be re-notified. In other words, if notification record that will be generated is exactly like another notification record already generated (i.e. name, device, date, etc) the system would mark them as being notified and not send the letter. |
| BR19: | The System shall identify all the selected affected patients at the point of care (Authoritative source) with an ‘indicator/flag’ that the patient’s current implant is on an alert. This record will allow for an indicator to be electronically sent to the point of care to identify that patient as having an implant on alert. |
| BR20: | The System shall allow the User to cut and paste information into the free text fields. |
| BR21: | The System shall identify the following as a ‘note’ to the point of care. (This is the trigger that notifies the Chief of Staff, Chief of Implanting Service, Current Primary Provider and Implanting Provider, at the point of care View Alert): - Patient List Number (System generated: identifies the saved affected patient list) - AL Number (Alert number posted on VHA Safety Alert sent to facilities) - Implant Type - Number of affected patients - Date List generated The following website: http://vaww.ncps.domain.ext/Guidelines/alerts |
| BR22: | The System shall assign the selected list a ‘control number’ consisting of the following: Short acronym for the specialty i.e. CD = cardiology (Consecutive number list 1, 2, 3, (System generated)). Short acronym list will be provided by VA. |
| BR23: | The System shall indicate that the Implant is VA or Non VA. |
| BR24: | The System shall require the input of a Serial, Model, Stock, or Lot Number for all Implant Items selected except the following: - Screws - Rods - Plates - Pins - K-wire - Mesh - Similar Items |
| BR25: | The System shall electronically transmit an indicator to the Point of Care once a record has been identified as an Implant inside ITR. The selection of Implanted in the Device Status field is the trigger. |
| BR26: | The System shall set the default to “Facility of assignment” for Implant Facility when User enters into the System. |
| BR27: | The System shall utilize the “Implant Alert Notification Letter Record” to pre- populate the “Response to Implant Alert” following fields: - Indicator that Initial Alert Notification Letter sent - Date Letter Sent |
| BR28: | The System shall remove the Implant Alert on the patient at the Point of Care (POC). |
| BR30: | The System shall maintain the Implant Alert on the patient at the POC. |
| BR33: | The System shall change the “Device Status” in the Implant Record if the options “Explanted” or “Abandoned” are used in “Record Implant Action”. |
| BR34: | The System shall indicate at the Point of Care that the Patient requires further clinical action. |
| BR35: | The System shall not enforce the required fields for Implants when being seeded from the Authoritative source. |
| BR36: | The System shall require the “Specialty Area” data element to be the parent of “Implant Type”. The selection of the “Specialty Area” will determine the population of the list for “Implant Type”. |
| BR39: | The System shall allow the User to select one or more “Material Types”. |
| BR40: | The System shall allow the User to input an “Implanting Physician” that is not on the list The System shall allow the “Implanting Physician” to be blank. |
| BR42: | The System will allow select users to add and edit: - Anatomical Location - Implanting Physician - Material Types - Implant Type - Implant Item - Specialty Area |

## Design Constraints Specification

Specific details regarding design constraints specifications are described in the ITR System Design Document (SDD) under section 2.4.2.

## Disaster Recovery Specification

Specific details regarding disaster recovery specifications are described in the ITR System Design Document (SDD) on page 41.

## Documentation Specifications

All documents will comply with the latest ap plicable version of templates available on the VA’s PMAS ProPath libarary avalible here: http://wwww.abc.123.domain/process/home.aspx

## Functional Specifications

| ITR Requirements |  |
| --- | --- |
| Requirement ID# | Requirement |
| GENERAL |  |
| 1.0 | Adhere to the Enterprise Level requirements as specified in the RED. |
| SORT |  |
| 3.0 | Provide the ability to sort data for analysis and reporting to support clinical care and population surveillance around Implants. |
| 3.1 | Provide the ability to select one or more data elements to sort all data displayed. |
| 3.3 | Provide the ability for the end user to choose to save selected report sort orders for replication in the future. |
| 3.4 | For patients not assigned a PACT team or Provider Name, those patients will appear last in the reports. |
| FILTER |  |
| 4.0 | Provide the ability to filter report data for analysis and reporting to support clinical care and population surveillance around implants. |
| 4.1 | Provide the ability to select one or more data elements to filter for display. |
| STANDARD/Ad Hoc REPORTS |  |
| 5.0 | Ensure that the existing reports are populated with accurate, consistent, and complete data. |
| BDET294: | The System shall display no results found. |
| BDET292: | The System shall display the following implant information. - Specialty Area - Implant Type - Implant Date - Device Status - Implanted - Abandoned - Explanted - *On Alert (indicator must be made to stand out) |
| BDET332: | The system shall provide a Report Screen for both Standard Reports and Ad Hoc Reporting. |
| BDET333: | The System shall display the following Standard Report options: - Specialty Implants Placed Monthly Report - Specialty Implants by Attending Physician - Specialty Implants Removed due to Failure Monthly Report |
| BDET334: | The System shall allow the User to select the following options: - Day - Time - Frequency (Daily/Monthly/6 month/Yearly/Year to Date/Date Range) |
| BDET336: | The System shall display the selected report confirmation. |
| BDET337: | The System shall allow the User to select the Report Output Product. |
| BDET338: | The System shall allow the User to print the report. |
| BDET340: | The System shall return to Report Screen. |
| BDET341: | The System shall display all fields in the database for Ad Hoc Reporting. |
| BDET342: | The System shall allow the User to add/subtract data fields for Ad Hoc Reporting. |
| BDET343: | The System shall display the following: Title – Header/Footer _______________(User Defined) |
| BDET344: | The System shall allow the User to identify data fields for “Sub Totals”. |
| BDET345: | The System shall allow the User to identity if “Totals” as required. |
| BDET346: | The System shall allow the User to select a date range for the report. |
| BDET347: | The System shall display all the report parameters selected/input by User. |
| BDET348: | The System shall allow the User to modify the report parameters. |
| BDET349: | The System shall display the following response: ‘Do you want to ‘Save’ this report?’ – Yes/No (Default is Yes) – IF NO, return to Step 1. Applies to saving parameters for report or results. |
| BDET350: | The System shall allow the User to name the report. |
| BDET351: | The System shall display “The report has been saved”. |
| BDET352: | The System shall allow the user to print the Ad Hoc report. |
| BDET353: | The System shall return to the Report screen. |
| BDET354: | The System shall allow the following requirements for reports: - Title – Header/Footer (User Defined) - Page Set-up - Date/Time and As of Date - Printer location or file - Send to secure E-mail Function - Line Separation between MICAPs - Print Friendly (Pagination) - Current Bullet Display with “Click On” for All other Bullets - Sort (Ascending/Descending) - Output Formats (HTML, Microsoft compatible, Text, CSV, View By XX Pages, .pdf format) - Filters |
| BDET355: | The System shall allow Users to save “Private” reports as a favorite to allow for reprocessing at a later time by only that User. |
| BDET356: | The System shall allow administrators to save “Public” reports as a favorite to allow for reprocessing at a later time by any User. |
| BDET357: | The System shall allow the User to schedule reports as follows: - Today - Daily - Weekly - Monthly - Quarterly - Yearly - By Date (Date range) |
| BDET358: | The System shall have the following Standard Monthly/Annual Reports for Specialty Implants: - Specialty Implants Placed Monthly/Annual Report - Implant Type - Implant Item - Manufacturer Name - Attending Physician - Subtotal on Attending Physician - Total on all Attending Physician - Specialty Implants by Attending Physician - Specialty Implants Removed due to Failure Monthly/Annual Report |
| CUSTOM REPORTS |  |
| 6.0 | Provide the ability for end users to create custom reports for analysis and reporting to support clinical care and population surveillance around implants. |
| PRINT |  |
| 7.0 | Provide the ability to print reports without an interim export requirement. |
| 7.1 | Provide the ability to convert report results into a printable, user friendly view. |
| SAVE/EXPORT |  |
| 8.0 | Provide the ability for an end user to save a report to their desktop for future reference in the following formats: - PDF - Excel - Word - CSV - PowerPoint |
| DISPLAY |  |
| 10.0 | Provide a user-friendly interface that complies with VA standards and guidelines. |
| 10.3 | Provide the ability to make the following options available after a report has been run: - Run Another Report - Main Menu - Exit |
| 10.4 | Provide the ability to display a unique report description at the top of each report. |
| 10.5 | Provide the ability for the system to generate a date/time stamp on all reports. |
| 10.6 | Provide the ability to display page numbers on each page of the report results. |
| 10.7 | Provide a consistent style, look, and feel for the report format across all reports. |
| 10.10 | Provide the ability to create a custom header and footer for a report. |
| 10.11 | Provide the ability to view aggregate information in a graphical format. |
| DATA COLLECTION |  |
| BDET359: | The System shall display the following options: - Create Implant Data - Update Implant Data - Record Actions Taken The ability to void erroneous implant data per VA standards. |
| BDET360: | The System shall allow the selection to create a VA or Non-VA Implant. |
| BDET361: | The System shall display the appropriate Implant data for selection and input: - [VA and Non VA] Specialty Area - [VA and Non VA] Implant Type - [VA and Non VA] Implant Item - [VA and Non VA] Alert Indicator - [VA and Non VA] Device Status - [VA and Non VA] Model Number - [VA and Non VA] Stock Number - [VA and Non VA] Serial Number - [VA and Non VA] Lot Number - [VA and Non VA] Manufacturer - [VA and Non VA] Implant Date - [VA and Non VA] Size - [VA and Non VA] Quantity - [VA and Non VA] Material Type - [VA] Implanting Physician - [VA] Anatomical Location - [VA] Manufacturer Date - [VA] Distributor (Vendor) - [VA] Sterile Responsibility - [VA] Expiration Date - [VA] Implant Facility - [Non-VA] Source of Information - [Non-VA] Non-VA Anatomical Location - [Non-VA] Patient Reported Implant Provider - [Non-VA] Patient Reported Implant Description |
| BUC14:* | Ability to conduct a search for patient information which includes patient’s demographics and implant history. *(As identified in PWS 5.5.1) |
| BDET290: | The System shall display the following search results: - Patient name (Last Name, First Name, Middle Name) - DOB - Full SSN or other standard identification - Age - Gender - Home Address - Phone Number |
| BDET297: | The System shall pull in patient information from the Authoritative source (MVI). |
| BDET298: | The System shall subscribe to the Authoritative source unattended messaging and receive all the appropriate patient updates. |
| BDET299: | The System shall allow sort and filtering on all search criteria. |
| BDET302: | The System shall have the following status selections: - Implanted = everything there (all components present). - Implanted Mixed = (Indicator of a mixed status) i.e. at minimum one or more components of the whole implant have been explanted and is still considered implanted. - Abandoned = all parts that make up the whole are left in the body and not functioning. - Abandoned Mixed = (Indicator of a mixed status) some parts of a device were left in the body and not functioning. - Explanted = total removal of the implant (all components that make up the whole). |
| BDET291: | The System shall search the local database for implant data. |
| DATA COLLECTION |  |
| BDET362: | The System shall display all information selected and manually entered on screen for verification. |
| BDET363: | The System shall display the following response: “Is this data correct?” Y/ N (“Yes” is default answer) with a signature prompt. |
| BDET364: | The System shall save the Implant Data. |
| BDET365: | The System shall display the following information, “Entered Data Has Been Saved”. |
| BDET366: | The System shall return to Main Menu. |
| BDET367: | The System shall populate data already in the record. |
| BDET368: | The System shall display the following options: - Record Implant Action - Update Existing Implant Action |
| BDET369: | The System shall display the following options: - Response to Implant Alert - Explanted - Abandoned - Other (free text) |
| BDET370: | The System shall display the following information: - Indicator that Initial Alert Notification Letter sent - Date Letter Sent |
| BDET371: | The System shall display the following items for selection/input: - Indicate that the patient was contacted - Date of Contact (Select Date Field) - Indicate recommended actions were taken - Date of Action Taken (Select Date Field) - Action Not Taken: - Patient declined - Medically contraindicated - Patient cared for by private sector - Expired - Previously Explanted - Unable to contact patient - Patient identified in error - Notes (free text) |
| BDET372: | The System shall display the following option for selection “Further Clinical Action Indicated”. |
| BDET373: | The System shall display the following response, “Entered Data Has Been Saved”. |
| BDET374: | The System shall return to Main Menu. |
| BDET375: | The System shall display all “Actions Taken” on the Implant. |
| BDET376: | The System shall display the action taken record. |
| BDET377: | The System shall allow the User to update the record. |
| BDET378: | The System shall display the following information for selection: - Date Explanted (Select Date Field) - Reason explanted - Manufacturer Recall - Infection - Device failure - Device wear - Mal-position - Malfunction (working but not properly) - Loss of fixation of device - Loosening - Pain - Patient request - Battery depletion - Device upgrade - Other field _____________(free text) |
| BDET379: | The System shall allow the User to input an action. |
| BDET380: | The System shall display current data input by User. |
| BDET381: | The System shall allow editing of data. |
| BDET383: | The System shall display the following message on the data entry screen “<field Step name> must be entered“. |
| BDET385: | The System shall display the following message on the data entry screen. |
| BDET386: | The System shall display different fields dependent on the VA or non-VA selection. The fields to be shown for either selection are identified in brackets [ ]. |
| BDET387: | The System shall allow the hierarchy for a condensed list starting with “Specialty Area”, then “Implant Type”, then Implant Item, and then Serial, Model, Stock, or Lot Number (must have one (1)of the four (4)). |
| BDET389: | The System shall allow the selection of all current manufacturers. The display of manufacturers will be determined by “Specialty Area” from Authoritative source. |
| BDET390: | The System shall allow the GLOBAL System requirement of a date range capability (fuzzy dates). |
| MANAGE NOTIFICATIONS |  |
| BDET304: | The System shall display the following subject options: - Implant Alert Notification - Other Notification |
| BDET305: | The System shall display the following information for input from the Alert: - Serial Number (Requirement to be able to search on a range of serial numbers) - Model Number (Requirement to be able to search on a range of model numbers) - Stock Number (Requirement to be able to search on a range of stock numbers) - Lot Number (Requirement to be able to search on a range of model numbers) - Implant Item - Manufacturer - Size (diameter/length) - Alert Number ________________ (free text) |
| BDET306: | The System shall display the following affected patient(s) search results: - Patient Name (Last Name, First Name) - Address - Phone Number - Service Location (where implant was placed) - Current Location (facility where patient is currently being serviced) - VISN (where patient is associated) - VA/Non-VA Implant - Implant Date - Manufacturer - Implant Type - Specialty Area - Implant Item - Serial Number - Model Number - Stock Number - Lot Number - Size |
| BDET307: | The System shall allow the selection of One, Multiple, or ALL patient(s). |
| BDET308: | The System shall display the appropriate selected patient(s) with the following response: “Are these selected patients ready to be notified?” Yes/No (Default is Yes) IF NO, selected patients are NOT ready to be notified THEN: The System shall save the list as described in Step 15 for further editing. |
| BDET309: | The System shall ‘SAVE’ the User selected list of affected patients. |
| BDET310: | The System shall display the affected patient(s) generated list number. |
| BDET311: | The System shall display the following option: - Customized Letter (Template) |
| BDET312: | The System shall display the following free text fields for input: - Body - Closing |
| BDET313: | The System shall populate the “Notification Letter”: - VA standard letter head - Patient Address (patient name, address, device identifier) - Subject - Subject Option, Implant Name and Serial, Model, Lot, and/or Stock Number - Implant Type, Implant Item, Serial, Model, Lot, and/or Stock Number (auto-populate from above) - Body (free text) - Closing (free text) |
| BDET314: | The System shall display the completed notification letter in proper format. |
| BDET315: | The System shall allow the modification of the free text fields prior to submission to printer. |
| BDET316: | The System shall ‘SAVE’ the notification letter(s). |
| BDET317: | The System shall display the following options: - Print Letters - Email to Patients using My HealtheVet if available |
| BDET318: | The System shall send notification letter(s) to printer. |
| BDET321: | The System shall display the original notification list details. |
| BDET322: | The System shall display the following information for input: - Specialty Area (for multiple lists just enter this data element) - Implant Type - Implant Name - Date original List generated (Date Range) (2 wks, 1 week, etc). - Serial Number - Model Number - Stock Number - Lot Number |
| BDET323: | The System shall display the appropriate list(s) by search criteria. |
| BDET324: | The System shall display the following subject notification selections: - Follow Up: Reminder of alert notice - Follow Up: Need for Special testing - Follow Up: Research project implant - Other: ______________ (free text subject) |
| BDET325: | The System shall attach the Notification information to the Patient’s My HealtheVet Email. |
| BDET326: | The System shall electronically send to patient through My HealtheVet. |
| BDET327: | The System shall provide a progress note to Point of Care. Progress Note (The customer strongly suggests the Requirement to be saved in the database and Interfaced (Push) into TIU/CPRS). |
| BDET328: | The System shall have the ability to hyperlink to the web within the Recall or Safety Alert indicator for the description for VA guidelines and manufacture's notes. |
| BDET329: | The System shall allow the following fields to provide a range capability: - Serial Number (Requirement to be able to search on a range of serial numbers) - Model Number (Requirement to be able to search on a range of model numbers - Stock Number (Requirement to be able to search on a range of stock numbers) - Lot Number (Requirement to be able to search on a range of model numbers) |
| BDET330: | The System shall allow the User to sort on multiple fields and filter on the displayed search results. |
| BDET331: | The System shall allow the User to “Print Preview” and “Modify” the preview prior to printing. |

## Non Functional Requirements

| ITR Requirements |  |
| --- | --- |
| Requirement ID# | Requirement |
| ERROR HANDLING |  |
| NONF1: | The System shall have the ability for “Help” menus - Step 1: User clicks “Help” button - Step 2: System shall display “Help” menu in new window - Step 3: User clicks “Close” button |
| NONF3: | The System shall have the ability to display error messages - Step 1: System shall display error message - Step 2: User corrects error - Step 3: User clicks “OK” button - Step 4: System shall return to Basic Flow |
| Documentation Requirements |  |
| NONF2228 | User manuals and training tools shall be developed. If they already exist, updates shall be made, as necessary, to them and they shall be delivered to PM, COR, and CO.. (Detailed in section 5.3.2.4 and 5.3.4.2) |
| User Access/Security Requirements |  |
| NONF1617 | Ensure the proposed solution meets all VHA Security, Privacy, and Identity Management requirements including VA Handbook 6500 (see Appendix D). |
|  | Provide the ability for all reports, standard and custom, to be HIPPA compliant, including having the ability to apply permissions for individual clinicians to view patient level data. |

## Graphical User Interface (GUI) Specifications

### One-VA Enterprise Architecture Compliance

The solution must comply with the One-VA Enterprise Architecture standards for GUI available at http://www.server.domain/index.asp.

### Notice of the Federal Accessibility Law Affecting All Electronic and Information Technology Procurements (Section 508)

On August 7, 1998, Section 508 of the Rehabilitation Act of 1973 was amended to require that when Federal departments or agencies develop, procure, maintain, or use Electronic and Information Technology (EIT), that they shall ensure it allows Federal employees with disabilities to have access to and use of information and data that is comparable to the access to and use of information and data by other Federal employees.  Section 508 required the Architectural and Transportation Barriers Compliance Board (Access Board) to publish standards setting forth a definition of EIT and the technical and functional criteria for such technology to comply with Section 508. These standards have been developed are published with an effective date of December 21, 2000.  Federal departments and agencies shall develop all EIT requirements to comply with the standards found in 36 CFR 1194.

Section 508 – Electronic and Information Technology (EIT) Standards:

The Section 508 standards established by the Architectural and Transportation Barriers Compliance Board (Access Board) are incorporated into, and made part of all VA orders, solicitations and purchase orders developed to procure EIT.  These standards are found in their entirety at: http//www.section508.gov and http://www.access-board.gov/sec508/standards.htm.  A printed copy of the standards will be supplied upon request.

The standards do not require the installation of specific accessibility-related software or the attachment of an assistive technology device, but merely require that the EIT be compatible with such software and devices so that it can be made accessible if so required by the agency in the future.

Any additional specific details regarding graphical user interface specifications are described in the ITR System Design Document (SDD).

## Multi-divisional Specifications

This section documents the multi-divisional specification that ensures that all registry applications will operate in a multi-divisional or multi-site environment while fully supporting local health care delivery.Specifically ITR is designed to be a Nationwide reposity and used at VAMC’s across the country.

The ITR Application is an Enterprise tool designed to leverage data from national databases to support:

- Allow multiple VA health care facilities to perform all business and patient care functions

- Capture the source where the event occurred (e.g., where the patient received a medication, where the clinic appointment took place, where the vitals were recorded, where the patient funds were distributed, etc.)

- Allow a user to view data across location domains according to the user’s permissions (e.g., view data for multiple sites, wards, pharmacies, clinics, etc.)

- Support multi-site operations where VA may be sharing the instance with a non-VA entity such as Department of Defense (DoD)

## Performance Specifications

Specific details regarding performance specifications are described in the ITR System Design Document (SDD) under section 2.5.2.

## Quality Attributes Specification

Specific details regarding quality attributes specifications are described in the ITR System Design Document (SDD) under section 4.2.2.

## Reliability Specifications

The ITR servers will be hosted at the Austin Information Technology Center (AITC).  AITC will provide application hosting, application management, 24x7 service support, and remote data vaulting for disaster recovery, as well as near-line and off-line tape storage for ITR. AITC commits informally to a Service Level Agreement (SLA) of 99.0% availability for its customers.

AITC is configured as a VMware server farm on which ITR will be hosted. Additional hosting details are contained in the “Enterprise Operations, National Data Center Hosting Services”, v1.0, September 26, 2012. The ITR solution is required to be in compliance with the latest version of One-VA Technical Reference Model (TRM).

All users shall access ITR within the VA Intranet. Users with a ITR account shall access the application through IE using a Secure Sockets Layer (SSL) session with the ITR web server. Firewalls on the local area network (LAN) and wide area network (WAN) protect the system and its information and restrict access.

## Scope Integration

ITR is part of the larger Health Registries and Converged Registries Program. ITR leverages the CRS platform and the details of all the IA’s are listed in the ITR SDD. In section 3.1.1 of the SDD is a high level block diagram detailing the overall architecture of the ITR Project.

## Security Specifications

### DOD Standard 5015.2 – Electronic Records Management Software Applications Design Criteria Standard

DoD Standard 5015.2-STD – Electronic Records Management Software Applications Design Criteria Standard, April 25, 2007, provides implementing and procedural guidance on the management of records in the Department of Defense.  It sets forth mandatory baseline functional requirements for Records Management Application (RMA) software used by the DoD Components in implementing their records management programs; defines required system interfaces and search criteria that RMAs shall support; and describes the minimum records management requirements that must be met based on current National Archives and Records Administration (NARA) regulations.

The following link is provided here as a reference.

- DoD Standard 5015.2 – Electronic Records Management Software Applications Design Criteria Standard:

http://www.archives.gov/records-mgmt/initiatives/dod-standard-5015-2.html

### National Archives and Records Administration (NARA)

The National Archives and Records Administration (NARA) creates regulations that state how the National Archives will fulfill its agency's mission, meet statutory requirements, and conduct business with other agencies and the general public. These regulations are published in the Code of Federal Regulations (CFR) under 36 CFR Chapter XII.

Record schedules authorize the preservation of records of continuing value in the National Archives of the United States and the destruction, after a specified period, of records lacking administrative, legal, research, or other value. Agencies must follow a records schedule's mandatory instructions on what to do with the records once they are no longer needed for current Government business and the Archivist of the United States approves the schedule.

The following link is provided as a reference to the NARA “Basic Laws and Authorities of the National Archives and Records Administration,” 2006 Edition, February, 2008 Revision:

http://www.archives.gov/about/laws/#app

### Federal Information Processing Standards (FIPS) Publication 140-2 – Security Requirements for Cryptographic Modules

FIPS Publication 140-2 specifies the security requirements that will be satisfied by a cryptographic module utilized within a security system protecting sensitive but unclassified information (hereafter referred to as sensitive information). This standard shall be used in designing and implementing cryptographic modules that Federal departments and agencies operate or are operated for them under contract. Cryptographic modules that have been approved for classified use may be used in lieu of modules that have been validated against this standard.

The standard provides four increasing, qualitative levels of security intended to cover the wide range of potential applications and environments in which cryptographic modules may be employed. The security requirements cover areas related to the secure design and implementation of a cryptographic module. These areas include cryptographic module specification, cryptographic module ports and interfaces; roles, services, and authentication; finite state model; physical security; operational environment; cryptographic key management; electromagnetic interference/electromagnetic compatibility (EMI/EMC); self-tests; design assurance; and mitigation of other attacks.

## System Features

| ITR Requirements |  |
| --- | --- |
| Requirement ID# | Requirement |
| OWNR78: | Ability to capture implants data within VHA to include: Manufactured and or processed implant devices and tissues. Analysis of existing data in CDW. |
| OWNR79: | Ability to input data on implants placed outside of VHA when veteran patients require VHA services. |
| OWNR80: | Ability to receive and store implant data from various clinical services and existing registries. |
| OWNR81: | Ability to utilize standard terminology for implant data within ITR. |
| OWNR83: | Ability to identify patients with implants at the point of care. |
| OWNR84: | Ability to know if an implant is removed; the alert/indicator should become inactive. |
| OWNR85: | Ability to indicate and display implant(s) on Recall and Patient Safety Alerts at the point of care. |
| OWNR87: | Ability to indicate to the clinician that an implant requires a device correction. |
| OWNR88: | Ability to inactivate the alert once device correction has been processed and/or resolved. |
| OWNR89: | Ability to create progress note related to action taken in response to implant service provided. |
| OWNR90: | Ability to hyperlink to the web within the Recall or Safety Alert indicator description for VA guideline and manufacture's notes. |
| OWNR91: | Ability to create a notification letter to communicate to patient need for follow up or special testing based upon identified device correction. |
| OWNR92: | Ability to create a Notification letter. |
| OWNR94: | Ability to query database and identify comprehensive list of patients for recall and safety alerts to include facility identification. |
| OWNR96: | Ability to provide implant alert notes on patients with implants to clinical staff at the point of care. |
| OWNR97: | Ability to create notification letters and push to Point of Care for storage in individual patient record as a progress note. |
| OWNR98: | Ability to append or amend the patient list generated from the original recall/alert notification. |
| OWNR99: | Ability to provide a standardized interface between ITR and all other databases containing implant data. |
| OWNR100: | Ability to provide staged closing procedure for administrative purposes e.g. patient could not be contacted, physician left VA, etc. |
| OWNR106: | Ability to provide reporting of extracts/exchange. |
| OWNR107: | Ability to indicate a service event is 'overdue' and configurability at the patient level. |
| OWNR108: | Ability to provide administrative reporting both standard and Ad Hoc. |
| OWNR147: | Ability to search for patient information. |
| OWNR148: | Ability to Record Action Taken. |
| OWNR177: | Ability to perform metrics. |

## Usability Specifications

The usabilitity specifications and screen shots are detailed in the ITR SDD section 8.4 Screen design.

# Applicable Standards

## One-VA Enterprise Architecture Compliance

The solution must comply with the One-VA Enterprise Architecture standard available at http://www.server.domain/index.asp.

## Notice of the Federal Accessibility Law Affecting All Electronic and Information Technology Procurements (Section 508)

On August 7, 1998, Section 508 of the Rehabilitation Act of 1973 was amended to require that when Federal departments or agencies develop, procure, maintain, or use Electronic and Information Technology (EIT), that they shall ensure it allows Federal employees with disabilities to have access to and use of information and data that is comparable to the access to and use of information and data by other Federal employees.  Section 508 required the Architectural and Transportation Barriers Compliance Board (Access Board) to publish standards setting forth a definition of EIT and the technical and functional criteria for such technology to comply with Section 508. These standards have been developed are published with an effective date of December 21, 2000.  Federal departments and agencies shall develop all EIT requirements to comply with the standards found in 36 CFR 1194.

Section 508 – Electronic and Information Technology (EIT) Standards:

The Section 508 standards established by the Architectural and Transportation Barriers Compliance Board (Access Board) are incorporated into, and made part of all VA orders, solicitations and purchase orders developed to procure EIT.  These standards are found in their entirety at: http//www.section508.gov and http://www.access-board.gov/sec508/standards.htm.  A printed copy of the standards will be supplied upon request.

The standards do not require the installation of specific accessibility-related software or the attachment of an assistive technology device, but merely require that the EIT be compatible with such software and devices so that it can be made accessible if so required by the agency in the future.

## VA Directive 6102 Internet/Intranet Services

- VA Directive 6102 establishes policies and responsibilities for all functions related to VA Internet and intranet sites. This covers planning, design, maintenance, operational support, and all activities required to develop and deploy such a site.

- VA Handbook 6102 establishes the procedures and policies VA will follow with regard to the Internet. These policies cover File Transfer Protocol (FTP), Hypertext Markup Language (HTML), Simple Mail Transfer Protocol (SMTP), Web pages, Java Server Pages (JSP), e-mail forums, and list servers as well as numerous other related technologies.

- The following link is provided here as a reference to provide more detail.

- Internet/Intranet Services - VA Directive 6102 and VA Handbook 6102:

https://www.voa.domain/documentlistpublic.aspx?NodeID=14

## DOD Standard 5015.2 – Electronic Records Management Software Applications Design Criteria Standard

- DoD Standard 5015.2-STD – Electronic Records Management Software Applications Design Criteria Standard, April 25, 2007, provides implementing and procedural guidance on the management of records in the Department of Defense.  It sets forth mandatory baseline functional requirements for Records Management Application (RMA) software used by the DoD Components in implementing their records management programs; defines required system interfaces and search criteria that RMAs shall support; and describes the minimum records management requirements that must be met based on current National Archives and Records Administration (NARA) regulations.

- The following link is provided here as a reference.

- DoD Standard 5015.2 – Electronic Records Management Software Applications Design Criteria Standard:

- http://www.archives.gov/records-mgmt/initiatives/dod-standard-5015-2.html

## National Archives and Records Administration (NARA)

The National Archives and Records Administration (NARA) creates regulations that state how the National Archives will fulfill its agency's mission, meet statutory requirements, and conduct business with other agencies and the general public. These regulations are published in the Code of Federal Regulations (CFR) under 36 CFR Chapter XII.

Record schedules authorize the preservation of records of continuing value in the National Archives of the United States and the destruction, after a specified period, of records lacking administrative, legal, research, or other value. Agencies must follow a records schedule's mandatory instructions on what to do with the records once they are no longer needed for current Government business and the Archivist of the United States approves the schedule.

The following link is provided as a reference to the NARA “Basic Laws and Authorities of the National Archives and Records Administration,” 2006 Edition, February, 2008 Revision:

http://www.archives.gov/about/laws/#app

## Federal Information Processing Standards (FIPS) Publication 140-2 – Security Requirements for Cryptographic Modules

- FIPS Publication 140-2 specifies the security requirements that will be satisfied by a cryptographic module utilized within a security system protecting sensitive but unclassified information (hereafter referred to as sensitive information). This standard shall be used in designing and implementing cryptographic modules that Federal departments and agencies operate or are operated for them under contract. Cryptographic modules that have been approved for classified use may be used in lieu of modules that have been validated against this standard.

The standard provides four increasing, qualitative levels of security intended to cover the wide range of potential applications and environments in which cryptographic modules may be employed. The security requirements cover areas related to the secure design and implementation of a cryptographic module. These areas include cryptographic module specification, cryptographic module ports and interfaces; roles, services, and authentication; finite state model; physical security; operational environment; cryptographic key management; electromagnetic interference/electromagnetic compatibility (EMI/EMC); self-tests; design assurance; and mitigation of other attacks.

## ANSI/INCITS 359-2012 Standard-Role Based Access Control

ANSI/INCITS 359-2012 specifies the standard for Role Based Access Control, defining how access control within a system is based on user roles and permissions.  Within the standard, the Core RBAC model component defines a minimum collection of RBAC elements, element sets, and relations in order to completely achieve a Role Based Access Control system.  This includes user-role assignment and permission-role assignment relations, fundamental in any RBAC system, and dynamic role activation as part of a user’s session within a computer application.

# Interfaces

## Communications Interfaces

Specific details regarding communication interface specifications are described in the VITAS System Design Document (SDD) version 2.2 sections 4.3 and 7.

## Hardware Interfaces

Specific details regarding hardware interface specifications are described in the VITAS SDD version 2.2 sections 4.1 and 7.

## Software Interfaces

Specific details regarding software interface requirements for VITAS are described in the VITAS SDD version 2.2 sections 4.2 and 7.

## User Interfaces

The user interfaces and screen shots are detailed in the ITR SDD section 8.4 Screen design.

# Legal, Copyright, and Other Notices

N/A

There are no additional legal (statutory or regulatory), copyright or other notices that apply to ITR that are not already included in the sections above.

# Purchased Components

N/A

ITR is part of the overall CRS Program and all components are part of the CRS Program.

## Defect Source (TOP 5)

N/A

# User Class Characteristics

The user classes are described in the ITR SDD.

Additional the following standards apply.

## ANSI/INCITS 359-2012 Standard-Role Based Access Control

ANSI/INCITS 359-2012 specifies the standard for Role Based Access Control, defining how access control within a system is based on user roles and permissions.  Within the standard, the Core RBAC model component defines a minimum collection of RBAC elements, element sets, and relations in order to completely achieve a Role Based Access Control system.  This includes user-role assignment and permission-role assignment relations, fundamental in any RBAC system, and dynamic role activation as part of a user’s session within a computer application.

# Estimation

The ITR Application will leverage an Agile SCRUM methodlogy using relative sizing and ideal duration estimates.

The project will use story point estimation of user stories, and not functional points, as such the Function Point Estimate Workbook is not required to be completed to support the summary information in this section.

# Appendix A: Implant Types by Specialty Areas

| Specialty Area | Implant Type |
| --- | --- |
| Cardiothoracic | Heart valves |
|  | Angioplasty rings |
|  | Pacemakers |
|  | ICD (Implantable Cardiovascular Defibrillator ) |
|  | Stents |
|  | Other |
| Gastroenterology | Stents |
|  | Other |
| General | Graft Materials |
|  | Reconstructive implant |
| Gynecology | Other |
| Neurosurgery | CSF Access/Shunt |
|  | Neural Stimulator |
|  | Skull Implant |
|  | Graft Materials |
|  | Cerebrovascular Implant |
|  | Spinal Disc Prosthesis |
|  | CNS Infusion Pump |
|  | Spinal Fusion/Fixation Implant |
|  | Vertebral Body Reconstruction |
|  | Other |
| Ophthalmology | Intraocular Lenses |
|  | Glaucoma Shunts |
|  | Capsular Tension Rings |
|  | Orbital Implant |
|  | Orbital Floor/Bone Implants |
|  | Cornea/Sclera |
|  | Nasolacrimal Duct Tubing |
|  | Eyelid Implant/ Graft |
|  | Medication Implant |
|  | Retina Silicone Oil |
|  | Other |
| Orthopedics | Anchor Fixation |
|  | Ankle Arthroplasty |
|  | Disc Arthroplasty |
|  | Elbow Arthroplasty, |
|  | Hip Arthroplasty, |
|  | Knee Arthroplasty |
|  | Radial Head Arthroplasty |
|  | Shoulder Arthroplasty |
|  | Wrist Arthroplasty |
|  | Fracture Fixation/ Bone Fixation |
|  | Screw/Rod/Wire/Pin |
|  | Spine fusion/ Fixation |
|  | Silastic Implant |
|  | Other |
| Otolaryngology (ENT) | Cochlear Implant |
|  | Larynx implant |
|  | Eyelid |
|  | Plating system |
|  | Plastic surgery implants |
|  | Middle Ear ossicle replacement |
|  | Other |
| Plastic Surgery | Reconstructive implants |
|  | Other |
| Podiatry | Fracture/Fixation |
|  | Joint Implant |
|  | Other |
| Urology | Penile implant |
|  | Artificial Bladder |
|  | Other |
| Vascular | Graft Materials |
|  | Stents |
|  | AV Fistula |
|  | Other |
| Cardiology | Stents |
|  | Pacemaker |
|  | ICD (Implantable Cardiovascular Defibrillator) |
|  | CRT-D (Cardiac Resynchronization Therapy-Defibrillator: heart failure device with defibrillation capability) |
|  | CRT-P (Cardiac Resynchronization Therapy-Pacemaker: heart failure device without defibrillation capability) |
|  | Loop Recorder (inclusion requested) |
|  | Other |
| Dental | Bone Anchor |
|  | Bone plate/ Screw System |
|  | Dental/Craniofacial Fixture |
|  | Graft Materials |
|  | Permanent Single Screw |
|  | Permanent Wire |
|  | TMJ |
|  | Other |
| Oncology | Other |
| Pulmonology | Stents |
|  | Other |
| Radiology (Interventional) | Balloons |
|  | Cerebrovascular coils |
|  | Glue/Particles/Cement |
|  | Stents |
|  | Other |
| Anesthesia | Infusion Pump |
|  | Nerve Stimulator |
|  | Other |
| Other | Other |

# Approval Signatures

__________________________________________________________

Signed:								Date: 12/17/2014

Business Sponsor

__________________________________________________________

Signed:								Date: 12/17/2014

Business Sponsor

__________________________________________________________

Signed:								Date: 12/17/2014

Program Manager, Integrated Program Team (IPT) Co- Chair

__________________________________________________________

Signed:								Date: 12/17/2014

Project Manager