Image Viewer for the 
Enterprise Health Management Platform (eHMP)

System Design Document (SDD)

December 2015

Version 0.6

Department of Veterans Affairs

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| July 2015 | 0.1 | Initial Draft | SBG PMO |
| October 28, 2015 | 0.2 | Updated initial Draft with pertinent text |  |
| November 12, 2015 | 0.3 | Updated text and added comments |  |
| November 16, 2015 | 0.4 | Edited for review |  |
| December 1, 2015 | 0.5 | Review comments incorporated |  |
| December 9, 2015 | 0.6 | Incorporate comments from review |  |

Artifact Rationale

The System Design Document (SDD) is a dual-use document that provides the conceptual design as well as the as-built design. This document will be updated as the product is built, to reflect the as-built product.

When to Complete Each Section of the SDD

| Section | Completed On or Before PMAS Phase | Rationale |
| --- | --- | --- |
| 1 – Introduction | MS 0 Review; updated thereafter | Conceptual design should inform evaluation of investments |
| 2 - Background | MS 0 Review; updated thereafter | Conceptual design should inform evaluation of investments |
| 3 – Conceptual Design | MS 0 Review; updated thereafter | Conceptual design should inform evaluation of investments |
| 4 – System Architecture | MS 0 Review; updated thereafter | Conceptual design should inform evaluation of investments |
| 5 – Data Design | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |
| 6 – Detailed Design | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |
| 7 – External System Interface Design | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |
| 8 – Human Machine Interfaces | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |
| Attachments | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |

A product’s system design should be defined conceptually prior to the allocation of personnel and resources that occur at project initiation. This gives the enterprise an opportunity to evaluate information technology (IT) investments before project teams are stood up and funding is allocated. Sections 1- 4 which discuss the high-level design should be completed prior to MS 0. All sections should be completed and updated before MS 1. Projects will need to address all SDD approval constraints prior to the MS 2 review. In addition, the SDD should reflect the as-built product going into the MS 2 review.

| Activity | New Capability (1) | Feature Enhancement (2) |
| --- | --- | --- |
| Field Deployment (A) | Yes | Yes |
| Cloud/Web Deployment (B) | Yes | Yes |
| Mobile Application (C) | No | No |

Table of Contents

1.	Introduction	1

1.1.	Scope	1

1.2.	User Profiles	1

2.	Background	2

2.1.	Overview of the System	2

2.1.1.	Current Infrastructure	2

2.1.2.	Implementation Considerations	3

2.2.	Overview of the Business Process	4

2.3.	Overview of the Significant Requirement	4

3.	Conceptual Design	5

3.1.	Conceptual Application Design	5

3.1.1.	Application Context	5

3.1.2.	High-Level Application Design	6

3.1.2.1.	UI Control Flow	7

3.1.2.2.	Image Loader	9

3.1.3.	Application Locations	9

3.2.	Conceptual Data Design	10

3.2.1.	Project Conceptual Data Model	10

3.2.2.	Database Information	10

3.2.3.	User Interface Data Mapping	10

3.2.3.1.	Application Screen Interface	10

3.2.3.1.1.	Toolbar Panel	10

3.2.3.1.1.1.	Image Interaction	10

3.2.3.1.1.2.	View DICOM Header	11

3.2.3.1.1.3.	Change Study Layouts	12

3.2.3.1.1.4.	Edit Viewer Settings	12

3.2.3.1.2.	Thumbnail Panel	13

3.2.3.1.3.	Image Panel	15

3.2.3.2.	Application Report Interface	15

3.2.3.3.	Unmapped Data Element	15

3.3.	Conceptual Infrastructure Design	16

3.3.1.	System Criticality and High Availability	16

3.3.2.	Special Technology	16

3.3.3.	Technology Locations	16

3.3.4.	Conceptual Infrastructure Diagram	17

3.3.4.1.	Conceptual Production String Diagram	17

4.	System Architecture	18

4.1.	Hardware Architecture	18

4.2.	Software Architecture	18

4.3.	Network Architecture	18

4.4.	Service Oriented Architecture / ESS	18

4.5.	Enterprise Architecture	19

5.	Data Design	20

5.1.	DBMS Files	20

5.2.	Non-DBMS Files	20

5.3.	Data View	20

6.	Detailed Design	21

6.1.	Hardware Detailed Design	21

6.2.	Software Detailed Design	21

6.2.1.	Conceptual Design	21

6.2.1.1.	Product Perspective	21

6.2.1.1.1.	User Interfaces	21

6.2.1.1.2.	Hardware Interfaces	21

6.2.1.1.3.	Software Interfaces	21

6.2.1.1.4.	Communications Interfaces	22

6.2.1.1.5.	Memory Constraints	22

6.2.1.1.6.	Special Operations	22

6.2.1.2.	Product Features	22

6.2.1.3.	User Characteristics	22

6.2.1.4.	Dependencies and Constraints	23

6.2.2.	Specific Requirements	23

6.2.2.1.	Database Repository	23

6.2.2.2.	System Features	24

6.2.2.3.	Design Element Tables	24

6.2.2.3.1.	Routines (Entry Points)	24

6.2.2.3.2.	Templates	26

6.2.2.3.3.	Bulletins	27

6.2.2.3.4.	Data Entries Affected by the Design	28

6.2.2.3.5.	Unique Record(s)	28

6.2.2.3.6.	File or Global Size Changes	29

6.2.2.3.7.	Mail Groups	29

6.2.2.3.8.	Security Keys	30

6.2.2.3.9.	Options	32

6.2.2.3.10.	Protocols	34

6.2.2.3.11.	Remote Procedure Call (RPC)	35

6.2.2.3.12.	Constants Defined in Interface	36

6.2.2.3.13.	Variables Defined in Interface	36

6.2.2.3.14.	Types Defined in Interface	36

6.2.2.3.15.	GUI	36

6.2.2.3.16.	GUI Classes	37

6.2.2.3.17.	Current Form	37

6.2.2.3.18.	Modified Form	37

6.2.2.3.19.	Components on Form	37

6.2.2.3.20.	Events	37

6.2.2.3.21.	Methods	37

6.2.2.3.22.	Special References	38

6.2.2.3.23.	Class Events	38

6.2.2.3.24.	Class Methods	38

6.2.2.3.25.	Class Properties	38

6.2.2.3.26.	Uses Clause	38

6.2.2.3.27.	Forms	38

6.2.2.3.28.	Functions	39

6.2.2.3.29.	Dialog	41

6.2.2.3.30.	Help Frame	42

6.2.2.3.31.	HL7 Application Parameter	43

6.2.2.3.32.	HL7 Logical Link	43

6.2.2.3.33.	COTS Interface	44

6.3.	Network Detailed Design	45

6.4.	Security and Privacy	45

6.4.1.	Security	45

6.4.2.	Privacy	45

6.5.	Service Oriented Architecture / ESS Detailed Design	46

6.5.1.	Service Description for <Consumed Service Name>	46

6.5.2.	Service Design for <Provided Service Name>	46

6.5.2.1.	Introduction	46

6.5.2.1.1.	Purpose and Scope of Service	46

6.5.2.1.2.	Links to Other Documents	46

6.5.2.2.	Service Details	47

6.5.2.2.1.	Service Identification	47

6.5.2.2.2.	Service Versions	48

6.5.2.2.3.	Summary of Design and Platform Details	48

6.5.2.2.3.1.	SOA Pattern(s) Implemented	48

6.5.2.2.3.2.	COTS Platform vendor names and versions for hosting platform	48

6.5.2.3.	Dependencies	48

6.5.2.4.	Service Design Details	48

6.5.2.4.1.	Interface Technical Specs	48

6.5.2.4.1.1.	Service Invocation Type	49

6.5.2.4.1.2.	Service Interface Type	49

6.5.2.4.1.3.	Service Name	49

6.5.2.4.1.4.	Interface	49

6.5.2.4.1.5.	End Points	49

6.5.2.4.1.6.	Operations or Methods	49

6.5.2.4.1.7.	Message Schemas	49

6.5.2.4.2.	Information Model	50

6.5.2.4.2.1.	Class Diagram and Description of Entities Involved	50

6.5.2.4.2.2.	Mappings from ELDM to Standards Based Schemas	50

6.5.2.4.3.	Behavior Model (AKA Use Case Realization)	50

6.5.2.4.3.1.	Use Cases (Use Case Model)	50

6.5.2.4.3.2.	Interaction Diagrams	50

6.5.2.5.	Gap Analysis	50

6.5.2.5.1.	Variances from Enterprise Target Architecture	51

6.5.2.5.2.	Variances from SLDs	51

6.5.2.5.3.	Variances from Standards and Policies	51

6.5.2.5.4.	Justification for Exceptions and Mitigation	51

7.	External System Interface Design	51

7.1.	Interface Architecture	51

7.2.	Interface Detailed Design	52

8.	Human-Machine Interface	53

8.1.	Interface Design Rules	53

8.2.	Inputs	53

8.3.	Outputs	54

8.4.	Navigation Hierarchy	54

8.4.1.	Screen [x.1]	54

8.4.2.	Screen [x.2]	54

8.4.3.	Screen [x.3]	54

9.	Attachment A – Approval Signatures	55

A.	Additional Information	56

A.1.	Identification of Technology and Standards	56

A.2.	Constraining Policies, Directives and Procedures	56

A.3.	Requirements Traceability Matrix	56

A.4.	Packaging and Installation	56

A.5.	Design Metrics	56

B.	Abbreviations, Acronyms, and Terms	57

C.	Template Revision History	60

D.	Endnotes	61

# Introduction

The purpose of this document is to describe the design of the Image Viewer for the Enterprise Health Management Platform (eHMP) R2.0, which will provide eHMP users the ability to view image artifacts from the Veterans Integrated Service Technology Architecture (VistA) Imaging archive across Veterans Health Administration (VHA), as well as Department of Defense (DOD) image artifacts via the DOD Health Artifact Image Management System (HAIMS). This design follows the requirements outlined in the Requirements Specification Document (RSD) for the Image Viewer for the eHMP.

VistA Imaging is an FDA-regulated medical device, and all components of VistA Imaging fall under the regulations of FDA 21 CFR part 820. This requirement must be considered when designing the eHMP image viewer. Identifiable and testable interfaces between the EHR, image management, and image viewing must be created.

## Scope

The scope of this project is limited to the zero-footprint HTML 5-based image viewer being developed for the eHMP. The solution includes server- and client-side components.

## User Profiles

Table 1: User Profiles

| Type of User | Description | Responsibilities |
| --- | --- | --- |
| Clinical users | VistA Imaging viewer users trained in using the application for image viewing and annotations – Any viewing restrictions will follow the VistA Imaging security model (i.e., Secondary Menu Option and Security Keys). | - Run applications - View images |
| Advanced privileges users (e.g., VistA Imaging coordinators, health information management users, regional support personnel) | VistA Imaging viewer users with administrative, clinical and support responsibilities | - Ability to delete images (VistA security key controlled) - Ability to restrict the viewing of images (VistA security key controlled) |

# Background

## Overview of the System

The mission of the Department of Veterans Affairs (VA) Office of Information & Technology (OI&T) Product Development (PD) is to provide benefits and services to veterans of the United States. In meeting these goals, OI&T strives to provide high-quality, effective, and efficient Information Technology (IT) services to those responsible for providing care to the veterans at the point-of-care as well as throughout all the points of the veterans’ health care in an effective, timely, and compassionate manner. VA depends on Information Management/Information Technology (IM/IT) systems to meet mission goals.

VA is developing a new patient-centric web-based user interface (UI) for VHA electronic medical records – called the Enterprise Health Management Platform (eHMP) – and requires a web-enabled image-viewing solution for eHMP users. The image-viewing solution will allow clinicians and other VA stakeholders to view images related to patients’ medical records.

### Current Infrastructure

Images and image metadata are accessed from local VA sites, remote VA sites, and external enterprises (such as DOD). VistA Imaging currently implements a client-server architecture for local image viewing using the VA remote procedure call (RPC) broker for metadata access and direct Common Internet File System (CIFS) file for image data. It uses a VIX, service-based architecture for remote image viewing to other VA facilities and a Central VistA Imaging Exchange (CVIX), service –based architecture for image access to/from external enterprises.

Figure 1: VistA Imaging Service Architecture for Remote image Access

The Image Viewer for the eHMP builds on the existing VistA Imaging infrastructure. While the existing VistA Imaging UIs are thick clients, they use services provided by the infrastructure. The VistA Imaging Service Architecture (VISA) provides a set of Web services to access images and image metadata.

### Implementation Considerations

In designing a high-performance zero-footprint image-viewing solution the following issues must be considered:

- Image storage is currently at each major facility.

- Performance expectation of image viewing (more than one CT slice/second)

- Network infrastructure [i.e., firewalls, medical device isolation architecture (MDIA), quality of service on the wide area network (WAN), etc.]

- The eHMP pilot deployment has one or more JSON Data Store (JDS) cache locations 
off facility.

- WAN connectivity to the regional data center (RDC)

- Network utilization issues

- Minimizing the dependency of image viewer code

- Development/delivery on eHMP potential shippable increments (PSIs)

## Overview of the Business Process

The Image Viewer for the eHMP is one of many components in the VistA Imaging system and the VistA Imaging business process. The Image Viewer for the eHMP provides users the ability to view and manipulate images. See Figure 3 for context diagrams.

## Overview of the Significant Requirement

Please see the RSD and BRD for requirements.

This project is initiated by Requirement BR 8.0 of the Health Information Exchange Viewer BRD #01-02-03-05-08-003. Given the brevity of this requirement, a requirement elaboration effort was undertaken. The resultant document can be found at this link: http://your_srver.domain.ext/warboard/anotebk.asp?proj=1792&Type=Active#Description.

# Conceptual Design

The Image Viewer for the eHMP will be a zero-footprint applet that is launched by eHMP users. The image viewer thumbnail applet uses the eHMP RDK to access VistA Imaging resources through the VistA Imaging Exchange (VIX).

## Conceptual Application Design

The Image Viewer for the eHMP is a zero-footprint HTML 5 image viewer. The design introduces a dedicated VIX instance for each primary JDS instance. This provides a convenient access point for the eHMP to get imaging metadata and thumbnails for any objects that may have images attached. The design minimizes the access to off-site images across the WAN and uses local resources to access any local image information. This VIX instance, co-located with a primary JDS instance, is referred to as the enterprise VistA Imaging Exchange (eVIX) for the remainder of this document. The eVIX is a VIX instance that is collocated with the eHMP and serves up information to the eHMP.

Figure 2: eHMP and eVIX

As shown in Figure 2, the eVIX provides specialized facades. These facades are described in detail later in this document.

### Application Context

The eHMP image viewer will be used to view images and image metadata within the VA enterprise and in any connected enterprise. This is accomplished in a completely transparent manner; the user will experience no differences regarding how the image record is presented. The VISA infrastructure implemented by the site VIXs and the CVIX makes this possible.

This design document concentrates on describing the interactions between the actors necessary to satisfy requests to the image record. The interactions between VIXs and the CVIX are implemented by production software that is currently deployed at all major VA medical center sites. The components covered by this design take full advantage of the infrastructure that is already in place. The relevant interactions are described in later sections of this document.

### High-Level Application Design

The eHMP image viewer is designed to allow a user to view medical images, scanned documents, waveforms, etc. associated with a patient’s medical record – without installing any software on the user’s desktop. The solution is a combination of server-side preprocessing and client-side rendering of images in a browser. A user will use eHMP functionality to select an image from within an eHMP applet context, at which time the image viewer will be activated to display the image viewer modal window within the eHMP UI application. The eHMP viewer will not leave any images visible from the previous patient/report context once the user navigates to a new context. All images and metadata will be removed from the browser cache when the page closes.

The service layer design brings together two architectures, VistA Imaging and the eHMP, that federate information from multiple VistA instances. There are a number of similarities and also a number of differences in the federation approaches. Most of the differences stem from the nature of the data. While textual information is dynamic and smaller, image information is very large and almost entirely static. Image caches can be long term, because synchronization of cached image data is less of an issue than with textual information. The context information of images (the image metadata) is less static than images, and cache synchronization must be performed on shorter intervals.

Figure 3: eHMP Image Viewer Data and Control Flow

The eVIX serves two purposes: (1) It is a local asset for the JDS/RDK instance to get image metadata (which documents have images, thumbnail information, and other study detail); it is a static source for this request, without traversing the WAN. (2) It provides a fallback destination for the image viewer to fetch images if the site VIX cannot be located, due to the cross-origin resource sharing (CORS) configuration not being set for a new or additional site.

This design allows all imaging to be encapsulated behind locally deployed Web services on 
the eVIX.

#### UI Control Flow

When the user logs in, the eHMP (through the RDK) will call the eVIX Site Service to get the site VIX address and port information. The services provided by the eVIX project the basic VIX services and add facades for new services:

- eHMP Site Service accesses any required modifications to allow the eHMP to retrieve the desired site VIX (or image loader) address from a local service.

- Image Indicator Service identifies which objects for a selected patient have associated images. The service can return additional data related to the imaging study, such as the number of images, the type of study, the number of series in the study, etc. The data to be returned is dependent on what is desired to be displayed on a details page. This service will be called directly by the RDK.

- POST “http://<eVIXhost>:<port>/StudyQuery” –d ‘ “StudyList”:{

“PatientID”:”<dfn, icn or ssn>”,

[{“Site“:”<VistA Site #”,

“Type”:”<VistA Package>”,

“ID”:”IEN”},

{…}]}’

The following response is generated, containing one item for each requested document:

- “StudyList”:{

- “PatientID”:”<dfn, icn or ssn>”,

- [{“Type”:”<VistA Package>”,

- “ID”:”<IEN>”,

- “ImageIndicator”:“<true,false>”,

- “Urn:”<study access urn>”},

- {…}]}

Each call of the Image Indicator Service can retrieve information for one or more documents related to a patient.

- Thumbnail Service: In order to support the eHMP displaying thumbnail images, the eVIX will need a service to retrieve relevant thumbnail images for a selected report. The size and quality of the thumbnail images need to be within system-defined ranges (i.e., proposed is 128x128 or smaller JPEG 8-bit images). The proposed format for this 
service is:

- POST “http://eVIXhost:port/StudyDetails” –d ‘ [“urn”:”<study access urn”, …]’

Response (one item per urn):

- [“StudyDetails”:{

- “urn”:”<urn>”,

- ”TotalNumberOfImages”:”<number>”,

- “Study”:{

- “StudyDescription”:”<description>”

- “StudyDate”:”<date>”,

- “AcquisitionDate”:”<date>”,

- “Provider”:”<provider name>”,

- “StudyID”:”<OID>”,

- ”Status”:”<status>”,

- “Series”:{

- “Caption”:”<text>”,

- “ThumbnailUrn”:”<urn>”,

- “NumberOfImages”:”<number>”}

- }}]

The eHMP RDK will need modifications to accommodate using the eVIX as a data source.

In order to implement image viewing in this environment, the eHMP has to utilize the services provided by the eVIX.

The proposed sequence of events when viewing images are as follows:

- The eHMP user logs in and selects a patient.

- The patient data may be synchronized to the JDS data cache by way of vxSync.

- The eHMP uses the data returned by the Image Indicator Service to update the eHMP document applet with image indicators.

- The user selects the eHMP Documents workspace in order to load the document applet.

Figure 4: eHMP Document Applet

- The eHMP serves up the Documents applet. (See Figure 4.)

- The image indicator is created using the following link URL format:
http://eVIXHost:port/viewer?urn=<study access urn>&security token=<BSE or other future security token replacing BSE>

- When the user clicks an image indicator, the image viewer opens in an iFrame.

- The image indicator link handler will set the source of the iFrame to the above URL.

- When parent container changes patient or observation context, the iFrame source URL 
is cleared.

This will allow integration of Web content, served from any site not hosted by the eHMP, such as a tele-pathology viewer or other web-based imaging application. The image viewer page has the loader service URL embedded, which will be dynamically fetched and inserted into the model by the Backbone.js single-page application framework. Figure 5 shows the image viewer.

Figure 5: Image Viewer

All static assets associated with the image viewer will be hosted on the site VIX (HTML5, CSS3, and JavaScript). This allows updating of the image viewer without the need to have access to the eHMP PSI increments. It also provides isolation of the medical device aspect of image viewing from the eHMP.

#### Image Loader

The Image Loader is a service that performs a large number of sub-operations to offload the 
need to transfer all information to the browser-side code. It is also optimized to load images in a sequence most advantageous for the viewer. Its features include ordering images in temporal or geometric order or reading annotations and making them available in a common presentation.

Editable annotations will be created and stored in an internal representation (XML) in the VistA Imaging database and generated and transmitted as DICOM soft-copy presentation Service-Object Pair (SOP) instances on demand. The SOP instance Unique Identifier (UID) will be the same each time the DICOM soft-copy presentation SOP instance is generated unless the annotation is changed.

The Image Viewer for the eHMP will have the ability to display Group 6000 annotations 
sent from imaging modalities. Annotations from external sources may alternatively be 
encoded in DICOM SR Objects. The Image Loader can be enhanced to incorporate these external IODs into the viewable set of information for the image loader. However, DICOM 
SR object-based annotations are not viewable with the current versions of the Clinical Display and VistARad applications.

The Image Loader pre-calculates measurement and slice line information for the viewer.

The Image Loader will request images through the VIX infrastructure to ensure that images are properly cached and accessible for subsequent requests. This will be accomplished through the integration with the VIX core services.

### Application Locations

The Image Viewer for the eHMP will be located on site VIX servers.

## Conceptual Data Design

### Project Conceptual Data Model

This project only creates an application that allows users to view and manipulate images. No new data model is created as a part of this project.

### Database Information

Current plans contain no storage of metadata in JDS. The RDK will rely on the metadata cached in the eVIX.

Table 2: Database Inventory

| Database Name | Description | Type | Steward |
| --- | --- | --- | --- |
| N/A |  |  |  |

### User Interface Data Mapping

N/A

#### Application Screen Interface

The viewer consists of three main panels – Toolbar, Thumbnail, and Image.

##### Toolbar Panel

The toolbar will contain buttons for the following functions:

- Image interaction

- View DICOM header

- Change study layouts

- Edit viewer settings

###### Image Interaction

- The toolbar will contain various tools for manipulating the displayed image.

- Whenever appropriate, each tool will display a meaningful cursor when it is active.

- There will be a default tool, which will be active when the image is first displayed.

- When a particular tool is active, the user can switch to the default tool using a single right-click.

- If a tool is not appropriate for the image currently displayed, it will be disabled and grayed out.

- Tools available for image interaction are:

- Window/Level

- Window/level can be changed by pressing and dragging the left mouse button or the up/down keys of the keyboard.

- A dropdown menu next to the tool button will allow the user to select various window/level presets, such as:

- Abdomen

- Lung

- Brain

- Bone

- Head/Neck

- Default

- Scale

- Scale value can be changed by pressing and dragging the left mouse button or the up/down keys of the keyboard.

- A dropdown menu next to the tool button will allow the user to apply fixed scale values to the current image, such as:

- 100 percent

- Fit-to-window

- Fit-width-to-window

- Fit-height-to-window

- Invert

- Pan

- Rotate clockwise at 90 degree increments

- Measurements

- Clicking on this tool will reveal a dropdown menu containing the following measurement tools:

- 2D length

- 2D point

- Trace

- The dropdown menu will also contain a Delete All menu item to delete all measurements on the image.

- Flip vertically

- Flip horizontally

- Toggle image overlay

- Clicking on this tool button will toggle the visibility of image overlay elements, 
such as:

- Patient orientation indicators

- Current window/level

- Current zoom value

- Series description

- Reset

- Clicking on this tool will reset the image to its original state.

###### View DICOM Header

Clicking on this tool will display the DICOM header using a modal dialog.

###### Change Study Layouts

If multiple studies are opened, clicking on this tool will reveal a dropdown menu containing the following options:

- 1x1

- 1x2

- 2x1

- 2x2

###### Edit Viewer Settings

Clicking on the tool button will display a dropdown menu containing the “Cine Preference” 
menu item. Clicking on the menu item displays the following dialog:

Figure 6: Cine Preference Options

##### Thumbnail Panel

The thumbnail panel displays a thumbnail image for each series or non-DICOM image in the study or image group.

Figure 7: Thumbnail Panel

- The thumbnail panel will be scrollable.

- The top of the thumbnail panel displays the following information:

- Study description

- Study accession number

- Study date

- Clicking on a thumbnail image displays the corresponding stack or image in the image area. The thumbnail image will also be highlighted.

- Each thumbnail displays the following information as overlay:

- Series description

- Series number or image number

- Number of images

- If a thumbnail image cannot be generated, the following thumbnail image will be used:

Figure 8: Default Thumbnail Image

- For non-DICOM images, the following canned thumbnails will be used:

- PDF

Figure 9: Non-DICOM Canned Thumbnail PDF Image

- ECG waveform

Figure 10: Non-DICOM Canned Thumbnail ECG Waveform Image

- Structured report

Figure 11: Non-DICOM Canned Thumbnail Structured Report Image

- If an image or a stack in the image area is either selected or clicked, the selected thumbnail image is highlighted and brought into view, if it had been hidden.

- The width of the thumbnail panel can be changed by dragging the divider bar. This bar will be placed between the thumbnail panel and image panel.

Figure 12: Thumbnail Panel After Width Adjustment

- New columns will be added to the thumbnail panel if enough space is available.

##### Image Panel

- The image panel contains multiple child panels. Each child panel will display images for a single study or image group.

- Each study panel will contain a caption area and will display the following information:

- Study description

- Study accession number

- Study date

- In the caption area, there will be two dropdown buttons; one for changing the layout at the series level, and the other for changing the layout at the study level. Layout options will be 1x1, 1x2, 2x1, and 2x2.

#### Application Report Interface

No applicable report interfaces have been identified at this time.

#### Unmapped Data Element

There are no unmapped data elements for this project.

## Conceptual Infrastructure Design

### System Criticality and High Availability

As a component of the eHMP, the image viewer will have the same availability as the eHMP.

### Special Technology

N/A

### Technology Locations

Table 3: Technology Location Details

| Technology Component Production 1 | Location | Usage |
| --- | --- | --- |
| Workstations | At VAMC | Normal users |
| Special hardware | N/A | N/A |
| VIX servers | At current locations | Increased utilization |
| eVIX servers | Collocated with the JDS | Services consumed by the eHMP RDK |
| Interface processors | N/A |  |
| Legacy mainframe | N/A |  |
| Legacy application server | N/A |  |
| Legacy databases | VistA | Normal users |
| Other | N/A |  |

| Technology Component Certification | Location | Usage |
| --- | --- | --- |

| Technology Component Education | Location | Usage |
| --- | --- | --- |

| Technology Component Test | Location | Usage |
| --- | --- | --- |
| Test environment as needed | Contractor facility |  |

| Technology Component Development | Location | Usage |
| --- | --- | --- |

### Conceptual Infrastructure Diagram

Figure 13: Infrastructure Design

#### Conceptual Production String Diagram

TBD

# System Architecture

The Image Viewer for the eHMP system is a solution that augments the eHMP framework and relies heavily on the existing VistA Imaging Service Architecture. Neither architecture will be altered to any significant extent. The design bridges the gap that exists. The viewer itself is a server-side implementation of image preprocessing for optimized loading. The image manipulations are performed in client-side JavaScript.

## Hardware Architecture

A single instance of the eVIX will be required for each instance of the JDS. Storage requirements and rate of use will be determined at initial operating capability (IOC).

## Software Architecture

The architectural framework is described in the conceptual design and high-level design sections of this document.

## Network Architecture

This project does not modify any network components. The design does not significantly alter current VistA Imaging WAN usage characteristics.

## Service Oriented Architecture / ESS

The design relies on existing VIX services and extends these services by providing additional facades to be consumed by eHMP. These services are listed below and described in section 3.1.2.1.

- eHMP Site Service

- Image Indicator Service

- Thumbnail Service

## Enterprise Architecture

The diagram below identifies the image viewer enterprise architecture:

Figure 14: Enterprise Messaging Infrastructure

# Data Design

This project does not alter imaging data design patterns.

## DBMS Files

No additional database design is expected at this point.

## Non-DBMS Files

N/A

## Data View

This design relies on the existing Persistence model present in VistA.

# Detailed Design

Additional detail will be provided as available.

## Hardware Detailed Design

No new hardware components are needed for this design.

## Software Detailed Design

Updates will be provided on a regular basis as details become available.

This section provides conceptual and final detailed information associated with the design of the software being delivered. This should be an extension of the corresponding section from Section 3.1, but should contain additional detail as the project progresses.

### Conceptual Design

This section introduces the conceptual information that establishes the basis for how the software will be built.

#### Product Perspective

This subsection of the SDD should put the product into perspective with other related products. If the product is independent and completely self-contained, it should be stated here. If the SDD defines a product that is a component of a larger system, then this subsection should relate the requirements of that larger system to functionality of the software and should identify interfaces between that system and the software.

A block diagram showing the major components of the larger system, interconnections, and external interfaces can be helpful.

Sections of the Requirements Specification Document (RSD) can be referenced in the subsections, if applicable.

##### User Interfaces

This subsection should specify the logical characteristics of each interface between the software product and its users. This includes those configuration characteristics necessary to accomplish the software requirements (e.g., screens, roll and scroll, GUI interface).

Recommendation: Create a block diagram showing the user interfaces.

##### Hardware Interfaces

This subsection should specify the logical characteristics of each interface between the software product and the hardware components of the system. This includes configuration characteristics (for example, hardware platform or mainframe versus personal computer). It also covers matters such as what devices the system will support, how they will be supported, and protocols. Examples include scanners, pen driven devices, and radio frequency devices.

Recommendation: Create a block diagram showing the hardware interfaces.

##### Software Interfaces

This subsection should specify the use of other required software products (e.g., VA Kernel, VA FileMan, Windows NT); and interfaces with other applications or other systems such as commercial off-the-shelf (COTS) or national databases. Specify the application interfaces (e.g., the linkage between an accounts receivable system and a general ledger system and a COTS software package that will be interfaced using an existing interface). This section should provide the following information for each required software product:

- Name

- Version number

- Discussion of the purpose of the interfacing software as related to this software product

- Definition of the interface in terms of message content and format (e.g., Health Level Seven [HL7], electronic data interchange).

##### Communications Interfaces

This subsection should specify the various interfaces to communications such as local network protocols, e-mail, Transmission Control Protocol (TCP), modems.

Recommendation: Create a block diagram showing the communications interfaces.

##### Memory Constraints

This subsection should specify any applicable characteristics and limits on memory or partition size.

##### Special Operations

This subsection should specify the special operations required by the user such as backup, recovery, and archiving operations.

This section should also include any operations for external devices or COTS systems.

#### Product Features

This subsection should provide a summary of the major features of the software.

For example, an SDD for an accounting program might use this section to address customer account maintenance, customer statement, and invoice preparation without mentioning the vast amount of detail that each of those features requires.

Note: For clarity, remember these items when creating this section of the SDD:

- The features should be organized in a way that makes the list of features understandable to the customer or to anyone else reading the document for the first time.

- Textual or graphical methods can be used to show the different features and their relationships.

- Such a diagram is not intended to show a design of a product, but simply shows the logical relationships among variables.

#### User Characteristics

This subsection should describe the general characteristics of the intended users of the product, including experience and technical expertise. It should not be used to state specific requirements but rather should provide the reasons why certain specific requirements are specified in the RSD.

#### Dependencies and Constraints

This subsection should provide a description of any other items that will limit the developer’s options. The following list includes items that limit the developer’s options.

- Regulatory policies

- Hardware limitations (for example, signal timing requirements)

- Interfaces to other applications

- Parallel operation

- Audit functions

- Control functions

- Higher-order language requirements

- Reliability requirements

- Criticality of the application

- Safety and security considerations

- Usability (including 508 compliance)

This section of the SDD should contain all the software design to a level of detail sufficient to enable programmers to develop a system that satisfies the requirements defined in the RSD. It should be detailed so as to make it easy for technical staff to find the methods to complete the designed function.

These requirements should, at minimum, include the following items:

- An indication of the associated requirement(s) in the RSD which is being designed

- A description of the functionality being designed

- The design entities (and their attributes) affected

- The algorithm executed (where appropriate) to implement the functionality.

Because the Dependencies and Constraints section is often the largest and most important part of the SDD, the following principles apply:

- Specific design should be cross-referenced to earlier, related documents (e.g., the RSD).

- All design should be uniquely identifiable.

- Items in this section should be identified from a technical level rather than an end user level. (i.e., an option name should be identified rather than the menu text for that option).

### Specific Requirements

#### Database Repository

The Database Repository section in the RSD can be referenced in this section.

If a logical database design is a part of the system, it should be listed here. Logical database design should specify the logical requirements for any information that is to be placed into a database. This may include:

- Types of information used by various functions

- Frequency of use

- Accessing capabilities

- Data entities and their relationships

- Integrity constraints

- Data retention requirements.

Recommendation: Create a block diagram showing the databases and where the data resides.

#### System Features

Describe the system features, functional requirements, sub-requirements, etc. which can be organized in an outline format that matches the RSD. Specific formatting and organization of the paragraphs (i.e., section numbering) is left to the discretion of the author and is dependent on the level of detail essential to fully describe the design. Some designs may only require two levels; others may require multiple levels. The information necessary to define the items or to specify modifications to the items affected by the functionality being designed should be provided in the appropriate design element tables. Where feasible, instead of duplicating the RSD, it can be referenced via a link, to avoid unnecessary duplication. The key goal is to provide traceability to requirements.

#### Design Element Tables

The design element tables are provided for your convenience. Copy each table as many times as necessary to address multiple items within each section. Add rows and headings to the tables to provide any additional required information to define the item or to specify the modifications to the item. Numbering of the design element tables to align them underneath the applicable requirement or sub-requirement is recommended, but is left to the author’s discretion. For that reason they are not numbered in this template.

##### Routines (Entry Points)

This section is an illustration that is VistA specific. The authors are free to organize this information by technology, different templates, or optional sections depending on the task at hand.

Complete the table for each routine affected by the functionality being designed.

Table 4: Routines (Instructions)

| Routines | Instructions |
| --- | --- |
| Routine Name | List the routine affected by the functionality being designed. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| RTM | List the RSD item number within the SDD (i.e., If the RSD has a requirement of 3.3.1, add Support for a new API, then in this column list RSD Requirement 3.3.1) |
| Related Options | List options that directly call or are called by the routine. |
| Related Routines | List routines that directly call or are called by the routine. |
| Data Dictionary (DD) References | List files that reference the routine through input transforms, cross reference logic, etc. |
| Related Protocols | List protocols that reference or are referenced by the routine. |
| Related Integration Control Registrations (ICRs) | List proposed new ICRs and subscribed ICRs. Also, list any obscure Supported ICRs. |
| Data Passing | Check the appropriate box. Also a short description of what invokes the new/changed routine should be included in this section. An example of such a description would be a note that the new/changed routine will be invoked as part of a function call or it would be invoked through user menu-driven options, system protocols, HL7 Logical Links, etc. This section refers specifically to the change implemented with the design. |
| Input Attribute Name and Definition | List the Input Attributes passed into the new or changed routine logic. Each attribute should be defined. |
| Output Attribute Name and Definition | List the Output Attributes returned from the new or changed routine logic. Each attribute should be defined. |
| Current Logic | Define the current logic in the routine that the design will modify. If this is new code, enter “N/A”. |
| Modified Logic (Changes are in bold) | Define the logic in the routine that the design will implement. |

Table 5 (Grouping): Routines

| Routines | Activities |  |  |  |
| --- | --- | --- | --- | --- |
| Routine Name |  |  |  |  |
| Enhancement Category | New | Modify | Delete | No Change |
| RTM |  |  |  |  |
| Related Options |  |  |  |  |

| Related Routines | Routines “Called By” | Routines “Called” |
| --- | --- | --- |

| Routines | Activities |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Data Dictionary (DD) References |  |  |  |  |  |
| Related Protocols |  |  |  |  |  |
| Related Integration Control Registrations (ICRs) |  |  |  |  |  |
| Data Passing | Input | Output Reference | Both | Global Reference | Local |
| Input Attribute Name and Definition | Name: Definition: |  |  |  |  |
| Output Attribute Name and Definition | Name: Definition: |  |  |  |  |

Current Logic

Modified Logic (Changes are in bold)

##### Templates

Complete Table 16 for each template affected by the functionality being designed. A short description of what change will be made to the templates should be included in this section.

Note: If preferred, copy and paste this section directly from VA FileMan DDs instead of using the tables.

Table 6: Templates (Instructions)

| Templates | Instructions |
| --- | --- |
| Template Name | Identify the template affected by the functionality being designed |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| RSD Traceability | List the Requirement Specification Document (RSD) item number within the SDD (i.e., If the RSD has a requirement of 3.3.1, add Support for a new API, then this column should list RSD Requirement 3.3.1) |
| Template Type | Indicate the type of template identified (Sort, Input, or Print). |
| Related Options | List options that directly call or are called by the template. |
| Related Routines | List routines that directly call or are called by the template. |
| Data Dictionary (DD) References | List files/fields that reference the template(s) through input transforms, and cross reference logic. |
| Global References | List the ICRs for global references that are outside your namespace. |

Table 7: Templates

| Templates | Description |  |  |  |
| --- | --- | --- | --- | --- |
| Template Name |  |  |  |  |
| Enhancement Category | New | Modify | Delete | No Change |
| RSD |  |  |  |  |
| Template Type | Sort | Input | Print | Other |
| Related Options |  |  |  |  |

| Related Routines | Routines “Called By” | Routines “Called” |
| --- | --- | --- |

| Routines | Description |
| --- | --- |
| Data Dictionary (DD) References |  |
| Global References |  |

##### Bulletins

If the project develops or affects bulletins, then complete this section; if not then state that the section is not applicable and delete the tables and content of the section. Complete the table for each bulletin affected by the functionality being designed. A short description of what change will be made to the bulletins should be included in this section.

Note: If preferred, copy and paste this section directly from VA FileMan DDs instead of using the tables.

Table 8: Bulletins (Instructions)

| Bulletins | Instructions |
| --- | --- |
| Bulletin Name | List the specific bulletin affected by the functionality being designed. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| RTM | List the RSD item number within the SDD (i.e., If the RSD has a requirement of 3.3.1, add Support for a new API, then in this column list RSD Requirement 3.3.1). |
| Related Options | List options that directly send the bulletin. |
| Related Routines | List routines that directly send the bulletin. |
| Mail Subject | List the subject of the mail message, i.e., which bulletin this affects. |
| Mail Group | List the mail group (recipients) of the mail message. |
| Parameters | List necessary parameters. |
| Data Dictionary (DD) References | List files/fields that reference the bulletin(s) through input transforms, cross reference logic, etc. should be listed under Data Dictionary (DD) References. |

Table 9: Bulletins

| Bulletins | Description |  |  |  |
| --- | --- | --- | --- | --- |
| Bulletin Name |  |  |  |  |
| Enhancement Category | New | Modify | Delete | No Change |
| RTM |  |  |  |  |

| Related Routines | Routines “Called By” | Routines “Called” |
| --- | --- | --- |

| Routines | Description |
| --- | --- |
| Mail Subject |  |
| Mail Group |  |
| Parameters |  |
| Data Dictionary (DD) References |  |

##### Data Entries Affected by the Design

Provide the following data for each field to be created, modified, or deleted or provide a “Before and After: Data Entries Affected by the Design.”

Identify the entries affected by the design. If a blanket change will be made to each entry affected, that change should be defined in this table.

Only changes that are unique to each record should be defined in the Unique Record(s) section (Section 6.2.2.3.5). Redundant information should not be entered into each chart in the Unique Record(s) section.

Table 10: Data Entries Affected by the Design

| Field Name | Current Value | New Value |
| --- | --- | --- |

##### Unique Record(s)

List the unique record ID(s) that will be affected by the changes implemented by the design. This is commonly done in the .01 field. The values defined in the Current Value and New Value columns should be the exact value of the data. For each unique record ID, copy this table and provide the information.

Table 11: Unique Record ID

| Field Name(s) | Current Value | New Value |
| --- | --- | --- |

##### File or Global Size Changes

Indicate the change to the size of the file or global as a result of the design implemented with this description. Global size changes tie back to the business requirements and RSD. Growth or reduction in the size of the global should be indicated in this section. If the file is static across all VistA systems, a blanket statement of how the change will affect the size of the global will suffice.

For example, “The National Procedure file is a new file and will require 8.7K of disk space to install.”

If a file is dynamic and its size may vary from VistA system to VistA system, the description should indicate the change in the file per record and the number of records that the site may anticipate. For example, if a field is being added to the patient file that will result in an increase of 7K per patient, the site can estimate the global growth based on the number of entries in that file.

Note: If the Capacity Planning analysis is available, then enter it here. If not, then use the Project Team projection.

Table 12: File or Global Size Changes

| File/Global Name(s) | Estimated Increase | Estimated Decrease |
| --- | --- | --- |

##### Mail Groups

Complete the table for each of the mail groups affected by the functionality being designed. A short description of what changes will be made to the affected mail groups should be included in this section.

Note: If preferred, this can be captured directly from VA FileMan DDs after the fact.

Table 13: Mail Groups (Instructions)

| Mail Groups | Instructions |
| --- | --- |
| Mail Group Name | List the name of the mail group being modified. The mail group name may include a domain name. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| Related Options | List options that directly reference the file. |
| Related Routines | List routines that reference the mail group. |
| Data Dictionary (DDs) References | List files that reference the mail group through input transforms, cross-reference logic, etc. |
| Related Protocols | List protocols that directly reference the mail group. |
| Mail Group Description | Describe the purpose for the mail group. |
| Self-Enrollment Allowed | Check the appropriate box either Yes or No. |
| Type | Check the appropriate box either Public or Private. |

Table 14: Mail Groups

| Mail Groups | Activities |  |  |  |
| --- | --- | --- | --- | --- |
| Mail Group Name |  |  |  |  |
| Enhancement Category | New | Modify | Delete | No Change |
| Related Options |  |  |  |  |

| Related Routines | Routines “Called By” | Routines “Called” |
| --- | --- | --- |

| Mail Groups | Instructions |  |
| --- | --- | --- |
| Data Dictionary (DD) References |  |  |
| Related Protocols |  |  |
| Mail Group Description |  |  |
| Self-Enrollment Allowed | Yes | No |
| Type | Public | Private |

##### Security Keys

This section lists the specific security keys affected by the functionality being designed. A short description of the changes that will be made to the security keys affected should be included in this section.

Note: If preferred, this can be captured directly from VA FileMan DDs after the fact.

Table 15: Security Keys (Instructions)

| Security Keys | Instructions |
| --- | --- |
| Security Key Name | List the specific name of the security key being modified. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| Related Options | List options that directly reference the security key. |
| Related Routines | List routines that reference the security key. |
| Data Passing | Check the appropriate box. Enter a short description of an event that would trigger the new/changed routine, for example, a note that the change to the security key will be referenced through user menu driven options, routines, etc. This section refers specifically to the change implemented with the design. |
| Security Key Description | List a brief description of the security key. |
| Subordinate Keys | List any subordinate keys. |
| Mutually Exclusive Keys | Enter the name of a key that may not be held jointly with this one. |
| Granting Condition Logic | Define the logic for the Granting Condition of the Security Key affected by the functionality being designed. |
| Current Logic | If the security key currently has a granting condition, define the current logic for that granting condition. If the security key did not exist before, indicate that there is currently no security key. |
| Modified Logic (Changes are in bold) | Define the granting condition that the design will implement. If the security key is new to the field, define the logic here. |
| Hierarchical Precedence | Define which key is used if one key will take precedence over another key. |

Table 16: Security Keys

| Security Keys | Activities |  |  |  |
| --- | --- | --- | --- | --- |
| Security Key Name |  |  |  |  |
| Enhancement Category | New | Modify | Delete | No Change |
| Related Options |  |  |  |  |

| Related Routines | Routines “Called By” | Routines “Called” |
| --- | --- | --- |

| Security Keys | Activities |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Data Passing | Input | Output | Both | Global Reference | Local Reference |
| Security Key Description |  |  |  |  |  |
| Subordinate Keys |  |  |  |  |  |
| Mutually Exclusive Keys |  |  |  |  |  |
| Granting Condition Logic |  |  |  |  |  |

Current Logic

Modified Logic (Changes are in bold)

| Security Keys | Activities |
| --- | --- |
| Hierarchical Precedence |  |

##### Options

Complete the table for each of the options affected by the functionality being designed. A short description of the changes that will be made to the options affected should be included. Changes to the OPTION file (#19) are to be included, not the functionality of the option invoked.

Note: If preferred, this can be captured directly from VA FileMan DD after the fact.

Table 17: Options (Instructions)

| Options | Instructions |
| --- | --- |
| Option Name (MENU TEXT field) | Enter the name of the option affected. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change |
| Associated Menu Options that will invoke this reference | List the menu type options on which the respective option is or will be contained. |
| Data Passing | Check the appropriate box. Also a short description of what invokes the new/changed routine should be included in this section. An example of such a description would be a note that the change to the option will be referenced through VA Mailman server messages, user selection of the option from the VA Kernel Menu Management system, etc. This section refers specifically to the change implemented with the design. |
| Menu Text Description | Enter the name of the option as it will be displayed to the user within the menu system. |
| Option Type | Specify the type of option |
| Option Definition | Provide all the information necessary to fully define the option. Include options that are included in the menu, if applicable. |
| Current Entry Action Logic | Define the current logic for the entry action of the option affected by the functionality being designed. If the entry action did not exist before, indicate that there currently is no entry action. |
| Modified Entry Action Logic (Changes are in bold) | Define the entry action that the design will implement. If the entry action is new to the field, define the logic here. |
| Current Exit Action Logic | Define the current logic for the exit action of the option affected by the functionality being designed. If the exit action did not exist before, indicate that there currently is no exit action. |
| Modified Exit Action Logic (Changes are in bold) | Define the exit action that the design will implement. If the exit action is new to the field, define the logic here. |

Table 18: Options

| Options | Activities |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Option Name |  |  |  |  |  |  |  |  |  |  |  |
| Enhancement Category | New | Modify |  |  |  | Delete |  |  | No Change |  |  |
| Associated Menu Options that will invoke this reference |  |  |  |  |  |  |  |  |  |  |  |
| Data Passing | Input |  | Output |  | Both |  |  | Global Reference |  |  | Local Reference |
| Menu Text Description |  |  |  |  |  |  |  |  |  |  |  |
| Option Type | Edit |  |  | Print |  |  | Menu |  |  | Inquire |  |
|  | Action |  |  | Run Routine |  |  | Other |  |  |  |  |
| Associated Routine |  |  |  |  |  |  |  |  |  |  |  |
| Option Definition |  |  |  |  |  |  |  |  |  |  |  |

Current Entry Action Logic

Modified Entry Action Logic (Changes are in bold)

Current Exit Action Logic

Modified Exit Action Logic (Changes are in bold)

##### Protocols

Complete the table for each of the protocols affected by the functionality being designed. A short description of the changes that will be made to the protocols affected should be included in this section. Changes to the PROTOCOL file (#101) are to be included, not the functionality of the protocol invoked.

Note: If preferred, this can be captured directly from VA FileMan DDs after the fact.

Table 19: Protocols (Instructions)

| Protocols | Instructions |
| --- | --- |
| Protocol Name | List the name of the protocol affected. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| Associated Protocols | List the ancestors of the protocol being designed, i.e., those protocols that contain the respective protocol as an item. |
| Data Passing | Check the appropriate box. An event that would trigger the new/changed protocol should be included in this section. An example would be a note that the change to the protocol will be referenced through the VA event driver, List Manager, user selection of a protocol from the VA Kernel Menu Management system. This section refers specifically to the change implemented with the design. |
| Item Text Description | Enter the protocol's text as it appears to the user on the menu or sub-header. |
| Protocol Type | Define the type of protocol to be executed |
| Associated Routine | List any associated routines affected by the protocol being designed. |
| Current Entry Action Logic | Define the current logic for the entry action of the protocol affected by the functionality being designed. If the entry action did not exist before, indicate that there currently is no entry action. |
| Modified Entry Action Logic (Changes are in bold) | Define the entry action that the design will implement. If the entry action is new to the field, define the logic here. |
| Current Exit Action Logic | Define the current logic for the exit action of the protocol affected by the functionality being designed. If the exit action did not exist before, indicate that there currently is no exit action. |
| Modified Exit Action Logic (Changes are in bold) | Define the exit action that the design will implement. If the exit action is new to the field, define the logic here. |

Table 20: Protocols

| Protocols | Activities |
| --- | --- |
| Protocol Name |  |
| Enhancement Category | New Modify Delete No Change |
| Associated Protocols |  |
| Data Passing | Input Output Both Global Reference Local Reference |
| Item Text Description |  |
| Protocol Type | Action Menu Protocol Protocol Menu Limited Protocol Extended Action Dialog Other |
| Associated Routine |  |

Current Entry Action Logic

Modified Entry Action Logic (Changes are in bold)

Current Exit Action Logic

Modified Exit Action Logic (Changes are in bold)

##### Remote Procedure Call (RPC)

Complete the table for each RPC affected by the functionality being designed.

Note: If preferred, this can be captured directly from VA FileMan DDs after the fact.

Table 21: RPCs (Instructions)

| RPCs | Instructions |
| --- | --- |
| Name | List the specific name of the RPC affected. |
| TAG^RTN | List the tag (label) and routine. |
| Input Parameters | This field is used to identify an input parameter for the API. |
| Results Array | This field tells the RPC Broker how to process the resulting data from the call. |
| Description | Provide a brief description of the RPC affected. |

Table 22: RPCs

| RPCs | Activities |  |  |
| --- | --- | --- | --- |
| Name |  |  |  |
| TAG^RTN |  |  |  |
| Input Parameters |  |  |  |
| Results Array | Single Value | Array | Word Processing |
|  | Global Array | Global Instance |  |
| Description |  |  |  |

##### Constants Defined in Interface

Provide the name and description.

Table 23: Constants Defined in Interface

| Name | Description |
| --- | --- |

##### Variables Defined in Interface

Provide the name, type, and description.

Table 24: Variables Defined in Interface

| Name | Type | Description |
| --- | --- | --- |

##### Types Defined in Interface

Provide the name, type, and description.

Table 25: Types Defined in Interface

| Name | Type | Description |
| --- | --- | --- |

##### GUI

List the GUI affected by the functionality being designed and include a short description of the changes made to the affected GUI. The headers in the following tables have names for the information outlined. There are a number of items in this section that would generally be global information and visible to all other aspects.

Table 26: GUI

| Unit Name | Description |
| --- | --- |

##### GUI Classes

Table 27: GUI Classes (Instructions)

| GUI Classes | Instructions |
| --- | --- |
| Class Name | List the name of the class affected. The headers in the following tables have names for the information outlined. Note that only the new properties and methods for a class are listed below. All ancestor properties and methods are still available and unchanged. |
| Derived From Class | List the class that this is derived from, its parent and any interfaces listed as part of this class. |
| Purpose | Describe the functionality that users can access from this class and related form, if any. |

Table 28: GUI Classes

| GUI Classes | Instructions |
| --- | --- |
| Class Name |  |
| Derived From Class |  |
| Purpose |  |

##### Current Form

Provide a screen capture or graphical representation of the current layout.

##### Modified Form

Provide a screen capture or graphical representation of the layout that the design will implement.

##### Components on Form

Table 29: Components on Form

| Name | Type | Description |
| --- | --- | --- |

##### Events

Table 30: Events

| Name | Type | Description |
| --- | --- | --- |

##### Methods

Table 31: Methods

| Method Name | Procedure/Function | Description |
| --- | --- | --- |

##### Special References

Include references that are not listed elsewhere.

Table 32: Methods

| Special Reference Name | Type | Description |
| --- | --- | --- |

##### Class Events

Table 33: Class Events

| Name | Type | Description |
| --- | --- | --- |

##### Class Methods

Table 34: Class Methods

| Name | Procedure/Function | Description |
| --- | --- | --- |

##### Class Properties

Table 35: Class Properties

| Class Properties Name | Type | Visibility | Description |
| --- | --- | --- | --- |

##### Uses Clause

Use this section to provide a uses clause that lists the other units (code or form units) that this unit will use. This may be documented in the form of a Unified Modeling Language (UML) drawing.

##### Forms

This section lists the forms that will be affected or created by the functionality being designed. A short description of the change that will be made to the forms should be included.

Table 36: Forms (Instructions)

| Forms | Instructions |
| --- | --- |
| Form Name | List the name of the form affected by the functionality being designed. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| Form Functionality | Describe the form’s functionality and refer to the usage of the form. An example of such a description is “This form is used to enter patient demographic data.” |
| Current Form Layout | Define the current form layout that the design will modify. If this is a new form, enter “N/A”. |
| Modified Form Layout (Changes are in bold) | Define the form layout that the design will implement. |

Table 37: Forms

| Forms | Description |  |  |  |
| --- | --- | --- | --- | --- |
| Form Name |  |  |  |  |
| Enhancement Category | New | Modify | Delete | No Change |
| Form Functionality |  |  |  |  |

Current Form Layout

Modified Form Layout (Changes are in bold)

##### Functions

The functions affected by the capabilities being designed should be listed in this section. A short description of what change will be made to the functions and/or new functions should be included.

Table 38: Forms (Instructions)

| Functions | Instructions |
| --- | --- |
| Function Name | List the specific function affected by the capability being designed. |
| Short Description | List a short description of the change that will be made to the functions and/or new functions. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| Related Options | List the options that directly call or are called by the function. |
| Related Routines | List the routines that directly call or are called by the function. |
| Data Dictionary (DD) References | List the files that reference the function through input transforms, cross reference logic, etc. |
| Related Protocols | List the protocols that reference or are referenced by the function. |
| Related Integration Control Registrations (ICRs) | List proposed new ICRs and subscribed ICRs. Also, list any obscure Supported ICRs. |
| Data Passing | Check the appropriate box. An event that would trigger the new/changed function should be included in this section. An example of such a description would be a note that the new/changed function will be invoked as part of a function call or it would be invoked through system protocols, HL7 Logical Links, etc. This section refers specifically to the change implemented with the design. |
| Input Attribute Name and Definition | List the input attributes passed into the new or changed function logic. Each attribute should be defined. |
| Output Attribute Name and Definition | List the output attributes returned from the new or changed function logic. Each attribute should be defined. |
| Current Logic | Define the current logic in the function that the design will modify. If this is new code, enter “N/A”. |
| Modified Logic (Changes are in bold) | Define the logic in the function that the design will implement. |

Table 39: Forms

| Function Name | Activities |  |  |  |
| --- | --- | --- | --- | --- |
| Short Description |  |  |  |  |
| Enhancement Category | New | Modify | Delete | No Change |
| Related Options |  |  |  |  |

| Related Routines | Routines “Called By” | Routines “Called” |
| --- | --- | --- |

| Function Name | Activities |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Data Dictionary (DD) References |  |  |  |  |  |
| Related Protocols |  |  |  |  |  |
| Related Integration Control Registrations (ICRs) |  |  |  |  |  |
| Data Passing | Input | Output | Both | Global Reference | Local Reference |
| Input Attribute Name and Definition | Name: |  |  |  |  |
|  | Definition: |  |  |  |  |
| Output Attribute Name and Definition | Name: |  |  |  |  |
|  | Definition: |  |  |  |  |

Current Logic

Modified Logic (Changes are in bold)

##### Dialog

In this section list the changes to the DIALOG file (#.84).

Table 40: Dialog (Instructions)

| Dialog | Instructions |
| --- | --- |
| Dialog Message (Description) | List the specific message affected or needed by the changes being designed. |
| Enhancement Category | Select the appropriate category: New, Modify, Delete, or No Change. |
| Dialog Message (Description) Condition | Describe the dialog message (description) functionality. An example of such a description would be the condition that would trigger the output of the message (dialog). This section refers to the condition generating the message (dialog). |
| Current Dialog Message (Description) | Define the current dialog message (description) that the design will modify. If this is a new dialog message (description) enter N/A. |
| Modified Dialog Message (Description) (Changes are in bold) | Define the dialog message (description) that the design will implement. |

Table 41: Dialog

| Dialog | Instructions |  |  |  |
| --- | --- | --- | --- | --- |
| Dialog Message (Description) |  |  |  |  |
| Enhancement Category | New | Modify | Delete | No Change |
| Dialog Message (Description) Condition |  |  |  |  |
| Current Dialog Message (Description) |  |  |  |  |
| Modified Dialog Message (Description) (Changes are in bold) |  |  |  |  |

##### Help Frame

A short description of what change will be made to the Help Frame text and/or new text should be included in this section. Help frames may be associated with options or with data dictionary fields to provide on-line instruction.

Table 42: Help Frame (Instructions)

| Help Frame | Instructions |
| --- | --- |
| Help Frame Text | List the text affected or needed by the changes being designed. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| Help Frame Text Calling Mechanism | Provide a short description of the mechanism used to call the Help Frame text in this section. An example of a mechanism would be the name of the routine or an explanation of how the Help Frame is called. An example of a calling mechanism would be the Standard VA FileMan API and the keystroke(s) that would trigger the output of the text. |
| Current Help Frame Text | List the current Help Frame Text that the design will modify. If new text enter N/A. |
| Modified Help Frame Text (Changes are in bold) | List the Help Frame Text that the design will modify. |

Table 43: Help Frame

| Help Frame | Description |  |  |  |
| --- | --- | --- | --- | --- |
| Help Frame Text |  |  |  |  |
| Enhancement Category | New | Modify | Delete | No Change |
| Help Frame Text Calling Mechanism |  |  |  |  |

Current Help Frame Text

Modified Help Frame Text (Changes are in bold)

##### HL7 Application Parameter

Table 44: HL7 Application Parameter (Instructions)

| HL7 Application Parameter | Instructions |
| --- | --- |
| HL7 Application Parameter Name | List the HL7 Application Parameter affected or needed by the changes being designed. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| Application Status | Check the appropriate box in the applicable column for Current and Modified |
| Facility Name | List the current and modified value in the appropriate column. |
| Country Code | List the current and modified value in the appropriate column. |
| HL7 Field Separator | List the current and modified value in the appropriate column. |
| HL7 Encoding Characters | List the current and modified value in the appropriate column. |
| Mail Group | List the current and modified value in the appropriate column. |

Table 45: HL7 Application Parameter

| HL7 Application Parameter Name | Description |
| --- | --- |

| Enhancement Category | New | Modify | Delete | No Change |
| --- | --- | --- | --- | --- |

| Application Status | Active | Inactive | Active | Inactive |
| --- | --- | --- | --- | --- |

| Enhancement Category | Current | Modified |
| --- | --- | --- |
| Facility Name |  |  |
| Country Code |  |  |
| HL7 Field Separator |  |  |
| HL7 Encoding Characters |  |  |
| Mail Group |  |  |

##### HL7 Logical Link

Table 46: HL7 Logical Link (Instructions)

| HL7 Logical Link | Instructions |
| --- | --- |
| HL7 Logical Link Parameter (LLP) Name | List the specific HL7 Logical Link affected or needed by the changes being designed. |
| Enhancement Category | Check the appropriate box: New, Modify, Delete, or No Change. |
| Node | List the current and modified value in the appropriate column. |
| Institution | List the current and modified value in the appropriate column. |
| Domain | List the current and modified value in the appropriate column. |
| Autostart | List the current and modified value in the appropriate column. |
| Queue Size | List the current and modified value in the appropriate column. |
| LLP Type | List the current and modified value in the appropriate column. |

Table 47: HL7 Logical Link

| HL7 Logical Link | Description |
| --- | --- |
| HL7 Logical Link Parameter Name |  |

| Enhancement Category | New | Modify | Delete | No Change |
| --- | --- | --- | --- | --- |

| Enhancement Category | Current | Modified |
| --- | --- | --- |
| Node |  |  |
| Institution |  |  |
| Domain |  |  |
| Autostart |  |  |
| Queue Size |  |  |
| LLP Type |  |  |

##### COTS Interface

The specific communication method(s) and Application Interface(s) that will be created or modified for the COTS system being interfaced should be described in this section. A short description of the existing tools that will be used and any new tools that will be developed should also be included.

Table 48: COTS Interface (Instructions)

| COTS Interface | Instructions |
| --- | --- |
| Communication Method | List the specific communication method created or modified for the functionality being designed. |
| Application Interface | List the specific application interface created or modified for the functionality being designed. |

Table 49: COTS Interface

| COTS Interface | Description |
| --- | --- |
| Communication Method |  |
| Application Interface |  |

## Network Detailed Design

Provide enough detailed information about the communication requirements to build and/or procure the communication components for the system. This section should provide sufficient detail to support the procurement of hardware for the system installation. Include the following information in the form of detailed designs (as appropriate):

- Details of servers and clients to be included on each area network

- Specifications for bus timing requirements and bus control

- Format(s) for data being exchanged between components

- Diagrams showing connectivity between components, data flow (if applicable), and distances between components

- LAN topology.

## Security and Privacy

### Security

Describe specific security mechanisms at the application level, as guided by NIST 800-53 revision 3 (or most current version). Also, summarize the security mechanisms to be provided by the VA GSSs. Reference the Security Risk Assessment.

The following information should be provided to address security controls:

A high-level description of the security controls, grouped according to the 18 control families identified in NIST 800-53 revision 3 (or most current version). A description of all 18 control families must be addressed; if a control family is not applicable, then state that control family does not apply and explain why it does not apply.

A description of the specific security controls that will be provided by existing VA infrastructure or VA GSSs.

Describe the planned use by the application of the infrastructure’s centralized security mechanisms and VA GSSs (in particular, the identification and authentication, access control, and audit mechanisms), and infrastructure mechanisms, (e.g., Directory Services) to store user account information. Sufficient detail should be provided to show the feasibility of the integration and/or inter operation of application security mechanisms with infrastructure security mechanisms.

### Privacy

Identify privacy design considerations. Describe specific privacy mechanisms at the application. Describe how the application’s privacy requirements will be met. Reference the System Security Plan (SSP) and Privacy Impact Assessment (PIA).

## Service Oriented Architecture / ESS Detailed Design

This section provides details of provided and consumed services as follows:

- Consumed Services: Provide link to Service Description Document for each consumed service.

- Provided Services: Give service design for each provided service.

The information you provide here will be used to upload to the ESS Registry and Repository. At some point in the near future, we do not expect these SOA artifacts such as SLA, Service Description, etc. to be static documents. They will be dynamically generated from the ESS Registry and Repository tool in the form of reports. Any application and service integration design is also documented here.

A list of currently available Enterprise Shared Services is available here: <insert link to ESS list>

### Service Description for <Consumed Service Name>

Provide link to Service Description document for the consumed service. This section will repeat for each consumed service. The Service Description includes Service Interface and Service Level Definition (SLD) to address anticipated capacity requirements.

### Service Design for <Provided Service Name>

This section should describe the detailed service design for each ESS and SOA service needed to obtain an intended result. The Service Design includes Service Interface and Service Level Definition (SLD) to address anticipated capacity requirements.

This section will repeat for each provided service.

#### Introduction

##### Purpose and Scope of Service

This service was described at a high level in the charter document. Please refer to it here via a link.

##### Links to Other Documents

Provide links to other documents created for this service so far in the SOA lifecycle. At a minimum, provide links to:

- Service Charter

- Service Roadmap

- Service Description

#### Service Details

##### Service Identification

This section will be written as a table to provide a quick reference to the service's what, where, why and how - cheat sheet.

| Service Attribute | Value |
| --- | --- |
| Name and Alias (if any) | Name of the service and other names for the service, which might be used by someone searching for this service. Please follow ESS naming standards. |
| Overview | Brief textual overview of the service. |
| Version | Version number of the service being described here |
| Latest Status | This field shows the latest status for the above referenced version of this service! The status of a service shows the progress of the service from initiation through development, deployment, and eventual retirement. The status also has a status date associated with the status - and we will be using the latest one here in this document. Valid values include: Inception, Design, Provisioning, Certification / Testing, Operation, Deprecated, Retired, Rejected - Owner has decided not to develop the service. |
| Service Type | Used to define applicable architecture patterns. Examples (from Open Group): • Interaction • Process • Information • Partner • Business Application • Access • Service Connectivity |
| Architecture Layer | Referred to as class in VA Service template. Used to define applicable architecture patterns and relationships to governing bodies. Examples: • Solution • Process • Information • Utility • Underlying |
| Business Domain | Business Vertical or Business Division where this service belongs. |
| Service Domain | The service or technical domain that the service belongs to. Can be used to establish the namespace. |
| Business Organization and Owner | Person who approves this service & any changes. Include email. |
| Technical Organization and Owner | Person responsible for provisioning (specifying, acquiring certifying) this service. Include email. |
| Development Organization and Owner | Person who is responsible for the development processes and activities for this service. Include email. |
| Support Organization and Owner | Person who is responsible for the support of this service while in production. Include email. |
| Target Consumer Organization(s) and Owner(s) | Organizations and/or developers roles that service is intended for. |

##### Service Versions

| Version Numbers | Current Status of Version | A Brief Description of the change implemented in that version |
| --- | --- | --- |
| This version | Being Designed |  |
| Example: version 2 | Example: In production. Will be retired with this release. | Example: This release added the ability to look up a person by address. Provide a link to each version of the service. |
| Example: version 1 | Example: Retired. | Example: This release provided the base minimum functionality to look up a person by name. Provide a link to each version of the service. |

##### Summary of Design and Platform Details

###### SOA Pattern(s) Implemented

Name of the SOA pattern implemented – for instance, this may be a Pub/Sub model. Just a name and reference to the document or book with the pattern is sufficient for popular patterns or VA's own patterns. If you are using some esoteric pattern, more details will help.

###### COTS Platform vendor names and versions for hosting platform

Example, TIBCO.

#### Dependencies

The Dependency Model identifies other services, systems, databases, etc. that [Service Name] is dependent upon or interacts with to perform its function.

This section should clearly identify all sources and external systems that are accessed by this service to fulfill the service consumers’ request. This section should include diagrams to show as much detail as necessary to inform the developer. Provide a context diagram for the service.

Note: Here our primary audience includes the providers of the service. So this document in general will emphasize system components and sub-systems as much as external interactions.

#### Service Design Details

The next sub-section on Interface Technical Specs could be just a copy from the corresponding sub-section in Interface section in the Service Description Document. Here, you could provide more detail necessary for building this service but the interface spec needs to be consistent between this document and the Service Description Document. This section contains all information necessary to fully describe an interface published by this service...

##### Interface Technical Specs

The technical specification allows developers of service consumers to locate and discover the service for run time consumption.

###### Service Invocation Type

Such as: SOAP over HTTP, REST.

###### Service Interface Type

Such as: WSDL via Web Service 2.0

###### Service Name

Technical Service Name. Comply with ESS naming standards.

###### Interface

Link to WSDL or other interface document.

###### End Points

Provide if known! Calls that can be made into the service. Can be referenced to the WSDL or can be in a separate table.

###### Operations or Methods

In the table below, the technical names of the operations, inputs and outputs are used. Inputs and outputs, if parameters, must have a data type.

Non-primitive data types must be defined in the Service Information Model section.

This table could be generated automatically from the WSDL content or its equivalent.

Style can take any of these values: Parameters or Document; and One-way or Request-response or Solicit-response or Notification.

Use a separate column for the operation purpose if you wish.

You might use abbreviations in the Faults column and explain the abbreviations used below the table. For example, NF = Not Found, MI = Missing Input.

| Operation Name | Inputs | Outputs | Transactional Qualities if relevant (Updating?, Atomic?, Can participate in transaction?) | Pre and Post Conditions | Exception (s) |
| --- | --- | --- | --- | --- | --- |

Provide a link to the Service Information model so that the consumer of your system knows the schema for the input and output parameters.

###### Message Schemas

Provide definitions or links to definitions of the message(s) related to the service operations. These may be dependent on the implementation style and protocol binding of the interface.

##### Information Model

Even though this section looks similar to the corresponding section 3.2 in Service Description, remember that the primary objective here is to facilitate construction and to gain approvals from governing bodies. So you will provide more of a “white box” view of the design here to help your developers code the service.

###### Class Diagram and Description of Entities Involved

Map out all entities involved in the service: input, output, exceptions, entities manipulated in persistent media/DBs, intermediate entities created in memory etc.

###### Mappings from ELDM to Standards Based Schemas

Provide mappings from your native schema to any standards based schemas your service will use to communicate outside. For instance, if you are using HL7 based messages then you will show how data is converted from your native schema to HL7.

##### Behavior Model (AKA Use Case Realization)

The Behavior Model defines the actions and processes supported by the service. Actions and methods represented in the use cases and sequence diagrams shown below are further defined by the operation contracts and the message payloads.

###### Use Cases (Use Case Model)

Describe how this service fits into the larger use case model of the consumer. You may need multiple models for multiple consumers. Focus is not on the internal workings of the new service instead of the calls made from external consumers. Just a summary or the Use Case Diagram may be sufficient. List the alternative and exception flows. Reference the detailed design documents via a URL.

###### Interaction Diagrams

Cut and paste screen shot from RSA or similar tool or provide link to the model. Provide description to help developers build your service. The interaction diagrams should depict external interactions and internal sequences of calls between internal components. The sequence diagram should cut through all layers to show the main, alternate and exception flows.

#### Gap Analysis

Provide a Gap Analysis (Reference) to demonstrate compliance of this service with various standards, policies, guidelines and laws. The Gap Analysis may take the form of a matrix as shown in the sample below. This will help the governance boards expedite your request.

| Design Elements Policies / SLD elements etc.↓ | Design Element A | Design Element B | Design Element C | Comment for non-conformance |
| --- | --- | --- | --- | --- |
| Policy X | Match |  |  |  |
| Policy Y |  | Partial |  |  |
| Policy Z |  |  |  | Commercial encryption server in prod will have to address this policy. |
| Policy A |  |  |  | Compliance with this policy not required until next year. |
| New / Additional Features |  |  | New element minimizes manual intervention |  |

##### Variances from Enterprise Target Architecture

This list of “variances” will become a submission to the ESS dispensation process.

##### Variances from SLDs

This list of “variances” will become a submission to the ESS dispensation process.

##### Variances from Standards and Policies

This list of “variances” will become a submission to the ESS dispensation process.

##### Justification for Exceptions and Mitigation

This section will list out any non-functional and functional requirements that are not being met. The non-conformance may be in violation of elements of SLDs, enterprise architecture (TRM Technology Reference Model), privacy policies or guidelines. For each exception provide:

- Reasons for non-conformance (cost, time, technology, etc.)

- Mitigating actions taken to reduce the impact of non-conformance

- Plan (roadmap) to come back into conformance

This list can grow depending on what the Review bodies may ask for.

# External System Interface Design

Additional detail will be provided once a development contractor is onboarded.

This section details interfaces external to system, that are NOT services (ESS/SOA). Typically, these may include, RPCs, Flat Data Files etc.

External systems are systems that are not within the scope of the system under development, regardless of whether the other systems are managed by the vendor or its client.

In this section, describe the interface(s) between the system under development (i.e., the system that is the subject of this SDD) and external systems and/or subsystem(s).

It is best to illustrate these sections with annotated diagrams to clearly identify the various elements of the interfaces.

## Interface Architecture

Describe the interface(s) between the system being designed and other systems. Include the interface architecture(s) being implemented, such as wide area networks, gateways, etc. Provide diagrams showing the communications path(s) between this system and other systems.

## Interface Detailed Design

Provide sufficient detail about the interface requirements for the development team to format, transmit, and/or receive data across the interface.

Include the following information (as appropriate):

- Data format requirements; if data must be reformatted before it is transmitted or after incoming data is received. Describe the tools and/or methods for the reformat process.

- Specifications for hand-shaking protocols between systems; content and format of hand-shake messages, timing for exchanging these messages, and errors handling.

- Format(s) for reports exchanged between the systems.

- Graphical representation of the connectivity between systems, showing the direction of data flow.

- Query and response descriptions.

- Describe the individual data elements that the interfacing entity(s) will provide, store, send, access, and receive, such as:

- Names/identifiers

  - Data Element Name

  - Data Format/Length

  - Data Type

  - Definition

  - Non-Technical Name

  - Non-Technical Synonyms

  - Specifications

  - Synonyms

- Range or enumeration of possible values (e.g., 0-99)

- Accuracy and precision (number of significant digits)

- Priority, timing, frequency, sequencing, and other constraints

- Security and privacy constraints

- Sources (setting/sending entities) and recipients (using/receiving entities).

Describe the data element assemblies (records, messages, files etc.) that the interfacing entity(s) will provide, store, and send, such as:

- Names/identifiers

  - Technical Name, e.g., data structure name

  - Non-technical Names, e.g. synonyms

- Data elements

- Medium/structure of data elements/assemblies

- Visual characteristics (e.g. layouts, fonts, icons etc.)

- Relationships among assemblies

- Security and privacy constraints

- Sources and recipients.

Describe the communication methods that the interfacing entity(s) will use for the interface, such as:

- Communication links, bands, frequencies, and media

- Message formatting

- Flow control (e.g. sequence numbering)

- Data transfer rate

- Routing

- Transmission services

- Safety

- Security and privacy considerations.

Describe characteristics of the protocols that the interfacing entity(s) will use for the interface, such as:

- Priority/layer of the protocol

- Packeting

- Legality checks, error control

- Recovery procedures

- Synchronization

- Status, identification, and other reporting features.

Where appropriate describe other characteristics, such as physical compatibility of the interfacing entity(s) (dimensions, tolerances, loads, voltages, plug compatibility, etc.)

# Human-Machine Interface

The VistA Imaging viewer is a graphical user interface (GUI) integrated with the eHMP. The eHMP will provide all the GUI functionality necessary to select the patient and identify when and where images are available and associated with other components of the medical record. The image viewer will provide a GUI that allows users to view, manipulate and annotate images.

## Interface Design Rules

The image viewer will follow eHMP design patterns.

## Inputs

Additional detail will be provided once a development contractor is onboarded.

Identify the input media used by the user (i.e., operator) for providing information to the system, such as data entry screens, optical character readers, bar scanners, etc.

Identify the messages associated with operator inputs, including the following:

- Form(s) if the input data is keyed or scanned for data entry

- Access restrictions

- Security considerations.

## Outputs

GUI outputs are limited to images and metadata for VistA Imaging. Additional detail will be provided once a development contractor is onboarded.

Describe the system output design relative to the user. System outputs include reports, data display screens, query results, etc.

Identify the following, if appropriate:

- Access restrictions or security considerations

- Description of the purpose of the output

- Report requirements, including frequency of periodic reports

- Screen contents. (Provide a graphic representation of each layout. Define all data elements associated with the layout).

## Navigation Hierarchy

Additional detail will be provided once a development contractor is onboarded.

Provide a diagram of the navigation hierarchy that shows how a user moves through the GUI.

### Screen [x.1]

Provide the layout of all input data screens or GUIs. Provide a graphic representation of each GUI, for example, a low-resolution screenshot. Define all data elements associated with each screen or GUI, or reference the data dictionary. Label each data input screen and/or GUI.

### Screen [x.2]

Provide a graphic representation of each GUI, for example, a low-resolution screenshot. Define all data elements associated with each screen or GUI, or reference the data dictionary.

### Screen [x.3]

Provide a graphic representation of each GUI, for example, a low-resolution screenshot. Define all data elements associated with each screen or GUI, or reference the data dictionary.

# Attachment A – Approval Signatures

This section is used to document the approval of the system design document. The review should be conducted face to face where signatures can be obtained “live” during the review. If unable to conduct a face-to-face meeting, then it should be held via LiveMeeting and concurrence captured during the meeting. The scribe should add name by each position cited.

The business sponsor and project manager are required to sign.

______________________________________________________________________________

Signed:	Date:

< Business Sponsor >

______________________________________________________________________________

Signed:	Date:

< Project Manager >

- Additional Information

Attach any addition information that supplements the design specification.

  - Identification of Technology and Standards

Identify the system and software which apply to the SDD, including: identification number(s), title(s), abbreviation(s), version number(s), and release number(s). Identify all standards (e.g., American National Standards Institute [ANSI], International Organization for Standardization [ISO], Institute of Electrical and Electronics Engineers [IEEE], etc.).

  - Constraining Policies, Directives and Procedures

Identify any constraints or requirements placed on this document by policies, directives, or procedures.

  - Requirements Traceability Matrix

Include an RTM that traces modules and data structures to the software requirements. A reference to the location of the RTM is also acceptable.

  - Packaging and Installation

Outline any special considerations for software packaging and installation.

  - Design Metrics

Describe all metrics to be used during the design activity.

- Abbreviations, Acronyms, and Terms

| Term | Definition |
| --- | --- |
| 2D | two-dimensional |
| AITC | Austin Information Technology Center |
| Backbone.js | an open-source component of DocumentCloud that gives structure to Web applications and connects existing application program interface (API) over a RESTful JSON interface http://backbonejs.org/ |
| BRD | [VA] Business Requirements Document |
| CIFS | Common Internet File System |
| CORS | cross-origin resource sharing |
| CSS | Cascading Style Sheets [language] |
| CSS3 | As of December 2015, this is the latest evolution of the CSS the language; provides rounded corners, shadows, gradients, transitions, animations, multi-columns, and flexible box and grid layouts https://developer.mozilla.org/en-US/docs/Web/CSS/CSS3 |
| CT | computed tomography [medical scan imagery] |
| CVIX | Central VistA Imaging Exchange |
| DAS | [VA] Data Access Service |
| DICOM | Digital Imaging and Communications in Medicine |
| DOD | Department of Defense |
| DMA | Office of Disability and Medical Assessment formerly the Disability Examination Office (DEMO), originally known as the Compensation and Pension Examination Program (CPEP) |
| ECG | electrocardiogram |
| eHMP | [the] Enterprise Health Management Platform |
| EHR | Electronic Health Record |
| eMI | Enterprise Message Infrastructure |
| ESS | Employee Self Service |
| eVIX | enterprise VistA Imaging Image Exchange |
| eVPR | enterprise Virtual Patient Record [service] |
| FDA | Food and Drug Administration |
| Group 6000 | DICOM attribute group in which the element number is 6000 |
| HAIMS | [DOD] Health Artifact and Image Management Solution |
| HIE | health information exchange |
| HIS | Healthcare Information System |
| HTML | hypertext markup language the core language of the World Wide Web |
| HTML5 | [no space between the “L” and the “5”] the fifth revision of HTML and XHTML; it defines a single language that can be written in HTML and XML and addresses the needs of Web applications |
| iframe | inline frame element that represents a nested browsing context; for more information, go to https://www.w3.org/wiki/HTML/Elements/iframe and links within |
| IOC | initial operating capability |
| IOD | Input/output device |
| IM | information management |
| IT | information technology |
| JavaScript | programming language for HTML and the Web; lightweight, interpreted, object-oriented language |
| JDS | JSON Data Store |
| JSON | JavaScript Object Notation a lightweight data-interchange text format based on JavaScript http://www.json.org/ |
| JPEG | Joint Photographic Experts Group (which created the standard); a computer file format for the compression and storage of usually high-quality photographic digital images; the file extension is .jpg or .jpeg, also written as “JPG” |
| MDIA | medical device isolation architecture |
| MRI | magnetic resonance imaging |
| MS0 | Milestone 0 [no space between S and numeral]; the VA has six project milestone states |
| MS1 | Milestone 1 [no space between S and numeral]; the VA has six project milestone states |
| OI&T | [VA] Office of Information & Technology |
| PD | product development |
| PDF | portable document format |
| PMAS | Project Management Accountability System |
| PSI | potential shippable increments |
| RDK | resource development kit |
| RPC | remote procedure call |
| RSD | Requirements Specification Documents |
| SDD | system design document |
| SOA | Service-oriented architecture |
| SOP | Service-Object Pair |
| SR | structured reporting [object]; for example, DICOM SR objects |
| UI | user interface |
| UID | Unique Identifier |
| URL | Uniform Resource Locator; addresses on the World Wide Web |
| VA | Veterans Affairs |
| VAMC | Veterans Affairs Medical Center |
| VBA | Veterans Benefits Administration |
| VHA | Veterans Health Administration |
| VISA | VistA Imaging Services Architecture |
| VistA | Veterans Integrated Service Technology Architecture, as in “the VistA Imaging system”, “VistA Imaging”, “VistA Imaging software”, and “VistA Imaging sites”; see the overview at http://www.domain/health/imaging/overview.asp and http://www.domain/health/imaging/overview.asp |
| VistARad | the radiology software for VistA; see the quick start guide at http://www.domain/vdl/documents/Clinical/Vista_Imaging_Sys/vistarad_quick_start_guide.pdf |
| VIX | VistA Imaging Exchange, as in “the VIX service” or “a local VIX”; see the administrator’s guide at http://www.domain/vdl/documents/Clinical/Vista_Imaging_Sys/mag_vix_admin_guide.pdf |
| vxSync | [GitHub] synchronizing software; https://github.com/hjelmn/vxSync |
| WAN | wide area network |
| XML | extensible markup language |

- Template Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| June 2015 | 2.10 | Changed Heading 1 default setting to eliminate page break before | Process Management |
| May 2015 | 2.9 | Edited for Section 508 conformance and remediated with Common Look Office tool | Process Management |
| February 2015 | 2.8 | Incorporates revisions from PMAS Reform Lockdown; namely removing requirements for information that can be obtained from other PMAS authoritative sources. | , Office of Technology Strategies |
| September 2014 | 2.7 | Adds Enterprise Shared Services terms and requires AERB Compliance Certificate attachment. | Process Management |
| August 2014 | 2.6 | Signature block update authorized by AERB CR_018934 | Process Management |
| March 2014 | 2.5 | Section 508 repairs to new version approved by AERB Chair approved | Process Management |
| August 2013 | 2.3 | Replaced the Service Architecture sub-section with new sub-sections for consumed and provided services. Also applied miscellaneous feedback from VA team. | ASD Enterprise Shared Services (ESS) Work Group |
| June 2013 | 1.3 | Upgraded to MS Office 2007-2010 format | Process Management |
| June 2013 | 1.2 | Address inconsistencies in Section 3, Conceptual Design, Correct headings | Process Management |
| March 2013 | 1.1 | Formatted to documentation standards and edited for Section 508 conformance | Process Management |
| January 2013 | 1.0 | Initial Document | PMAS Business Office |

See TOGAF® 9.1, Part III: ADM Guidelines & Techniques, Gap Analysis on TOGAF Web site: http://pubs.opengroup.org/architecture/togaf9-doc/arch/chap27.html

- Endnotes

VistA Imaging Resources: In this context, “imaging resources” refers to any image and binary object formats stored at any accessible location intra- or extra-enterprise. The federation architecture through the VIX makes the access transparent.

Medical images are made up of visible image information and contextual information, commonly referred to as metadata. The visible information may be in the form of rasterized images, such as X-rays, CT scans, or spectrographs (like the ones acquired by MRI or waveforms from patient monitoring systems like ECGs). The metadata has three main components: One describes the imaging subject, i.e., the patient and the body site where the images are taken, etc. Another major component describes the procedural context (what was ordered and registered on the imaging equipment) in response to which the images were generated. The third component is dedicated to the acquisition context, which describes how the images or waveforms were acquired and what setting and acquisition protocols were used. Imaging equipment transmits this information in DICOM Composite objects, or using multiple data streams for the various components in a non-standard fashion. The former is common to major imaging equipment, such as CT, MR, US, X-ray, etc., while the latter is more common in low-tech patient monitoring devices. Once the data is received, it is reconciled with the metadata stored in the EMR. VistA Imaging is the VistA-side repository of the acquisition context information, and the information related to the procedural context generated by the imaging devices. VistA Imaging stores the composite objects as received, without alteration, according to the Level 2 Archive specifications, as defined in PS 3.4 B.4.1, Conformance as an SCP of the DICOM Standard.