Image Viewer for the 
Enterprise Health Management Platform (eHMP)

System Design Document (SDD)

September 2016

Version 0.8.2

Department of Veterans Affairs

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| July 2015 | 0.1 | Initial Draft | SBG PMO |
| October 28, 2015 | 0.2 | Updated initial Draft with pertinent text | Dee Csipo |
| November 12, 2015 | 0.3 | Updated text and added comments | Dee Csipo |
| November 16, 2015 | 0.4 | Edited for review | Dee Csipo |
| December 1, 2015 | 0.5 | Review comments incorporated | Dee Csipo |
| December 9, 2015 | 0.6 | Incorporate comments from review | Dee Csipo, Stuart Frank |
| August 16, 2016 | 0.7 | Add base period requirements | Dee Csipo |
| September 23, 2016 | 0.8 | Added diagrams | Dee Csipo |
| September 27, 2016 | 0.8.1 | Minor editing | Scott English |
| September 30, 2016 | 0.8.2 | Addressed AERB comments | Dee Csipo |

Artifact Rationale

The System Design Document (SDD) is a dual-use document that provides the conceptual design as well as the as-built design. This document will be updated as the product is built, to reflect the as-built product.

When to Complete Each Section of the SDD

| Section | Completed On or Before PMAS Phase | Rationale |
| --- | --- | --- |
| 1 – Introduction | MS 0 Review; updated thereafter | Conceptual design should inform evaluation of investments |
| 2 - Background | MS 0 Review; updated thereafter | Conceptual design should inform evaluation of investments |
| 3 – Conceptual Design | MS 0 Review; updated thereafter | Conceptual design should inform evaluation of investments |
| 4 – System Architecture | MS 0 Review; updated thereafter | Conceptual design should inform evaluation of investments |
| 5 – Data Design | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |
| 6 – Detailed Design | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |
| 7 – External System Interface Design | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |
| 8 – Human Machine Interfaces | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |
| Attachments | MS 1 Review; updated thereafter | Design details should be elaborated upon during PMAS Planning phase and prior to development |

A product’s system design should be defined conceptually prior to the allocation of personnel and resources that occur at project initiation. This gives the enterprise an opportunity to evaluate information technology (IT) investments before project teams are stood up and funding is allocated. Sections 1- 4 which discuss the high-level design should be completed prior to MS 0. All sections should be completed and updated before MS 1. Projects will need to address all SDD approval constraints prior to the MS 2 review. In addition, the SDD should reflect the as-built product going into the MS 2 review.

| Activity | New Capability (1) | Feature Enhancement (2) |
| --- | --- | --- |
| Field Deployment (A) | Yes | Yes |
| Cloud/Web Deployment (B) | Yes | Yes |
| Mobile Application (C) | No | No |

Table of Contents

1.	Introduction	12

1.1.	Scope	12

1.2.	User Profiles	12

2.	Background	13

2.1.	Overview of the System	13

2.1.1.	Current Infrastructure	13

2.1.2.	Implementation Considerations	14

2.2.	Overview of the Business Process	15

2.3.	Overview of the Significant Requirement	15

3.	Conceptual Design	16

3.1.	Conceptual Application Design	16

3.1.1.	Application Context	16

3.1.2.	High-Level Application Design	17

3.1.2.1.	UI Control Flow	18

3.1.2.1.1.	Headers	18

3.1.2.1.2.	Body	18

3.1.2.1.3.	Query Parameters	20

3.1.2.1.4.	Response with HTTP status code 200	20

3.1.2.1.5.	Body	20

3.1.2.1.6.	GE MUSE Specific considerations	23

3.1.2.2.	Image Loader	24

3.1.3.	Application Locations	24

3.2.	Conceptual Data Design	24

3.2.1.	Project Conceptual Data Model	24

3.2.2.	Database Information	24

3.2.3.	User Interface Data Mapping	25

3.2.3.1.	Application Screen Interface	25

3.2.3.1.1.	Toolbar Panel	25

3.2.3.1.1.1.	Image Interaction	25

3.2.3.1.1.2.	View DICOM Header	26

3.2.3.1.1.3.	Change Study Layouts	26

3.2.3.1.1.4.	Edit Viewer Settings	27

3.2.3.1.2.	Thumbnail Panel	28

3.2.3.1.3.	Image Panel	30

3.2.3.2.	Application Report Interface	30

3.2.3.3.	Unmapped Data Element	30

3.3.	Conceptual Infrastructure Design	31

3.3.1.	System Criticality and High Availability	31

3.3.2.	Special Technology	31

3.3.3.	Technology Locations	31

3.3.4.	Conceptual Infrastructure Diagram	32

3.3.4.1.	Conceptual Production String Diagram	32

4.	System Architecture	33

4.1.	Hardware Architecture	33

4.2.	Software Architecture	33

4.3.	Network Architecture	33

4.4.	Service Oriented Architecture / ESS	33

4.5.	Enterprise Architecture	34

5.	Data Design	35

5.1.	DBMS Files	35

5.2.	Non-DBMS Files	35

5.3.	Data View	36

6.	Detailed Design	37

6.1.	Hardware Detailed Design	37

6.2.	Software Detailed Design	37

6.2.1.	Conceptual Design	37

6.2.1.1.	Product Perspective	37

6.2.1.1.1.	User Interfaces	37

6.2.1.1.2.	Hardware Interfaces	37

6.2.1.1.3.	Software Interfaces	37

6.2.1.1.4.	Communications Interfaces	37

6.2.1.1.5.	Memory Constraints	37

6.2.1.1.6.	Special Operations	37

6.2.1.2.	Product Features	38

6.2.1.3.	User Characteristics	38

6.2.1.4.	Dependencies and Constraints	38

6.2.2.	Specific Requirements	38

6.2.2.1.	Database Repository	38

6.2.2.2.	System Features	38

6.2.2.3.	Design Element Tables	38

6.2.2.3.1.	Routines (Entry Points)	38

6.2.2.3.2.	Templates	38

6.2.2.3.3.	Bulletins	38

6.2.2.3.4.	Data Entries Affected by the Design	38

6.2.2.3.5.	Unique Record(s)	38

6.2.2.3.6.	File or Global Size Changes	38

6.2.2.3.7.	Mail Groups	38

6.2.2.3.8.	Security Keys	39

6.2.2.3.9.	Options	39

6.2.2.3.10.	Protocols	39

6.2.2.3.11.	Remote Procedure Call (RPC)	39

6.2.2.3.12.	Constants Defined in Interface	39

6.2.2.3.13.	Variables Defined in Interface	39

6.2.2.3.14.	Types Defined in Interface	39

6.2.2.3.15.	GUI	39

6.2.2.3.16.	GUI Classes	39

6.2.2.3.17.	Current Form	39

6.2.2.3.18.	Modified Form	39

6.2.2.3.19.	Components on Form	39

6.2.2.3.20.	Methods	39

6.2.2.3.21.	Special References	40

6.2.2.3.22.	Class Events	40

6.2.2.3.23.	Class Methods	40

6.2.2.3.24.	Class Properties	40

6.2.2.3.25.	Uses Clause	40

6.2.2.3.26.	Forms	40

6.2.2.3.27.	Functions	40

6.2.2.3.28.	Dialog	40

6.2.2.3.29.	Help Frame	40

6.2.2.3.30.	HL7 Application Parameter	40

6.2.2.3.31.	HL7 Logical Link	40

6.2.2.3.32.	COTS Interface	40

6.3.	Network Detailed Design	41

6.4.	Security and Privacy	41

6.4.1.	Security	41

6.4.2.	Privacy	41

6.5.	Service Oriented Architecture / ESS Detailed Design	41

6.5.1.	Service Description for Consumed Services	41

6.5.2.	Service Design for Provided Services	42

6.5.2.1.	Introduction	42

6.5.2.1.1.	Purpose and Scope of Service	42

6.5.2.1.2.	Links to Other Documents	42

6.5.2.2.	Service Details	42

6.5.2.2.1.	Service Identification	42

6.5.2.2.2.	Service Versions	42

6.5.2.2.3.	Summary of Design and Platform Details	42

6.5.2.2.3.1.	SOA Pattern(s) Implemented	42

6.5.2.2.3.2.	COTS Platform vendor names and versions for hosting platform	42

6.5.2.3.	Dependencies	42

6.5.2.4.	Service Design Details	42

6.5.2.4.1.	Interface Technical Specs	42

6.5.2.4.1.1.	Service Invocation Type	42

6.5.2.4.1.2.	Service Interface Type	43

6.5.2.4.1.3.	Service Name	43

6.5.2.4.1.4.	Interface	43

6.5.2.4.1.5.	End Points	43

6.5.2.4.1.6.	Operations or Methods	43

6.5.2.4.1.7.	Message Schemas	43

6.5.2.4.2.	Information Model	43

6.5.2.4.2.1.	Class Diagram and Description of Entities Involved	43

6.5.2.4.2.2.	Mappings from ELDM to Standards Based Schemas	43

6.5.2.4.3.	Behavior Model (AKA Use Case Realization)	43

6.5.2.4.3.1.	Use Cases (Use Case Model)	43

6.5.2.4.3.2.	Interaction Diagrams	43

6.5.2.5.	Gap Analysis	44

6.5.2.5.1.	Variances from Enterprise Target Architecture	44

6.5.2.5.2.	Variances from SLDs	44

6.5.2.5.3.	Variances from Standards and Policies	44

6.5.2.5.4.	Justification for Exceptions and Mitigation	44

7.	External System Interface Design	44

7.1.	Interface Architecture	44

7.2.	Interface Detailed Design	44

8.	Human-Machine Interface	44

8.1.	Interface Design Rules	44

8.2.	Inputs	45

8.3.	Outputs	45

8.4.	Navigation Hierarchy	45

8.5.	System Classes	45

8.5.1.	Component View	45

8.5.2.	Packages	46

8.5.3.	ECG Conversion Package	47

8.5.3.1.	aECG Package	48

8.5.3.2.	DICOM ECG	49

8.5.3.3.	ECG Demographics	50

8.5.3.4.	ECG Diagnostics	51

8.5.3.5.	ECG Global Measurements	51

8.5.3.6.	ECG Lead Measurements	52

8.5.3.7.	ECG Management Systems	53

8.5.3.8.	ECG Signals	54

8.5.3.9.	ECG ISHNE	55

8.5.3.10.	ECG MUSE XML	56

8.5.3.11.	Omron ECG	57

8.5.3.12.	ECG PDF Format	58

8.5.3.13.	ECG Raw Format	59

8.5.4.	ECG SCP	60

8.5.4.1.	Hydra Packages	61

8.5.4.1.1.	Hydra Common	62

8.5.4.1.1.1.	Hydra Common Entities	63

8.5.4.1.1.2.	Hydra Common Exceptions	63

8.5.4.1.1.3.	Hydra Common Extensions	64

8.5.4.1.2.	Hydra Desktop	64

8.5.4.1.2.1.	Hydra Desktop Common	65

8.5.4.1.2.1.1.	Hydra Desktop Common Network	66

8.5.4.1.2.2.	Hydra Desktop Controller	67

8.5.4.1.2.3.	Hydra Desktop Core	67

8.5.4.1.2.3.1.	Hydra Desktop Core Binding	68

8.5.4.1.2.3.2.	Hydra Desktop Core Controls	68

8.5.4.1.2.3.3.	Hydra Desktop Core Message	68

8.5.4.1.2.3.4.	Hydra Desktop Core Properties	69

8.5.4.1.2.3.5.	Hydra Desktop Core View	69

8.5.4.1.2.3.6.	Hydra Desktop Core ViewModel	70

8.5.4.1.3.	Hydra DICOM	71

8.5.4.1.4.	Hydra ECG	72

8.5.4.1.5.	Hydra Entities	73

8.5.4.1.6.	Hydra Global	74

8.5.4.1.7.	Hydra IX	74

8.5.4.1.7.1.	Hydra IX Client	75

8.5.4.1.7.2.	Hydra IX Common	76

8.5.4.1.7.3.	Hydra IX Configuration	77

8.5.4.1.7.4.	Hydra IX Console App	78

8.5.4.1.7.5.	Hydra IX Core	78

8.5.4.1.7.5.1.	Hydra IX Core Modules	79

8.5.4.1.7.5.2.	Hydra IX Core Properties	79

8.5.4.1.7.5.3.	Hydra IX Core Remote	80

8.5.4.1.7.6.	Hydra IX Database	81

8.5.4.1.7.6.1.	Hydra IX Database Common	82

8.5.4.1.7.7.	Hydra IX Processor	82

8.5.4.1.7.8.	Hydra IX Storage	83

8.5.4.1.7.9.	Hydra IX Web	84

8.5.4.1.7.9.1.	Hydra IX Web Modules	84

8.5.4.1.7.10.	Hydra IX Viewer Data Explorer	85

8.5.4.1.7.10.1.	Hydra IX Viewer Data Explorer Controls	86

8.5.4.1.7.10.2.	Hydra IX Viewer Data Explorer Data	86

8.5.4.1.7.10.3.	Hydra IX Viewer Data Explorer Message	87

8.5.4.1.7.10.4.	Hydra IX Viewer Data Explorer Properties	88

8.5.4.1.7.10.5.	Hydra IX Viewer Data Explorer Test	88

8.5.4.1.7.10.6.	Hydra IX Viewer Data Explorer View	89

8.5.4.1.7.10.7.	Hydra IX Viewer Data Explorer ViewModel	90

8.5.4.1.8.	Hydra VistA	91

8.5.4.1.8.1.	Hydra VistA Test Client	92

8.5.4.1.8.2.	Hydra VistA Web	93

8.5.4.1.8.3.	Hydra VistA Worker	93

8.5.4.1.9.	Hydra Web	94

8.5.4.1.9.1.	Hydra Web Contracts	94

8.5.4.1.9.2.	Hydra Web Modules	95

8.5.4.1.9.3.	Hydra Web Preferences	96

8.5.4.2.	JetBrains Package Annotations	97

8.5.4.3.	Schemas	98

8.5.4.4.	VIX	99

8.5.4.4.1.	VIX Render Service	99

8.5.4.4.2.	VIX Viewer Service	100

8.5.4.4.3.	VIX Viewer Controller	101

8.5.4.4.4.	VIX Viewer Install	102

8.5.4.4.5.	VISA ImagingDataWebApp	103

8.5.4.4.6.	VISA ViewerStudyWebApp	104

9.	Attachment A – Approval Signatures	105

A.1.	Identification of Technology and Standards	106

A.2.	Constraining Policies, Directives and Procedures	106

A.3.	Requirements Traceability Matrix	106

A.4.	Packaging and Installation	106

A.5.	Design Metrics	106

Table of Figures

Figure 1: VistA Imaging Service Architecture for Remote image Access	14

Figure 2: eHMP and rVIX	16

Figure 3: eHMP Image Viewer Data and Control Flow	17

Figure 4: eHMP Document Applet	22

Figure 5: Image Viewer	23

Figure 6: Cine Preference Options	27

Figure 7: Thumbnail Panel	28

Figure 8: Default Thumbnail Image	29

Figure 9: Non-DICOM Canned Thumbnail PDF Image	29

Figure 10: Non-DICOM Canned Thumbnail ECG Waveform Image	29

Figure 11: Non-DICOM Canned Thumbnail Structured Report Image	29

Figure 12: Thumbnail Panel After Width Adjustment	30

Figure 13: Infrastructure Design	32

Figure 14: Enterprise Messaging Infrastructure	34

Figure 15: Vix Viewer Cache Schema	36

Figure 16: Hydra Component view	46

Figure 17: VIX Image Viewer Packages	46

Figure 18: ECG Package top level	47

Figure 19: aECG Classes	48

Figure 20: DICOM ECG Package	49

Figure 21: ECG Demographics	50

Figure 22: ECG Diagnostics	51

Figure 23: ECG Global Measurements	52

Figure 24: ECG Lead Measurements	52

Figure 25: ECG Management Systems	53

Figure 26: ECG Signals	54

Figure 27: ECG ISHNE	55

Figure 28: ECG MUSE XML	56

Figure 29: Omron ECG	57

Figure 30: ECG PDF Format	58

Figure 31: ECG Raw Format	59

Figure 32: ECG SCP	60

Figure 33: Hydra Packages	61

Figure 34: Hydra Common	62

Figure 35: Hydra Common Entities	63

Figure 36: Hydra Common Exceptions	63

Figure 37: Hydra Common Extensions	64

Figure 38: Hydra Desktop	64

Figure 39: Hydra Desktop Common	65

Figure 40: Hydra Desktop Common Network	66

Figure 41: Hydra Desktop Controller	67

Figure 42: Hydra Desktop Core	67

Figure 43: Hydra Desktop Core Binding	68

Figure 44: Hydra Desktop Core Controls	68

Figure 45: Hydra Desktop Core Message	68

Figure 46: Hydra Desktop Core Properties	69

Figure 47: Hydra Desktop Core View	69

Figure 48: Hydra Desktop Core ViewModel	70

Figure 49: Hydra DICOM	71

Figure 50: Hydra ECG	72

Figure 51: Hydra Entities	73

Figure 52: Hydra Global	74

Figure 53: Hydra IX	74

Figure 54: Hydra IX Client	75

Figure 55: Hydra IX Common	76

Figure 56: Hydra IX Configuration	77

Figure 57: Hydra IX Console App	78

Figure 58: Hydra IX Core	78

Figure 59: Hydra IX Core Modules	79

Figure 60: Hydra IX Core Properties	79

Figure 61: Hydra IX Core Remote	80

Figure 62: Hydra IX Database	81

Figure 63: Hydra IX Database Common	82

Figure 64: Hydra IX Processor	82

Figure 65: Hydra IX Storage	83

Figure 66: Hydra IX Web	84

Figure 67: Hydra IX Web Modules	84

Figure 68: Hydra IX Viewer Data Explorer	85

Figure 69: Hydra IX Viewer Data Explorer Controls	86

Figure 70: Hydra IX Viewer Data Explorer Data	86

Figure 71: Hydra IX Viewer Data Explorer Message	87

Figure 72: Hydra IX Viewer Data Explorer Properties	88

Figure 73: Hydra IX Viewer Data Explorer Test	88

Figure 74: Hydra IX Viewer Data Explorer View	89

Figure 75: Hydra IX Viewer Data Explorer ViewModel	90

Figure 76: Hydra VistA	91

Figure 77: Hydra VistA Test Client	92

Figure 78: Hydra VistA Web	93

Figure 79 Hydra VistA Worker	93

Figure 80: Hydra Web	94

Figure 81: Hydra Web Contracts	94

Figure 82: Hydra Web Modules	95

Figure 83: Hydra Web Preferences	96

Figure 84: JetBrains Package Annotations	97

Figure 85: Schemas	98

Figure 86: VIX Render Service	99

Figure 87: VIX Viewer Service	100

Figure 88: VIX Viewer Controller	101

Figure 89: VIX Viewer Install	102

Figure 90: VISA ImagingDataWebApp	103

Figure 91: VISA ImagingDataWebApp	104

Table of Tables

Table 1: User Profiles	12

Table 2: Java JRE 8.0_xxx (91 or higher)	40

Table 3: Laurel Bridge DICOM Connectivity Foundation Toolkit	41

Table 4: Apache Tomcat 8.0.xxx	41

Table 5: Aware 3.19	41

Table 6: Microsoft SQL Server Express 2014	41

# Introduction

The purpose of this document is to describe the design of the Image Viewer for the Enterprise Health Management Platform (eHMP) R2.0, which will provide eHMP users the ability to view image artifacts from the Veterans Integrated Service Technology Architecture (VistA) Imaging archive across Veterans Health Administration (VHA), as well as Department of Defense (DOD) image artifacts via the DOD Health Artifact Image Management System (HAIMS). This design follows the requirements outlined in the Requirements Specification Document (RSD) for the Image Viewer for the eHMP.

VistA Imaging is an FDA-regulated medical device, and all components of VistA Imaging fall under the regulations of FDA 21 CFR part 820. This requirement must be considered when designing the eHMP image viewer. Identifiable and testable interfaces between the EHR, image management, and image viewing must be created.

## Scope

The scope of this project is limited to the zero-footprint HTML 5-based image viewer being developed for the eHMP. The solution includes server- and client-side components.  The solution also includes two additions to the Vista Imaging Service Architecture (VISA) components.

## User Profiles

Table 1: User Profiles

| Type of User | Description | Responsibilities |
| --- | --- | --- |
| Clinical users | VistA Imaging viewer users trained in using the application for image viewing and annotations – Any viewing restrictions will follow the VistA Imaging security model (i.e., Secondary Menu Option and Security Keys). | - Run applications - View images |
| Advanced privileges users (e.g., VistA Imaging coordinators, health information management users, regional support personnel) | VistA Imaging viewer users with administrative, clinical and support responsibilities | - Ability to delete images (VistA security key controlled) - Ability to restrict the viewing of images (VistA security key controlled) |

# Background

## Overview of the System

The mission of the Department of Veterans Affairs (VA) Office of Information & Technology (OI&T) Product Development (PD) is to provide benefits and services to veterans of the United States. In meeting these goals, OI&T strives to provide high-quality, effective, and efficient Information Technology (IT) services to those responsible for providing care to the veterans at the point-of-care as well as throughout all the points of the veterans’ health care in an effective, timely, and compassionate manner. VA depends on Information Management/Information Technology (IM/IT) systems to meet mission goals.

VA is developing a new patient-centric web-based user interface (UI) for VHA electronic medical records – called the Enterprise Health Management Platform (eHMP) – and requires a web-enabled image-viewing solution for eHMP users. The image-viewing solution will allow clinicians and other VA stakeholders to view images related to patients’ medical records.

### Current Infrastructure

Images and image metadata are accessed from local VA sites, remote VA sites, and external enterprises (such as DOD). VistA Imaging currently implements a client-server architecture for local image viewing using the VA remote procedure call (RPC) broker for metadata access and direct Common Internet File System (CIFS) file for image data. It uses a VistA Imaging Exchange (VIX), service-based architecture for remote image viewing to other VA facilities and a Central VistA Imaging Exchange (CVIX), service–based architecture for image access to/from external enterprises.

The Image Viewer for the eHMP builds on the existing VistA Imaging infrastructure. While the existing VistA Imaging UIs are thick clients, they use services provided by the infrastructure. The VistA Imaging Service Architecture (VISA) provides a set of Web services to access images and image metadata.

Figure 1: VistA Imaging Service Architecture for Remote image Access

### Implementation Considerations

In designing a high-performance zero-footprint image-viewing solution the following issues must be considered:

Image storage is currently at each major facility.

Performance expectation of image viewing (more than one CT slice/second)

Network infrastructure [i.e., firewalls, medical device isolation architecture (MDIA), quality of service on the wide area network (WAN), etc.]

The eHMP pilot deployment has one or more JSON Data Store (JDS) cache locations 
off facility.

WAN connectivity to the regional data center (RDC)

Network utilization issues

Minimizing the dependency of image viewer code

Development/delivery on eHMP potential shippable increments (PSIs)

## Overview of the Business Process

The Image Viewer for the eHMP is one of many components in the VistA Imaging system and the VistA Imaging business process. The Image Viewer for the eHMP provides users the ability to view and manipulate images. See Figure 3 for context diagrams.

## Overview of the Significant Requirement

Please see the RSD and BRD for requirements. This project is initiated by Requirement BR 8.0 of the Health Information Exchange Viewer BRD #01-02-03-05-08-003. Given the brevity of this requirement, a requirement elaboration effort was undertaken. The resultant document can be found at this link: http://DNS.

# Conceptual Design

The Image Viewer for the eHMP will be a zero-footprint applet that is launched by eHMP users. The image viewer thumbnail applet uses the eHMP RDK to access VistA Imaging resources through the VIX.

## Conceptual Application Design

The Image Viewer for the eHMP is a zero-footprint HTML 5 image viewer. The design introduces a dedicated VIX instance for each primary JDS instance. This provides a convenient access point for the eHMP to get imaging metadata and thumbnails for any objects that may have images attached. The design minimizes the access to off-site images across the WAN and uses local resources to access any local image information. This VIX instance, co-located with a primary JDS instance, is referred to as the Relay VistA Imaging Exchange (rVIX) for the remainder of this document. The rVIX is a VIX instance that is collocated with the eHMP and serves up information to the eHMP.

Figure 2: eHMP and rVIX

As shown in Figure 2, the rVIX provides specialized facades. These facades are described in detail later in this document.

### Application Context

The eHMP image viewer will be used to view images and image metadata within the VA enterprise and in any connected enterprise. This is accomplished in a completely transparent manner; the user will experience no differences regarding how the image record is presented. The VISA infrastructure implemented by the site VIXs, rVIX, and the CVIX makes this possible.

This design document concentrates on describing the interactions between the actors necessary to satisfy requests to the image record. The interactions between site VIXs, rVIX, and the CVIX are implemented by production software that is currently deployed at all major VA medical center sites. The components covered by this design take full advantage of the infrastructure that is already in place. The relevant interactions are described in later sections of this document.

### High-Level Application Design

The eHMP image viewer is designed to allow a user to view medical images, scanned documents, waveforms, etc. associated with a patient’s medical record – without installing any software on the user’s desktop. The solution is a combination of server-side preprocessing and client-side rendering of images in a browser. A user will use eHMP functionality to select an image from within an eHMP applet context, at which time the image viewer will be activated to display the image viewer modal window within the eHMP UI application. The eHMP viewer will not leave any images visible from the previous patient/report context once the user navigates to a new context. All images and metadata will be removed from the browser cache when the page closes.

The service layer design brings together two architectures, VistA Imaging and the eHMP, that federate information from multiple VistA instances. There are a number of similarities and also a number of differences in the federation approaches. Most of the differences stem from the nature of the data. While textual information is dynamic and smaller, image information is very large and almost entirely static. Image caches can be long term, because synchronization of cached image data is less of an issue than with textual information. The context information of images (the image metadata) is less static than images, and cache synchronization must be performed on shorter intervals.

Figure 3: eHMP Image Viewer Data and Control Flow

The rVIX serves two purposes: (1) It is a local asset for the JDS/RDK instance to get image metadata (which documents have images, thumbnail information, and other study detail); it is a static source for this request, without traversing the WAN. (2) It provides a fallback destination for the image viewer to fetch images if the site VIX cannot be located, due to the cross-origin resource sharing (CORS) configuration not being set for a new or additional site.

This design allows all imaging to be encapsulated behind locally deployed Web services on 
the rVIX.

#### UI Control Flow

When the user logs in, the eHMP (through the RDK) will call the rVIX Site Service to get the site VIX address and port information. The services provided by the rVIX project the basic VIX services and add facades for new services:

eHMP Site Service accesses any required modifications to allow the eHMP to retrieve the desired site VIX (or image loader) address from a local service.

Image Indicator Service identifies which objects for a selected patient have associated images. The service can return additional data related to the imaging study, such as the number of images, the type of study, the number of series in the study, etc. The data to be returned is dependent on what is desired to be displayed on a details page. This service will be called directly by the RDK.

##### Headers

xxx-fullname: required (string)

Full name of logged in VistA user.

xxx-duz: required (string)

duz of logged in VistA user.

xxx-ssn: required (string)

SSN of logged-in VistA user.

xxx-sitename: required (string)

Name of logged-in site.

xxx-sitenumber: required (string)

Site number of logged-in site.

xxx-securityToken: required (string)

BSE token for authenticating logged in VistA user.

##### Body

Type: application/json

Schema:

{

"type": "object",

"properties": {

"patientICN": {

"description": "ICN of the selected patient. This parameter is not required if patientICN is specified for each studyItem",

"type": "string"

},

"siteNumber": {

"description": "VA hospital site number (aka Station Number).",

"type": "string"

},

"studies": {

"description": "A collection of documents",

"type": "array",

"items": {

"title": "studyItem",

"type": "object",

"properties": {

"studyId": {

"description": "Document id. This can either be the study urn or a cprs identifier.",

"type": "string"

},

"patientICN": {

"description": "Patient ICN. If this property is not set, then the patient ICN of this object's parent is used.",

"type": "string"

},

"siteNumber": {

"description": "The site number of the site to which the document belongs to. If this property is not set, then the site number of this object's parent is used.",

"type": "string"

},

"imageCount": {

"description": "(response only) The number of images associated with the study.",

"type": "integer"

},

"detailsUrl": {

"description": "(response only) An absolute url to fetch the details of the study.",

"type": "string"

},

"viewerUrl": {

"description": "(response only) An absolute url to open the study in a viewer.",

"type": "string"

}

},

"required": [

"studyId"

]

}

}

},

"required": [

"patientICN", "siteNumber"

]

}

Each call of the Image Indicator Service can retrieve information for one or more documents related to a patient.

Details URL: In order to support the eHMP displaying thumbnail images and other study level details, the rVIX will use this URL to retrieve relevant thumbnail and other study level details images for a selected report. The size and quality of the thumbnail images need to be within system-defined ranges (i.e., proposed is 128x128 or smaller JPEG 8-bit images). The proposed format for this 
service is:

Response (one item per URL):

##### Query Parameters

patientICN: required (string)

Patient ICN

siteNumber: required (string)

VA hospital site number (aka Station Number)

contextId: required (string)

Study Id (study urn or cprs identifier)

securityToken: required (string)

A Vix security token. This token is generated by the study query request.

##### Response with HTTP status code 200

A container for a collection of studyItemDetails objects. Usually the array contains only one studyItemDetails object.

##### Body

Type: application/json

Schema:

{

"type": "object",

"properties": {

"totalImageCount": {

"description": "Total number of images associated with the document",

"type": "integer"

},

"viewerUrl": {

"description": "An absolute url to open the study in a viewer.",

"type": "string"

},

"studies": {

"type": "array",

"items": {

"title": "studyItemDetails",

"type": "object",

"properties": {

"studyId": {

"description": "Study Id (from Dicom header)",

"type": "string"

},

"imageCount": {

"description": "Total number of images in the study",

"type": "integer"

},

"studyDescription": {

"description": "Study description",

"type": "string"

},

"studyDate": {

"description": "Study date",

"type": "string"

},

"acquisitionDate": {

"description": "Acquisition date",

"type": "string"

},

"provider": {

"description": "Provider",

"type": "string"

},

"status": {

"description": "Study status",

"type": "string"

},

"series": {

"type": "array",

"items": {

"type": "object",

"properties": {

"imageCount": {

"description": "Number of images in the series",

"type": "integer"

},

"caption": {

"description": "Series description",

"type": "string"

},

"thumbnailUrl": {

"description": "An absolute url to fetch the thumbnail image",

"type": "string"

},

"viewerUrl": {

"description": "An absolute url to open the study with the series selected in a viewer. ",

"type": "string"

}

},

"required": [

"imageCount",

"thumbnailUrl"

]

}

}

},

"required": [

"studyId",

"imageCount"

]

}

}

},

"required": [

"totalImageCount"

]

}

The eHMP RDK will need modifications to accommodate using the rVIX as a data source.

In order to implement image viewing in this environment, the eHMP has to utilize the services provided by the rVIX.

The proposed sequence of events when viewing images are as follows:

The eHMP user logs in and selects a patient.

The patient data may be synchronized to the JDS data cache by way of vxSync.

- The eHMP uses the data returned by the Image Indicator Service to update the eHMP document applet with image indicators.

The user selects the eHMP Documents workspace in order to load the document applet.

Figure 4: eHMP Document Applet

The eHMP serves up the Documents applet. (See Figure 4.)

- The image indicator is created using the following link URL format:
http://rVIXHost:port/viewer?urn=<study access urn>&security token=<BSE or other future security token replacing BSE>

When the user clicks an image indicator, the image viewer opens in an iFrame.

The image indicator link handler will set the source of the iFrame to the above URL.

When parent container changes patient or observation context, the iFrame source URL 
is cleared.

This will allow integration of Web content, served from any site not hosted by the eHMP, such as a tele-pathology viewer or other web-based imaging application. The image viewer page has the loader service URL embedded, which will be dynamically fetched and inserted into the model by the Backbone.js single-page application framework. Figure 5 shows the image viewer.

Figure 5: Image Viewer

All static assets associated with the image viewer will be hosted on the site VIX (HTML5, CSS3, and JavaScript). This allows updating of the image viewer without the need to have access to the eHMP PSI increments. It also provides isolation of the medical device aspect of image viewing from the eHMP.

##### GE MUSE Specific considerations

Muse exams are not attached to any patient related documents.  The only existing context between the VistA patient and a MUSE exam is the patient’s SSN. For this implementation it is assumed that the status quo is maintained. The current MUSE API allows the controlling app to request the list of exams for an identified patient, and retrieve a formatted report document from MUSE.  The design is effectively replicating the behavior implemented in VistA Imaging Clinical Display.

The user needs to have the ability to explore the entire imaging record of a patient regardless of the VistA record context.  This will allow the user to reach out to external systems that are largely unconnected to the VistA record, and simply just by identifying the patient pull imaging information into the viewer.

In this application the VIX is used to access the list of MUSE exams available at each site and use the VIX federation to return this information to the rVIX or the VIX Viewer Service, where the request originated from.  Assume that a broad query to the rVIX as illustrated below

http://< host: service port>/vix/viewer/studyquery{

"patientICN": "<ICN>",

"siteNumber": "<VistA Site #>"

}

In case of a MUSE study the returned study information will be formatted as follows

"contextId": "urn:vastudy:500-<muse case id>-<ICN>V420871",

"groupIEN": "",

“MUSECaseID”:<muse case id>,

"patientICN": "<ICN>",

"siteNumber": "<VistA Site #>",

"imageCount": <Image Count>,

"detailsUrl": “<details URL>”,

"viewerUrl": “<Viewer URL>”,

"thumbnailUrl": "<Thumbnail URL>"

},

The returned study component for a MUSE Exam contains enough information to retrieve the information from the site MUSE server.   Since the MUSE Cases cannot be queried by any external ID they are only going to be available through the broad patient ICN based query.

The returned information will be displayed in the hosting application implemented patient image browser applet or widget.

#### Image Loader

The Image Loader is a service that performs a large number of sub-operations to offload the 
need to transfer all information to the browser-side code. It is also optimized to load images in a sequence most advantageous for the viewer. Its features include ordering images in temporal or geometric order or reading annotations and making them available in a common presentation.

Editable annotations will be created and stored in an internal representation (XML) in the VistA Imaging database and generated and transmitted as DICOM soft-copy presentation Service-Object Pair (SOP) instances on demand. The SOP instance Unique Identifier (UID) will be the same each time the DICOM soft-copy presentation SOP instance is generated unless the annotation is changed.

The Image Viewer for the eHMP will have the ability to display Group 6000 annotations 
sent from imaging modalities. Annotations from external sources may alternatively be 
encoded in DICOM SR Objects. The Image Loader can be enhanced to incorporate these external IODs into the viewable set of information for the image loader. However, DICOM 
SR object-based annotations are not viewable with the current versions of the Clinical Display and VistARad applications.

The Image Loader pre-calculates measurement and slice line information for the viewer.

The Image Loader will request images through the VIX infrastructure to ensure that images are properly cached and accessible for subsequent requests. This will be accomplished through the integration with the VIX core services.

### Application Locations

The Image Viewer for the eHMP will be located on site VIX and rVIX servers.

## Conceptual Data Design

### Project Conceptual Data Model

This project only creates an application that allows users to view and manipulate images. No new data model is created as a part of this project.

### Database Information

Current plans contain no storage of metadata in JDS. The RDK will rely on the metadata cached in the rVIX.

Table 2: Database Inventory

| Database Name | Description | Type | Steward |
| --- | --- | --- | --- |
| N/A |  |  |  |

### User Interface Data Mapping

N/A

#### Application Screen Interface

The viewer consists of three main panels – Toolbar, Thumbnail, and Image.

##### Toolbar Panel

The toolbar will contain buttons for the following functions:

Image interaction

View DICOM header

Change study layouts

Edit viewer settings

###### Image Interaction

The toolbar will contain various tools for manipulating the displayed image.

Whenever appropriate, each tool will display a meaningful cursor when it is active.

There will be a default tool, which will be active when the image is first displayed.

When a particular tool is active, the user can switch to the default tool using a single right-click.

If a tool is not appropriate for the image currently displayed, it will be disabled and grayed out.

Tools available for image interaction are:

- Window/Level

- Window/level can be changed by pressing and dragging the left mouse button or the up/down keys of the keyboard.

- A dropdown menu next to the tool button will allow the user to select various window/level presets, such as:

Abdomen

Lung

Brain

Bone

Head/Neck

Default

- Scale

- Scale value can be changed by pressing and dragging the left mouse button or the up/down keys of the keyboard.

- A dropdown menu next to the tool button will allow the user to apply fixed scale values to the current image, such as:

100 percent

Fit-to-window

Fit-width-to-window

Fit-height-to-window

- Invert

- Pan

- Rotate clockwise at 90 degree increments

- Measurements

- Clicking on this tool will reveal a dropdown menu containing the following measurement tools:

2D length

2D point

Trace

- The dropdown menu will also contain a Delete All menu item to delete all measurements on the image.

- Flip vertically

- Flip horizontally

- Toggle image overlay

- Clicking on this tool button will toggle the visibility of image overlay elements, 
such as:

Patient orientation indicators

Current window/level

Current zoom value

Series description

- Reset

- Clicking on this tool will reset the image to its original state.

###### View DICOM Header

Clicking on this tool will display the DICOM header using a modal dialog.

###### Change Study Layouts

If multiple studies are opened, clicking on this tool will reveal a dropdown menu containing the following options:

1x1

1x2

2x1

2x2

###### Edit Viewer Settings

Clicking on the tool button will display a dropdown menu containing the “Cine Preference” 
menu item. Clicking on the menu item displays the following dialog:

Figure 6: Cine Preference Options

##### Thumbnail Panel

The thumbnail panel displays a thumbnail image for each series or non-DICOM image in the study or image group.

Figure 7: Thumbnail Panel

The thumbnail panel will be scrollable.

The top of the thumbnail panel displays the following information:

- Study description

- Study accession number

- Study date

Clicking on a thumbnail image displays the corresponding stack or image in the image area. The thumbnail image will also be highlighted.

Each thumbnail displays the following information as overlay:

- Series description

- Series number or image number

- Number of images

If a thumbnail image cannot be generated, the following thumbnail image will be used:

Figure 8: Default Thumbnail Image

For non-DICOM images, the following canned thumbnails will be used:

- PDF

Figure 9: Non-DICOM Canned Thumbnail PDF Image

- ECG waveform

Figure 10: Non-DICOM Canned Thumbnail ECG Waveform Image

- Structured report

Figure 11: Non-DICOM Canned Thumbnail Structured Report Image

If an image or a stack in the image area is either selected or clicked, the selected thumbnail image is highlighted and brought into view, if it had been hidden.

The width of the thumbnail panel can be changed by dragging the divider bar. This bar will be placed between the thumbnail panel and image panel.

Figure 12: Thumbnail Panel After Width Adjustment

New columns will be added to the thumbnail panel if enough space is available.

##### Image Panel

The image panel contains multiple child panels. Each child panel will display images for a single study or image group.

Each study panel will contain a caption area and will display the following information:

- Study description

- Study accession number

- Study date

In the caption area, there will be two dropdown buttons; one for changing the layout at the series level, and the other for changing the layout at the study level. Layout options will be 1x1, 1x2, 2x1, and 2x2.

#### Application Report Interface

No applicable report interfaces have been identified at this time.

#### Unmapped Data Element

There are no unmapped data elements for this project.

## Conceptual Infrastructure Design

### System Criticality and High Availability

As a component of the eHMP, the image viewer will have the same availability as the eHMP.

### Special Technology

N/A

### Technology Locations

Table 3: Technology Location Details

| Technology Component Production 1 | Location | Usage |
| --- | --- | --- |
| Workstations | At VAMC | Normal users |
| Special hardware | N/A | N/A |
| VIX servers | At current locations | Increased utilization |
| rVIX servers | Collocated with the JDS | Services consumed by the eHMP RDK |
| Interface processors | N/A |  |
| Legacy mainframe | N/A |  |
| Legacy application server | N/A |  |
| Legacy databases | VistA | Normal users |
| Other | N/A |  |

| Technology Component Certification | Location | Usage |
| --- | --- | --- |

| Technology Component Education | Location | Usage |
| --- | --- | --- |

| Technology Component Test | Location | Usage |
| --- | --- | --- |
| Test environment as needed | Contractor facility |  |

| Technology Component Development | Location | Usage |
| --- | --- | --- |

### Conceptual Infrastructure Diagram

Figure 13: Infrastructure Design

#### Conceptual Production String Diagram

TBD

# System Architecture

The Image Viewer for the eHMP system is a solution that augments the eHMP framework and relies heavily on the existing VistA Imaging Service Architecture. Neither architecture will be altered to any significant extent. The design bridges the gap that exists. The viewer itself is a server-side implementation of image preprocessing for optimized loading. The image manipulations are performed in client-side JavaScript.

## Hardware Architecture

A single instance of the rVIX will be required for each instance of the JDS. Storage requirements and rate of use will be determined at initial operating capability (IOC).

## Software Architecture

The architectural framework is described in the conceptual design and high-level design sections of this document.

## Network Architecture

This project does not modify any network components. The design does not significantly alter current VistA Imaging WAN usage characteristics.

## Service Oriented Architecture / ESS

The design relies on existing VIX services and extends these services by providing additional facades to be consumed by eHMP. These services are listed below and described in section ‎3.1.2.1.

eHMP Site Service

Image Indicator Service

Thumbnail Service

## Enterprise Architecture

The diagram below identifies the image viewer enterprise architecture:

Figure 14: Enterprise Messaging Infrastructure

# Data Design

The project adds no permanent databases.  It has a small database to manage caching of images processed for web rendering.  The database is fully recoverable by the application, will not need maintenance, and it is strictly used for managing the cached metadata and image information. This database is in SQL and in a base implementation uses Microsoft SQL Server Express.

## DBMS Files

There are no files added to VistA.  The schema of the cache database is presented in Figure 15.

## Non-DBMS Files

N/A

## Data View

Figure 15: Vix Viewer Cache Schema

# Detailed Design

The design is based on the previous VIX designs. These documents can be retrieved from the following locations:

http://DNS

http://DNS

The MAG*3.0*83 design document is embedded below.

## Hardware Detailed Design

No new hardware components are needed for this design. Hardware requirements established by the VIX design are referenced in Section 6.

## Software Detailed Design

### Conceptual Design

#### Product Perspective

The VIX viewer is a component that can be started from a Web based application, or thick client that can provide the necessary user, patient and observation context.  The context is maintained programmatically by the hosting application.  The hosting application

##### User Interfaces

See section 3.2.3.1

##### Hardware Interfaces

This design is installed on existing infrastructure.

##### Software Interfaces

The design interfaces to existing VISA services.  It calls Web Services utilized by the clinical display.

##### Communications Interfaces

All Web Services use REST.

##### Memory Constraints

Memory limitations are set by the host OS.   The VIX or rVIX sets its maximum heap size to about ¼ of all available memory during install.

##### Special Operations

NA

#### Product Features

See Section 3.

#### User Characteristics

Authenticated JLV and eHMP clinical users.

#### Dependencies and Constraints

N/A

### Specific Requirements

#### Database Repository

Image Cache database only see section 3.2.2.

#### System Features

The system is designed to be a component that displays images stored in Vista Imaging.  Earlier sections of this document provide all available details.

#### Design Element Tables

##### Routines (Entry Points)

N/A. The design contains no Mumps Components.

##### Templates

N/A. The design contains no Mumps Components.

##### Bulletins

N/A. The design contains no Mumps Components.

##### Data Entries Affected by the Design

N/A. The design contains no Mumps Components.

##### Unique Record(s)

N/A. The design contains no Mumps Components.

##### File or Global Size Changes

N/A. The design contains no Mumps Components.

##### Mail Groups

N/A. The design contains no Mumps Components.

##### Security Keys

N/A. The design contains no Mumps Components.

##### Options

N/A. The design contains no Mumps Components.

##### Protocols

N/A. The design contains no Mumps Components.

##### Remote Procedure Call (RPC)

N/A. The design contains no Mumps Components.

##### Constants Defined in Interface

N/A. The design contains no Mumps Components.

##### Variables Defined in Interface

N/A. The design contains no Mumps Components.

##### Types Defined in Interface

N/A. The design contains no Mumps Components.

##### GUI

The User interface is implemented in HTML5, Java Scripts and CSS3.  The class information both server side and client-side in this implementation are included with the diagrams in section 8.5.

##### GUI Classes

See Section 8.5

##### Current Form

N/A.  New design.

##### Modified Form

See Sections 3.1.2.1 and 3.2.3.1

##### Components on Form

See diagrams in Section 8.5

##### Methods

See Section 8.5

##### Special References

See Section 8.5

##### Class Events

See Section 8.5

##### Class Methods

See Section 8.5

##### Class Properties

See Section 8.5

##### Uses Clause

See Section 8.5

##### Forms

See Section 8.5

##### Functions

See Section 8.5

##### Dialog

See Section 8.5

##### Help Frame

See Section 8.5

##### HL7 Application Parameter

N/A. The design does not utilize any HL7 components.

##### HL7 Logical Link

N/A. The design does not utilize any HL7 components.

##### COTS Interface

Table 2: Java JRE 8.0_xxx (8.0 or higher)

| COTS Interface | Description |
| --- | --- |
| Communication Method | Direct API calls |
| Application Interface | VISA components |

Table 3: Laurel Bridge DICOM Connectivity Foundation Toolkit 3.3.52c

| COTS Interface | Description |
| --- | --- |
| Communication Method | Direct API calls |
| Application Interface | VISA components |

Table 4: Apache Tomcat 8.0.xxx

| COTS Interface | Description |
| --- | --- |
| Communication Method | Direct API calls |
| Application Interface | VISA components |

Table 5: Aware 3.19.7.x

| COTS Interface | Description |
| --- | --- |
| Communication Method | Direct API calls |
| Application Interface | VISA components |

Table 6: Microsoft SQL Server Express 2014

| COTS Interface | Description |
| --- | --- |
| Communication Method | Windows Service |
| Application Interface | VIX Render |

## Network Detailed Design

No new network requirements posed by this design. See the design documents referenced in Section 6 for further details.

## Security and Privacy

### Security

The design is a component of the hosting application all security is handled by the hosting application.

### Privacy

The design contains no additional privacy requirements, uses established VistA Imaging privacy protocols.

## Service Oriented Architecture / ESS Detailed Design

See the services defined by this design in 3.1.2.

### Service Description for Consumed Services

See the services defined by this design in 3.1.2.

### Service Design for Provided Services

See the services defined by this design in 3.1.2.

#### Introduction

See the services defined by this design in 3.1.2.

##### Purpose and Scope of Service

See the services defined by this design in 3.1.2.

##### Links to Other Documents

See the services defined by this design in 3.1.2.

#### Service Details

##### Service Identification

This is a future requirement and the complete design and supporting information is not yet known.

##### Service Versions

This is a future requirement and the complete design and supporting information is not yet known.

##### Summary of Design and Platform Details

###### SOA Pattern(s) Implemented

This is a future requirement and the complete design and supporting information is not yet known.

###### COTS Platform vendor names and versions for hosting platform

This is a future requirement and the complete design and supporting information is not yet known.

#### Dependencies

This is a future requirement and the complete design and supporting information is not yet known.

#### Service Design Details

This is a future requirement and the complete design and supporting information is not yet known.

##### Interface Technical Specs

This is a future requirement and the complete design and supporting information is not yet known.

###### Service Invocation Type

This is a future requirement and the complete design and supporting information is not yet known.

###### Service Interface Type

This is a future requirement and the complete design and supporting information is not yet known.

###### Service Name

This is a future requirement and the complete design and supporting information is not yet known.

###### Interface

This is a future requirement and the complete design and supporting information is not yet known.

###### End Points

This is a future requirement and the complete design and supporting information is not yet known.

###### Operations or Methods

This is a future requirement and the complete design and supporting information is not yet known.

###### Message Schemas

This is a future requirement and the complete design and supporting information is not yet known.

##### Information Model

This is a future requirement and the complete design and supporting information is not yet known.

###### Class Diagram and Description of Entities Involved

This is a future requirement and the complete design and supporting information is not yet known.

###### Mappings from ELDM to Standards Based Schemas

This is a future requirement and the complete design and supporting information is not yet known.

##### Behavior Model (AKA Use Case Realization)

This is a future requirement and the complete design and supporting information is not yet known.

###### Use Cases (Use Case Model)

This is a future requirement and the complete design and supporting information is not yet known.

###### Interaction Diagrams

This is a future requirement and the complete design and supporting information is not yet known.

#### Gap Analysis

N/A

##### Variances from Enterprise Target Architecture

N/A

##### Variances from SLDs

N/A

##### Variances from Standards and Policies

N/A

##### Justification for Exceptions and Mitigation

N/A

# External System Interface Design

The design only relies on the internal interfaces provided by the VIX. All external system interfaces are covered by the previous design. For details see the references in Section 6.

## Interface Architecture

See Section 6.

## Interface Detailed Design

See Section 6.

# Human-Machine Interface

The VistA Imaging viewer is a graphical user interface (GUI) integrated with the eHMP. The eHMP will provide all the GUI functionality necessary to select the patient and identify when and where images are available and associated with other components of the medical record. The image viewer will provide a GUI that allows users to view, manipulate and annotate images.

## Interface Design Rules

The image viewer will follow eHMP design patterns.

## Inputs

The inputs to the user interface are provided by the Viewer and Render services detailed in Sections 8.5.4.1.7 and 8.5.4.1.8.

## Outputs

The design provides no other output than the rendered images on screen. All other outputs are related to event logging and temporary persistence.

## Navigation Hierarchy

See section 3.2.3.1.

## System Classes

### Component View

Figure 15 shows the major components of the VIX Image Viewer and new VISA components used for the VIX Image Viewer.  Further detail is provided in the subsequent sections of the SDD.

Figure 16: Hydra Component view

### Packages

The VIX Image Viewer is organized into packages to handle major features to retrieve manage and render images.  Figure 16depicts the major packages.

Figure 17: VIX Image Viewer Packages

### ECG Conversion Package

The Conversion ECG package contains the primary components to process and convert ECG waveforms from a number of sources. Figure 17illustrates the packages and classes occupying the top level of the ECG package

Figure 18: ECG Package top level

#### aECG Package

The aECG sub package contain a collection of classes to manage all attributes of a converted ECG objects.

Figure 19: aECG Classes

#### DICOM ECG

The DICOM ECG package contains classes to hold specific attributes of a DICOM ECG object and all related methods for processing DICOM ECG objects

Figure 20: DICOM ECG Package

#### ECG Demographics

The ECG Demographics package contain all classes used for managing the demographics information associated with the internal ECG classes.

Figure 21: ECG Demographics

#### ECG Diagnostics

The ECG Diagnostics classes are designed to hold the reporting information associated with ECGs.

Figure 22: ECG Diagnostics

#### ECG Global Measurements

Classes in the ECG Global Measurement package contain the measurement information generated as the result of the user interaction with the waveforms

Figure 23: ECG Global Measurements

#### ECG Lead Measurements

ECG Lead Measurements hold the information acquired form the leads, and extracted from the converted ECG objects.

Figure 24: ECG Lead Measurements

#### ECG Management Systems

Information acquired from external ECG management systems like Mortera or GE MUSE

Figure 25: ECG Management Systems

#### ECG Signals

Classes containing the individual wave forms.

Figure 26: ECG Signals

#### ECG ISHNE

Figure 27: ECG ISHNE

#### ECG MUSE XML

XML representation of the GE MUSE based ECG Information.

Figure 28: ECG MUSE XML

#### Omron ECG

Internal representation of the Omron ECG generated data.

Figure 29: Omron ECG

#### ECG PDF Format

The VIX Image Viewer renders PDF Formatted ECG information. The classes in Figure 29 are used to convert and render this data.

Figure 30: ECG PDF Format

#### ECG Raw Format

Figure 31: ECG Raw Format

### ECG SCP

The ECG SCP Package contains a set of classes used to implement a DICOM SCP accepting DICOM ECG SOP Classes for rendering in the viewer.

Figure 32: ECG SCP

#### Hydra Packages

Sub packages in Hydra are responsible for implementing all server side preprocessing and rendering necessary to properly provide the information to the browser hosted code.  The packages listed in Figure 32 provide organization of classes and further packages to implement metadata connections to the EHR, the caching and rendering of images and associated information

Figure 33: Hydra Packages

##### Hydra Common

Classes shared by most hydra components

Figure 34: Hydra Common

###### Hydra Common Entities

Persistence classes used by shared Hydra functions.

Figure 35: Hydra Common Entities

###### Hydra Common Exceptions

Base Classes for Hydra exceptions

Figure 36: Hydra Common Exceptions

###### Hydra Common Extensions

Image type extension class

Figure 37: Hydra Common Extensions

##### Hydra Desktop

The Hydra Desktop Package contains sub packages supporting desktop applications

Figure 38: Hydra Desktop

###### Hydra Desktop Common

Collection of the shared classes in Hydra Desktop

Figure 39: Hydra Desktop Common

Hydra Desktop Common Network

The collection of Network classes used in Hydra Desktop Common to provide connectivity

Figure 40: Hydra Desktop Common Network

###### Hydra Desktop Controller

Control classes used by Hydra desktop

Figure 41: Hydra Desktop Controller

###### Hydra Desktop Core

Packages contained in Core

Figure 42: Hydra Desktop Core

Hydra Desktop Core Binding

Figure 43: Hydra Desktop Core Binding

Hydra Desktop Core Controls

Figure 44: Hydra Desktop Core Controls

Hydra Desktop Core Message

Figure 45: Hydra Desktop Core Message

Hydra Desktop Core Properties

Figure 46: Hydra Desktop Core Properties

Hydra Desktop Core View

Figure 47: Hydra Desktop Core View

Hydra Desktop Core ViewModel

Figure 48: Hydra Desktop Core ViewModel

##### Hydra DICOM

Collections of support classes for parsing building and managing DICOM objects

Figure 49: Hydra DICOM

##### Hydra ECG

Figure 50: Hydra ECG

##### Hydra Entities

Figure 51: Hydra Entities

##### Hydra Global

Figure 52: Hydra Global

##### Hydra IX

Figure 53: Hydra IX

###### Hydra IX Client

Figure 54: Hydra IX Client

###### Hydra IX Common

Figure 55: Hydra IX Common

###### Hydra IX Configuration

Figure 56: Hydra IX Configuration

###### Hydra IX Console App

Figure 57: Hydra IX Console App

###### Hydra IX Core

Figure 58: Hydra IX Core

Hydra IX Core Modules

Figure 59: Hydra IX Core Modules

Hydra IX Core Properties

Figure 60: Hydra IX Core Properties

Hydra IX Core Remote

Figure 61: Hydra IX Core Remote

###### Hydra IX Database

Figure 62: Hydra IX Database

Hydra IX Database Common

Figure 63: Hydra IX Database Common

###### Hydra IX Processor

Figure 64: Hydra IX Processor

###### Hydra IX Storage

Figure 65: Hydra IX Storage

###### Hydra IX Web

Figure 66: Hydra IX Web

Hydra IX Web Modules

Figure 67: Hydra IX Web Modules

###### Hydra IX Viewer Data Explorer

Figure 68: Hydra IX Viewer Data Explorer

Hydra IX Viewer Data Explorer Controls

Figure 69: Hydra IX Viewer Data Explorer Controls

Hydra IX Viewer Data Explorer Data

Figure 70: Hydra IX Viewer Data Explorer Data

Hydra IX Viewer Data Explorer Message

Figure 71: Hydra IX Viewer Data Explorer Message

Hydra IX Viewer Data Explorer Properties

Figure 72: Hydra IX Viewer Data Explorer Properties

Hydra IX Viewer Data Explorer Test

Figure 73: Hydra IX Viewer Data Explorer Test

Hydra IX Viewer Data Explorer View

Figure 74: Hydra IX Viewer Data Explorer View

Hydra IX Viewer Data Explorer ViewModel

Figure 75: Hydra IX Viewer Data Explorer ViewModel

##### Hydra VistA

Figure 76: Hydra VistA

###### Hydra VistA Test Client

Figure 77: Hydra VistA Test Client

###### Hydra VistA Web

Figure 78: Hydra VistA Web

###### Hydra VistA Worker

Figure 79 Hydra VistA Worker

##### Hydra Web

Figure 80: Hydra Web

###### Hydra Web Contracts

Figure 81: Hydra Web Contracts

###### Hydra Web Modules

Figure 82: Hydra Web Modules

###### Hydra Web Preferences

Figure 83: Hydra Web Preferences

#### JetBrains Package Annotations

Figure 84: JetBrains Package Annotations

#### Schemas

Figure 85: Schemas

#### VIX

##### VIX Render Service

Figure 86: VIX Render Service

##### VIX Viewer Service

Figure 87: VIX Viewer Service

##### VIX Viewer Controller

Figure 88: VIX Viewer Controller

##### VIX Viewer Install

Figure 89: VIX Viewer Install

##### VISA ImagingDataWebApp

Figure 90: VISA ImagingDataWebApp

##### VISA ViewerStudyWebApp

Figure 91: VISA ImagingDataWebApp

# Attachment A – Approval Signatures

This section is used to document the approval of the system design document. The review should be conducted face to face where signatures can be obtained “live” during the review. If unable to conduct a face-to-face meeting, then it should be held via LiveMeeting and concurrence captured during the meeting. The scribe should add name by each position cited.

The business sponsor and project manager are required to sign.

______________________________________________________________________________

Signed:	Date:

< Business Sponsor >

______________________________________________________________________________

Signed:	Date:

< Project Manager >

Additional Information

Attach any addition information that supplements the design specification.

Identification of Technology and Standards

Identify the system and software which apply to the SDD, including: identification number(s), title(s), abbreviation(s), version number(s), and release number(s). Identify all standards (e.g., American National Standards Institute [ANSI], International Organization for Standardization [ISO], Institute of Electrical and Electronics Engineers [IEEE], etc.).

Constraining Policies, Directives and Procedures

Identify any constraints or requirements placed on this document by policies, directives, or procedures.

Requirements Traceability Matrix

Include an RTM that traces modules and data structures to the software requirements. A reference to the location of the RTM is also acceptable.

Packaging and Installation

Outline any special considerations for software packaging and installation.

Design Metrics

Describe all metrics to be used during the design activity.

Abbreviations, Acronyms, and Terms

| Term | Definition |
| --- | --- |
| 2D | two-dimensional |
| AITC | Austin Information Technology Center |
| Backbone.js | an open-source component of DocumentCloud that gives structure to Web applications and connects existing application program interface (API) over a RESTful JSON interface http://backbonejs.org/ |
| BRD | [VA] Business Requirements Document |
| CIFS | Common Internet File System |
| CORS | cross-origin resource sharing |
| CSS | Cascading Style Sheets [language] |
| CSS3 | As of December 2015, this is the latest evolution of the CSS the language; provides rounded corners, shadows, gradients, transitions, animations, multi-columns, and flexible box and grid layouts https://developer.mozilla.org/en-US/docs/Web/CSS/CSS3 |
| CT | computed tomography [medical scan imagery] |
| CVIX | Central VistA Imaging Exchange |
| DAS | [VA] Data Access Service |
| DICOM | Digital Imaging and Communications in Medicine |
| DOD | Department of Defense |
| DMA | Office of Disability and Medical Assessment formerly the Disability Examination Office (DEMO), originally known as the Compensation and Pension Examination Program (CPEP) |
| ECG | electrocardiogram |
| eHMP | [the] Enterprise Health Management Platform |
| EHR | Electronic Health Record |
| eMI | Enterprise Message Infrastructure |
| ESS | Employee Self Service |
| rVIX | enterprise VistA Imaging Image Exchange |
| eVPR | enterprise Virtual Patient Record [service] |
| FDA | Food and Drug Administration |
| Group 6000 | DICOM attribute group in which the element number is 6000 |
| HAIMS | [DOD] Health Artifact and Image Management Solution |
| HIE | health information exchange |
| HIS | Healthcare Information System |
| HTML | hypertext markup language the core language of the World Wide Web |
| HTML5 | [no space between the “L” and the “5”] the fifth revision of HTML and XHTML; it defines a single language that can be written in HTML and XML and addresses the needs of Web applications |
| iframe | inline frame element that represents a nested browsing context; for more information, go to https://www.w3.org/wiki/HTML/Elements/iframe and links within |
| IOC | initial operating capability |
| IOD | Input/output device |
| IM | information management |
| IT | information technology |
| JavaScript | programming language for HTML and the Web; lightweight, interpreted, object-oriented language |
| JDS | JSON Data Store |
| JSON | JavaScript Object Notation a lightweight data-interchange text format based on JavaScript http://www.json.org/ |
| JPEG | Joint Photographic Experts Group (which created the standard); a computer file format for the compression and storage of usually high-quality photographic digital images; the file extension is .jpg or .jpeg, also written as “JPG” |
| MDIA | medical device isolation architecture |
| MRI | magnetic resonance imaging |
| MS0 | Milestone 0 [no space between S and numeral]; the VA has six project milestone states |
| MS1 | Milestone 1 [no space between S and numeral]; the VA has six project milestone states |
| OI&T | [VA] Office of Information & Technology |
| PD | product development |
| PDF | portable document format |
| PMAS | Project Management Accountability System |
| PSI | potential shippable increments |
| RDK | resource development kit |
| RPC | remote procedure call |
| RSD | Requirements Specification Documents |
| SDD | system design document |
| SOA | Service-oriented architecture |
| SOP | Service-Object Pair |
| SR | structured reporting [object]; for example, DICOM SR objects |
| UI | user interface |
| UID | Unique Identifier |
| URL | Uniform Resource Locator; addresses on the World Wide Web |
| VA | Veterans Affairs |
| VAMC | Veterans Affairs Medical Center |
| VBA | Veterans Benefits Administration |
| VHA | Veterans Health Administration |
| VISA | VistA Imaging Services Architecture |
| VistA | Veterans Integrated Service Technology Architecture, as in “the VistA Imaging system”, “VistA Imaging”, “VistA Imaging software”, and “VistA Imaging sites”; see the overview at http://DNS and http://DNS |
| VistARad | the radiology software for VistA; see the quick start guide at http://DNS |
| VIX | VistA Imaging Exchange, as in “the VIX service” or “a local VIX”; see the administrator’s guide at http://DNS |
| vxSync | [GitHub] synchronizing software; https://github.com/hjelmn/vxSync |
| WAN | wide area network |
| XML | extensible markup language |

Template Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| June 2015 | 2.10 | Changed Heading 1 default setting to eliminate page break before | Process Management |
| May 2015 | 2.9 | Edited for Section 508 conformance and remediated with Common Look Office tool | Process Management |
| February 2015 | 2.8 | Incorporates revisions from PMAS Reform Lockdown; namely removing requirements for information that can be obtained from other PMAS authoritative sources. | Andrew Slawter, Office of Technology Strategies |
| September 2014 | 2.7 | Adds Enterprise Shared Services terms and requires AERB Compliance Certificate attachment. | Process Management |
| August 2014 | 2.6 | Signature block update authorized by AERB CR_018934 | Process Management |
| March 2014 | 2.5 | Section 508 repairs to new version approved by AERB Chair approved | Process Management |
| August 2013 | 2.3 | Replaced the Service Architecture sub-section with new sub-sections for consumed and provided services. Also applied miscellaneous feedback from VA team. | ASD Enterprise Shared Services (ESS) Work Group |
| June 2013 | 1.3 | Upgraded to MS Office 2007-2010 format | Process Management |
| June 2013 | 1.2 | Address inconsistencies in Section 3, Conceptual Design, Correct headings | Process Management |
| March 2013 | 1.1 | Formatted to documentation standards and edited for Section 508 conformance | Process Management |
| January 2013 | 1.0 | Initial Document | PMAS Business Office |

See TOGAF® 9.1, Part III: ADM Guidelines & Techniques, Gap Analysis on TOGAF Web site: http://pubs.opengroup.org/architecture/togaf9-doc/arch/chap27.html

Endnotes

VistA Imaging Resources: In this context, “imaging resources” refers to any image and binary object formats stored at any accessible location intra- or extra-enterprise. The federation architecture through the VIX makes the access transparent.

Medical images are made up of visible image information and contextual information, commonly referred to as metadata. The visible information may be in the form of rasterized images, such as X-rays, CT scans, or spectrographs (like the ones acquired by MRI or waveforms from patient monitoring systems like ECGs). The metadata has three main components: One describes the imaging subject, i.e., the patient and the body site where the images are taken, etc. Another major component describes the procedural context (what was ordered and registered on the imaging equipment) in response to which the images were generated. The third component is dedicated to the acquisition context, which describes how the images or waveforms were acquired and what setting and acquisition protocols were used. Imaging equipment transmits this information in DICOM Composite objects, or using multiple data streams for the various components in a non-standard fashion. The former is common to major imaging equipment, such as CT, MR, US, X-ray, etc., while the latter is more common in low-tech patient monitoring devices. Once the data is received, it is reconciled with the metadata stored in the EMR. VistA Imaging is the VistA-side repository of the acquisition context information, and the information related to the procedural context generated by the imaging devices. VistA Imaging stores the composite objects as received, without alteration, according to the Level 2 Archive specifications, as defined in PS 3.4 B.4.1, Conformance as an SCP of the DICOM Standard.