## Purpose
PURPOSE:
The purpose of this test case is to test CR 1007 CCR5037 IP Vista Lookup against profile
This option allows the user to look up a drug without entering it in a users profile to check for drug interactions, or allergy checks

## Test Case
Type | Description | Expected Results | Results | Notes
PREP | Vendor Database is up, patient has multiple drugs on profile. Following are some examples of drug order statuses to consider for patient drug profile: • IP Pending • IP Active • OP Pending • OP Active (Local Rx) • Non-VA |  |  | Remote orders cannot be tested in this test account.
Step | In VistA, navigate to the Inpatient Order Entry (IOE) option and select patient.
Step | Patient needs to already have both UD and IV orders on the medication profile that have the following: • Drug-Drug Interactions • Therapeutic Duplication
No Drug Entered
VP | At 'Select Action:' prompt, enter CK | DRUG:' displays in the lower section of the screen
Step | Do not enter any drug, and press enter
VP | Verify order checks are performed with existing orders on the patient profile. |  |  | Following Order checks are performed: • Local inpatient profile drug vs. Local inpatient profile drug • Local outpatient profile drug vs. Local inpatient profile drug
VP | Verify that the Order Status is displayed with all orders in the Order Check messages. Order Status is displayed in parentheses. For example, in a critical interaction between a Pending Inpatient Drug A and other orders, the following should be displayed with (IP Pending) in parentheses: This patient is receiving the following order(s) that have a CRITICAL Drug Interaction with Drug A (IP Pending): Orders all listed here
VP | Verify order check displays do not scroll off the screen. A 'Press Return to Continue' prompt is inserted between screens.
VP | After all order check messages display, verify you are returned to the medication profile, with the 'Select Action:' prompt displaying.
Significant Interactions
VP | At 'Select Action:' prompt, enter CK | DRUG:' displays in the lower section of the screen
Step | At the 'DRUG:' prompt, enter a drug that will trigger a Significant Drug-Drug interaction message
VP | Verify order checks are performed with existing orders on the patient profile. |  |  | Following Order checks are performed: • Prospective drug vs. Local inpatient profile drug • Prospective drug vs. Local outpatient profile • Local inpatient profile drug vs. Local inpatient profile drug • Local outpatient profile drug vs. Local inpatient profile drug
VP x 7 | Verify that the Order Status is displayed with all orders in the Order Check messages. Order Status should be displayed in parantheses and the Order Status of the entered drug is displayed as "Prospective". For example, for a significant drug interaction between a Pending Inpatient Drug A and other orders, the following should be displayed with (IP Pending) in parantheses: This patient is receiving the following order(s) that have a SIGNIFICANT Drug Interaction with Drug A (IP Pending): Orders all listed here | Ensure that order statuses are displayed porperly for the following instances: • IP Active • IP Pending • IP Non-Verified • OP Pending • OP Active (Local Rx) • Non-VA • Prospective
VP | Verify a 'Press Return to Continue' is inserted so that order check displays do not scroll off the screen during review
VP | After all order check messages display, verify you are returned to the medication profile, with the 'Select Action:' prompt displaying.
Critical Interactions
VP | At 'Select Action:' prompt, enter CK | DRUG:' displays in the lower section of the screen
Step | At the 'DRUG:' prompt, enter a drug that will trigger a Critical Drug-Drug interaction message
VP | Verify order checks are performed with existing orders on the patient profile. |  |  | Following Order checks are performed: • Prospective drug vs. Local inpatient profile drug • Prospective drug vs. Local outpatient profile • Local inpatient profile drug vs. Local inpatient profile drug • Local outpatient profile drug vs. Local inpatient profile drug
VP x 7 | Verify that the Order Status is displayed with all orders in the Order Check messages. Order Status should be displayed in parantheses and that the Order Status of the entered drug is displayed as "Prospective". For example, for a critical drug interaction between a Pending Inpatient Drug A and other orders, the following should be displayed with (IP Pending) in parantheses: This patient is receiving the following order(s) that have a CRITICAL Drug Interaction with Drug A (IP Pending): Orders all listed here | Ensure that order statuses are displayed porperly for the following instances: • IP Active • IP Pending • IP Non-Verified • OP Pending • OP Active (Local Rx) • Non-VA • Prospective
VP | Verify a 'Press Return to Continue' is inserted so that order check displays do not scroll off the screen during review
VP | After all order check messages display, verify you are returned to the medication profile, with the 'Select Action:' prompt displaying.
Therapeutic Duplication
VP | At 'Select Action:' prompt, enter CK | DRUG:' displays in the lower section of the screen
Step | At the 'DRUG:' prompt, enter a drug that will trigger a Therapeutic Duplication
VP | Verify order checks are performed with existing orders on the patient profile. |  |  | Following Order checks are performed: • Prospective drug vs. Local inpatient profile drug • Prospective drug vs. Local outpatient profile • Local inpatient profile drug vs. Local inpatient profile drug • Local outpatient profile drug vs. Local inpatient profile drug
VP x 7 | Verify that the Order Status is displayed with all orders in the Order Check messages. Order Status should be displayed in parentheses and that the Order Status of the entered drug is displayed as "Prospective". For example, for a therapeutic duplication between a Pending Inpatient Drug A and other orders, the following should be displayed with (IP Pending) in parentheses: This patient is already receiving the following INPATIENT and/or OUTPATIENT order(s) for a drug in the same therapeutic class(es) as Drug A (IP Pending): Orders all listed here | Ensure that order statuses are displayed porperly for the following instances: • IP Active • IP Pending • IP Non-Verified • OP Pending • OP Active (Local Rx) • Non-VA • Prospective
VP | Verify a 'Press Return to Continue' is inserted so that order check displays do not scroll off the screen during review
VP | After all order check messages display, verify you are returned to the medication profile, with the 'Select Action:' prompt displaying.