## Sheet1
Type | Sequence | Description | Expected Results | Notes | Preconditions
Test Step / Verification Point (VP) | Entry Number | Detailed actions for testing and verifying requirements | Anticipated system responses displayed on-screen following execution of steps | Applicable FRs, references, script revisions, exceptions, or other helpful info | Functional Requirements (FRs) in column E reference the Medication Order Check Healthcare Application (MOCHA) SRS vXXX Section XXX, Dosing Order Checks (Inpatient) for Unit Dose Medications.
Step | 1 | From 'Select Systems Manager Menu' Options: > ^PG > CHEY### prompt: > D ^XUP > PSJU NE > Select Unit Dose Medications Option: Order Entry | Inpatient Order Entry' screen > Select PATIENT:
Step | 2 | Enter or select a patient's name and navigate to the medication profile - see precondition. | Patient Information' screen, Select 'Action: View Profile// ' (Enter to accept default) 'View Profile' > at prompt, 'SHORT, LONG, or NO Profile? SHORT// ' > 'Patient Information' screen showing all medications & status |  | The following test scenarios must be created while in the patient profile. Do not exit out of the patient profile at any time. This CCR fixes a duplicate Dosing Warning message that is displayed when an order is verified and never exiting the patient profile.
Step | 3 | ENTER a Unit Dose medication order - see notes & preconditions. | Following entry of a UD dispense drug with excessive dosage, screen displays 'NON-VERIFIED UNIT DOSE' order with 'Dosage Ordered', 'Dispense Drug' & 'Start Date' fields flashing. | A new UD order is created by entering an original dispense drug in the patient's drug profile; when a max single dose check warning appears, and prompt asks whether to continue, respond 'No'. | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’ and (2) Exceeds the FDB-recommended Maximum Single Dose.
VP | 4 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
VP | 5 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 6 | ENTER a Unit Dose medication order utilizing a PSJ backdoor pharmacy order set - see notes & preconditions. | The IP (PSJ) UD order set entered contains a dispense drug (not the last one in the set) that duplicates an existing dispense drug in the patient's profile; this should result in drug interaction and/or duplicate therapy warnings prior to any max single dose check warnings. | A UD order set is used to create a new dispense drug order in the patient's drug profile; when a max single dose check warning appears, and prompt asks whether to continue, respond 'No'. Info - Path to Unit Dose Order Sets, if needed: From Systems Manager Menu Option: ^PG … CHEY### prompt: > D ^XUP … Select OPTION NAME: PSJU MGR ... Select Unit Dose Medications Option: ... > Supervisor's Menu > Order Set Enter/Edit. | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’, (2) Exceeds the FDB-recommended maximum single dose, and (3) Duplicates an existing dispense drug order. This should NOT be the last order in the order set.
VP | 7 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
VP | 8 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 9 | FINISH a Pending Unit Dose medication order - see notes & preconditions. | A Pending UD (IP Meds) order is created in CPRS, then Finished, Accepted, and Verified in Backdoor Pharmacy. | Repeat of previous script, except when a max single dosage check warning appears, and prompt asks whether to continue, respond 'Yes'. | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’ and (2) Exceeds the FDB-recommended Maximum Single Dose.
Step | 10 | In CPRS, create and accept a UD (IP Meds) dispense drug order with excessive dosage. | Initial order / dosing checks are performed and warnings are displayed; once order is accepted, status is set to 'Unreleased'.
Step | 11 | Sign the order and provide reason to justify overriding order / dosing check warning(s). | Order is e-signed and status changes to 'Pending'.
Step | 12 | In MOCHA2 'backdoor pharmacy', retrieve patient's record. | 'Inpatient Order Entry' screen appears showing CPRS order in 'Pending' status.
Step | 13 | Select and 'Finish' the order. | "PENDING IV (ROUTINE)" (order screen) … Now Processing Enhanced Order Checks! Please wait... Press Return to continue…" [Enter]
Step | 14 | Accept the order. | A max single dosage check warning is displayed.
VP | 15 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
Step | 16 | Verify the order. | Order status becomes Active in Backdoor Pharmacy and CPRS.
VP | 17 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 18 | COPY a Unit Dose medication order. | A UD order in the patient's med profile is copied to create a new order. | The UD order previously entered above is copied. | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’ and (2) Exceeds the FDB-recommended Maximum Single Dose.
VP | 19 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
Step | 20 | Verify the order. | Order status becomes Active in Backdoor Pharmacy and CPRS.
VP | 21 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 22 | EDIT an active Unit Dose medication order by changing the orderable item to a different orderable item. | The orderable item is changed by editing an active UD order. | Edit field #1 of the UD order; this will require re-entry of fields such as dosage & dispense drug. | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’ and (2) Exceeds the FDB-recommended Maximum Single Dose.
VP | 23 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
VP | 24 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 25 | EDIT an active Unit Dose medication order by changing the Dosage Ordered. | The dosage ordered is changed by editing an active UD order. | Edit field #2 of the UD order previously edited above. | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’ and (2) Exceeds the FDB-recommended Maximum Single Dose.
VP | 26 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
VP | 27 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 28 | EDIT an active Unit Dose medication order by changing the Units Dispensed (for dispense drug). | The Units Dispensed is changed by editing an active UD order. | Edit field #12 of the UD order previously edited above. Ex: (12) Dispense Drug U/D ACETAMINOPHEN 500MG TAB 1 Select Item(s): Next Screen// E Edit Select FIELDS TO EDIT: 12 Select DISPENSE DRUG: ACETAMINOPHEN 500MG TAB// (Enter) UNITS PER DOSE: 1// 3 (New U/D number) INACTIVE DATE: (Enter) Select DISPENSE DRUG: (Enter) | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’ and (2) Exceeds the FDB-recommended Maximum Single Dose.
VP | 29 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
VP | 30 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 31 | EDIT an active Unit Dose medication order by changing the Med Route. | The Med Route is changed by editing an active UD order. | Edit field #4 of the UD order previously edited above. | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’ and (2) Exceeds the FDB-recommended Maximum Single Dose.
VP | 32 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
VP | 33 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 34 | EDIT an active Unit Dose medication order by changing the Schedule. | The Schedule is changed by editing an active UD order. | Edit field #8 of the UD order previously edited above; when a max single dose check warning appears, and prompt asks whether to continue, respond 'No'. | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’ and (2) Exceeds the FDB-recommended Maximum Single Dose.
VP | 35 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
VP | 36 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 37 | RENEW a Unit Dose medication order. | A UD order in the patient's med profile is copied to create a new order. | The UD order previously entered above is renewed. | This Unit Dose medication order must utilize a dispense drug eligible for dosing checks that: (1) Contains a dose type of ‘Single Dose’ and (2) Exceeds the FDB-recommended Maximum Single Dose.
VP | 38 | Verify: All Order Checks should appear in the following sequence: Drug Interaction, Duplicate Therapy, Dosing (max single dose) checks (Drug Interaction and Duplicate Therapy, if applicable). | All Order Checks appear in the correct order.
Step | 39 | Verify the order. | Order status becomes Active in Backdoor Pharmacy and CPRS.
VP | 40 | Verify: NO Dosing warnings are displayed after the user verifies the order. | NO Dosing warnings are displayed after the user verifies the order.
Step | 41 | REPEAT ALL STEPS ABOVE WITH EXISTING ACTIVE ORDER FOR REGRESSION TESTING
20