3134: NSR 20140713: Unit Testing (LA*5.2*91)

State: Under Review

Originator:          ,         (Leidos)	Owner:            ,      (HP) Priority: Unassigned

Parent Test Plan(s): NSR 20140713: Increase Selection from Auto Instrument File to 999 (LA*5.2*91)

Description: The purpose of this test suite is to verify the Unit Testing results of the VIP Intake 015(NSR 20140713: Increase Selection From Auto

Instrument file to 999) code modification.

Summary

Categories

Function: Unassigned

Test Phase: Developer Test

Estimate: 0 sec

Weight * : 100

Test Suite Design

Formal Review

General Comments

Pre Condition Post Condition Expected Results Risk Assessment

Risk Assessment:

Risk	Importance	Mitigation Action

Test Cases

Executi

on

Order

ID	Priority     Test Case	Test Environment	State	Test Script	Modified	Team Area

1	92308

Automated Microbiology Menu

Displays New Value for Number of

Auto Instruments

Draft

Automated Microbiology Menu Displays New Value for Number of Auto Instruments

Dec 3, 2015

Test Suite Execution Records

ID	Priority	Name	Test Environment	Iteration	Owner	Created By	Status

Attachments

ID	File	Size

Execution Variables

Name	Value

92308: Automated Microbiology Menu Displays New Value for Number of Auto Instruments

Owner:            ,      (HP)                                                                          Creator:          ,         (Leidos) Last Modified: Dec 3, 2015 1:43 PM                                                                Creation Date: Nov 9, 2015 5:34 PM Priority: Unassigned

State: Draft

Description: This test case verifies that the Automated Microbiology Menu displays the value of the number of Auto Instruments after the number has been increased.

Summary

Categories

Function: Unassigned

Intake: 015 NSR 20140713 Increase Selection from Auto Instrument File to 999

Test Phase: Developer Test

Test Types: Unit

Estimate: 0 sec

Weight * : 100

Test Case Design

Formal Review

General Comments

Development Items

Summary

Requirement Links

Summary

Risk Assessment

Risk Assessment:

Risk	Importance	Mitigation Action

Pre-Condition Post-Condition Expected Results

Test Scripts

ID	Name	State	Script Type	Owner	Data Records	Modified	Validates Requirement

Automated Microbiology Menu Displays New

83314

Value for Number of Auto Instruments	Under Review	Manual

,

(HP)	Unassigned	Dec 4, 2015	--

Test Execution Records

ID	Priority	Name	Test Environment     Iteration	Owner	Created By	Test Script	Status	Modified

Attachments

ID	File	Size

Execution Variables

Name	Value

83314: Automated Microbiology Menu Displays New Value for Number of Auto Instruments

State: Under Review

Originator:          ,         (Leidos)	Owner:            ,      (HP) Type: Manual

Test Data: Unassigned

Copied To:LAB Intake 015 Unit Test Case, Verify Micro Auto Data Menu (LA*5.2*91)

Description: This test script verifies that the Automated Microbiology Menu displays the value of the number of Auto Instruments after the number has been increased.

Summary

Categories

Function: Unassigned

Test Phase: Unassigned

Formal Review

General Comments

Manual Steps

Step 1

Execution Step

Description

Connect to VistA instance.

Expected Results

VistA Splash Screen with Access Code is displayed. Comments

Validates: Attachments:

Step 2

Execution Step

Description

Enter Access Code and then press the Enter key.

Expected Results

Access Code confirmed/Verify Code prompt is displayed. Comments

Validates: Attachments:

Step 3

Execution Step

Description

Enter Verify Code and then press the Enter key.

Expected Results

Verify Code is confirmed. Comments

Validates: Attachments:

Step 4

Execution Step

Description

Press the Enter key.

Expected Results

Select Systems Manager Menu Option prompt is displayed.

Comments

Validates: Attachments:

Step 5

Execution Step

Description

Enter "PG" to connect to programmer mode and then press the Enter key.

Expected Results

VistA Programmer menu is displayed.

Comments

Validates: Attachments:

Step 6

Execution Step

Description

Enter "D ^XUP" and then press the Enter key.

Expected Results

Select OPTION NAME prompt is displayed.

Comments

Validates: Attachments:

Step 7

Execution Step

Description

Enter "LA MI MENU" and then press the Enter key.

Expected Results

Automated Microbiology Menu is displayed.

Comments

Validates: Attachments:

Step 8

Execution Step

Description

Select the "Verify Micro Auto Data Menu" Option and then press the Enter key.

Expected Results

Select ACCESSION AREA prompt is displayed.

Comments

Validates: Attachments:

Step 9

Execution Step

Description

Enter "MICRO" and then press the Enter key.

Expected Results

Select Accession Year: 2015// prompt: is displayed.

Comments

Validates: Attachments:

Step 10

Execution Step

Description

Press the Enter key.

Expected Results

Select Auto Instrument prompt: is displayed.

Comments

Validates: Attachments:

Step 11

Execution Step

Description

Enter "? "and then press the Enter key.

Expected Results

The user will see the following display:

Answer with AUTO INSTRUMENT NUMBER, or NAME , or PROGRAM, or METHOD Do you want the entire AUTO INSTRUMENT List?

Comments

Validates: Attachments:

Step 12

Execution Step

Description

Enter "Y" and then press the Enter key.

Expected Results

A List of auto instruments up to and greater than 99 auto instruments is displayed.

Comments

Validates: Attachments:

Step 13

Execution Step

Description

Enter the number of auto instruments to be displayed. The number should be greater than 99 and then press the Enter key.

Expected Results

A list is displayed.

Comments

Validates: Attachments:

Step 14

reporting

Description

Verify the number is greater than 99.

Expected Results

The number is greater than 99. Comments

Validates: Attachments:

Step 15

Execution Step

Description

End of test case. Expected Results

Comments

Validates: Attachments:

Associated E-Signatures

Signed	Action	Signer	Comment	Additional Information