3177: NSR 20140713 Regression Testing (LA*5.2*91)

State: Under Review

Originator:     ,      (KGS)	Owner:            ,      (HP) Priority: Unassigned

Parent Test Plan(s): NSR 20140713: Increase Selection from Auto Instrument File to 999 (LA*5.2*91)

Description: The purpose of this test suite is to verify the Regression Testing results of the VIP Intake 015 (NSR 20140713: Increase Selection from Auto

Instrument file to 999) code modification.

Summary

Categories

Function: Unassigned

Test Phase: Integration Test

Estimate: 0 sec

Weight * : 100

Test Suite Design

Formal Review

General Comments

Pre Condition Post Condition Expected Results Risk Assessment

Risk Assessment:

Risk	Importance	Mitigation Action

Test Cases

Executi

on

Order

ID	Priority     Test Case	Test Environment	State	Test Script	Modified	Team Area

Verify Micro Auto Data Menu

1	92844

(LA*5.2*91)	Under Review

Verify Micro Auto Data Menu

(LA*5.2*91)	Dec 4, 2015

Test Suite Execution Records

ID	Priority	Name	Test Environment	Iteration	Owner	Created By	Status

Attachments

ID	File	Size

Execution Variables

Name	Value

92844: Verify Micro Auto Data Menu (LA*5.2*91)

Owner:            ,      (HP)	Creator:     ,      (KGS)

Last Modified: Dec 4, 2015 11:53 AM	Creation Date: Nov 19, 2015 4:45 PM Priority: Unassigned

State: Under Review

Description: This test case verifies the functionality of increase selection from Auto Instrument file to 999 and also verifies that the modification did not negatively impact the existing functionality.

Summary

Categories

Function: Unassigned

Intake: 015 NSR 20140713 Increase Selection from Auto Instrument File to 999

Test Phase: Unassigned

Test Types: Regression

Estimate: 0 sec

Weight * : 100

Test Case Design

Formal Review

General Comments

Development Items

Summary

Requirement Links

Summary

Risk Assessment

Risk Assessment:

Risk	Importance	Mitigation Action

Pre-Condition Post-Condition Expected Results

Test Scripts

ID	Name	State	Script Type	Owner	Data Records	Modified	Validates Requirement

83861	Verify Micro Auto Data Menu (LA*5.2*91)	Under Review	Manual	           ,

(HP)

Unassigned	Dec 4, 2015	--

Test Execution Records

ID	Priority	Name	Test Environment     Iteration	Owner	Created By	Test Script	Status	Modified

Attachments

ID	File	Size

Execution Variables

Name	Value

83861: Verify Micro Auto Data Menu (LA*5.2*91)

State: Under Review

Originator:     ,      (KGS)	Owner:            ,      (HP) Type: Manual

Test Data: Unassigned

Copied From:Automated Microbiology Menu Displays New Value for Number of Auto Instruments

Copied To:Increase selection from 99 to 999 (LA*5.2*91)

Description: This test script verifies the selection of entries ranging from less than 99 to greater than 99 in the Auto Instrument file.

Summary

Categories

Function: Unassigned

Test Phase: Unassigned

Formal Review

General Comments

Manual Steps

Step 1

Execution Step

Description

Prerequisite: User must be able to set up and maintain the Auto Instrument file (#62.4).

Expected Results

Comments

Validates: Attachments:

Step 2

Execution Step

Description

Log in to VistA.

Expected Results

User is logged in to VistA. Comments

Validates: Attachments:

Step 3

Execution Step

Description

Enter "PG"  to enter into Programmer menu at the "Core Application" prompt.

Expected Results

The user is in programmer mode.

Comments

Validates: Attachments:

Step 4

Execution Step

Description

Enter  " D  ^XUP"

Expected Results

The Select Option Name is displayed. Comments

Validates: Attachments:

Step 5

Execution Step

Description

Enter "LA MI MENU" and then press the Enter key.

Expected Results

The Automated Microbiology Menu is displayed. Comments

Validates: Attachments:

Step 6

Execution Step

Description

Select Verify Micro Auto Data Menu option and then press the Enter key.

Expected Results

Select ACCESSION AREA: prompt is displayed. Comments

Validates: Attachments:

Step 7

Execution Step

Description

Enter "MICRO" and then press the Enter key.

Expected Results

Select Accession Year: 2015// prompt is displayed.

Comments

Validates: Attachments:

Step 8

Execution Step

Description

Press the Enter key.

Expected Results

Select Auto Instrument prompt is displayed. Comments

Validates: Attachments:

Step 9

Execution Step

Description

Enter: ? and press the Enter key.

Expected Results

Answer with AUTO INSTRUMENT NUMBER, or NAME, or PROGRAM or METHOD. Do you want the entire AUTO INSTRUMENT List? is displayed. Comments

Validates: Attachments:

Step 10

Execution Step

Description

Enter: Y and then press the Enter key. Keep pressing the enter key to view more.

Expected Results

A list of entries with numbers more than 99 instrument is displayed. Comments

Validates: Attachments:

Step 11

Execution Step

Description

Enter "^" to exit the list.

Expected Results

The Select Auto Instrument prompt is displayed. Comments

Validates:

Attachments:

Step 12

Execution Step

Description

At the Select Auto Instrument prompt, enter a range of numbers from 1 to 99.

Expected Results

The entry for the specific instrument is displayed with detailed information. Comments

Validates: Attachments:

Step 13

reporting

Description

Go back to the Accession Area prompt. See Step 6.

Expected Results

A list of Accession Area is displayed. Comments

Validates: Attachments:

Step 14

Execution Step

Description

Select one of the choices listed and then press the Enter key. For example enter "Mycology".

Expected Results

The Select Accession Year:2015 is displayed. Comments

Validates: Attachments:

Step 15

Execution Step

Description

At the Select Auto Instrument prompt, enter "?" for the listing, press the Enter key.

Expected Results

Answer with AUTO INSTRUMENT NUMBER, or NAME, or PROGRAM or METHOD. Do you want the entire AUTO INSTRUMENT List? is displayed. Comments

Validates: Attachments:

Step 16

Execution Step

Description

Enter Y and then press the Enter key.

Expected Results

A listing of more than 99 entries will display, press the Enter key to show more listing. Comments

Validates: Attachments:

Step 17

Execution Step

Description

Enter "^" key to exit the list.

Expected Results

the Select Auto Instrument prompt is displayed. Comments

Validates: Attachments:

Step 18

reporting

Description

Enter a special character such as % or $ and then press the Enter key.

Expected Results

The ?? is displayed and the Select Auto Instrument prompt is displayed again. Comments

Validates: Attachments:

Step 19

Execution Step

Description

Verify no error is created when a special character is entered.

Expected Results

No error is generated when any special characters are entered. Comments

Validates: Attachments:

Step 20

Execution Step

Description

End of test.

Expected Results

Comments

Validates: Attachments:

Associated E-Signatures

Signed	Action	Signer	Comment	Additional Information