147557: MD*1.0*57 Simulated ECG Transmission

Creation Date:  Sep 21, 2017 2:02:52 PM (UTC-05:00)	Last Modified: Feb 4, 2019 7:56:00 PM (UTC-06:00) State:  Approved

Originator:  Henderson, John (AbleVets LLC)	Owner: Ilustrisimo, Lucy (Leidos) Type:  Manual

Test Data:  Unassigned

Description:  This Test Script lists the steps for the Functional Testing of EPIP patch MD*1.0*57 for the simulated ECG MUSE Transmission.

Summary

Categories

Function: Unassigned

Test Phase: Integration Test

Formal Review

General Comments

Manual Steps

Step 1

Execution Step

Description*

Note to IOC Test Sites:

This test script was executed in the SQA test environment and is meant as a guideline for IOC testing. You may experience a slight difference in system responses when executing this test script due to your site’s test environment, VistA configuration, and/or test data. Please be sure to consider your site’s configuration and workflow as you execute this test script, and adjust accordingly

Prerequisites:

1. The user must have access to VistA and CPRS.

2. The user must have access to Programmer's prompt

Notes:

1.  Testing for this NSR is a simulated testing since EPIP Test account does not have a hook to EKG MUSE. The routine to run this simulated testing cannot be run in Production.

2.  For the Production environment, the " Setting AUTO CREATE VISIT ON FINALIZING EKG for System: XXXXX (Server name) Value" is set to Yes.

3.  For testing purposes in Mirror account, setting the flag is not needed.

Test Preparation:

1.  Before Simulated testing, the user must set up the following in their Test account.

To edit/add the values, navigate to XPAR EDIT PARAMETER option. Enter the information listed below: A. Type MD GET HIGH VOLUME at the "PARAMETER DEFINITION NAME:" prompt.

B. Type Test account Server Name. Example: SYS: DNS   13.AAA.VA.GOV C. Type EKG at the "Select Procedure:" prompt.

D. Type 1.0 At the "String:" prompt.

2. To check the existing values for MD GET HIGH VOLUME, access menu option XPAR LIST BY PARAMETER

Parameter Instance Value, for example:

------------------------------------------------------------------------------------------------------------

SYS: DNS   13.AAC.VA.GOV EKG, ROUTINE (12 LEA 1;0

-------------------------------------------------------------------------------------------------------------

3.  You will also need to update the CP Definition file #702.01 to add default TIU note for EKG results. For example:

Select CP DEFINITION NAME: EKG, ROUTINE (12 LEADS) {FC24A83A-6A93-A18C-B83D-D

70C7786CD1F}

DEFAULT TIU NOTE: EKG RESULTS//

4.  The CP INSTRUMENT file (#702.09) for entry Muse EKG must be Active, must have a NOTIFICATION MAIL GROUP entered that contains at least one member preferably the tester, and must have an EKG HL7 LOGICAL LINK

A.  From Fileman, select INQUIRE

B.  File Name: CP INSTRUMENT (#702.09)

C.  When the screen displays verify that the 3 entries are present:

EKG, Mailgroup name and MDHL-IN (EKG HL7 Logical Link)

Expected Results

Comments

Validates

Attachments

Step 2

Execution Step

Description*

Log in to VistA and then navigate to the Programmer's prompt.

Expected Results

The " VISTA>" prompt is displayed. Comments

Validates

Attachments

Step 3

Execution Step

Description*

Type D HL7SETUP^MD1P57 and then press Enter.

Expected Results

The "Patient name:" prompt is displayed. Comments

Validates

Attachments

Step 4

Execution Step

Description*

Type the Patient name and then press Enter.

Expected Results

The "PROVIDER NAME:" prompt is displayed.

Comments

Validates

Attachments

Step 5

Execution Step

Description*

Type the Provider name and then press Enter.

Expected Results

The IEN for the transmission is displayed and then the "Select HOSPITAL LOCATION NAME: " prompt is also displayed. For example:

IEN TO 772= 159395113

IEN TO 773= 157230906

Comments

Validates

Attachments

Step 6

Execution Step

Description*

Type the Clinic name and then press Enter.

Expected Results

The simulated transmission continues and then the PCE Visit is created.

For example, the following is displayed: IEN to 702=8559

DONE

Comments

Validates

Attachments

Step 7

Execution Step

Description*

Navigate to PXCE Encounter Viewer.

Expected Results

The "Select Patient or Clinic name:" prompt is displayed. Comments

Validates

Attachments

Step 8

Execution Step

Description*

Type the patient name and then press Enter.

Expected Results

The "...OK? Yes//" prompt is displayed. Comments

Validates

Attachments

Step 9

Execution Step

Description* Press Enter.

Expected Results

The PCE View Appointment List screen is displayed and the "Select Action:Quit//" prompt is displayed. Comments

Validates

Attachments

Step 10

Execution Step

Description*

Type LI (List by Encounter) and the press Enter.

Expected Results

The Patient Encounter list is displayed for the patient and then the "Select Action"Quit//" prompt is displayed again. Comments

Validates

Attachments

Step 11

Execution Step

Description*

Select the Encounter for the ECG.

Expected Results

The Encounter Profile for the patient is displayed and the details of the Encounter is also displayed. Verify that the Diagnosis is listed.

Comments

Validates

Attachments

Step 12

Execution Step

Description*

View the status of the Encounter.

Expected Results

Comments

Validates

Attachments

Step 13

Execution Step

Description*

Navigate to FileMan and inquire on the VISIT. Use the date and time of the EKG.

Expected Results

The VISIT information is displayed

For example:

VISIT/ADMIT DATE&TIME: JAN 25, 2019@12:28:20

DATE VISIT CREATED: JAN 25, 2019@14:57:54

TYPE: VA PATIENT NAME: DHA,JHJDADL

LOC. OF ENCOUNTER: CHEYENNE VAMC	SERVICE CATEGORY: AMBULATORY DEPENDENT ENTRY COUNT: 3

DATE LAST MODIFIED: JAN 25, 2019@14:57:55

ELIGIBILITY: SHARING AGREEMENT		HOSPITAL LOCATION: ICU CREATED BY USER: DOCTOR,GAMMA		VISIT ID: 8TM7G-CHY PATIENT STATUS IN/OUT: OUT	ENCOUNTER TYPE: PRIMARY SERVICE CONNECTION EDIT FLAG: EDITABLE

AGENT ORANGE EDIT FLAG: EDITABLE	IONIZING RADIATION EDIT FLAG: EDITABLE

SW ASIA CONDITIONS EDIT FLAG: EDITABLE

MST EDIT FLAG: EDITABLE	HEAD AND NECK CANCER EDIT FLAG: EDITABLE

COMBAT VETERAN EDIT FLAG: EDITABLE   PROJ 112/SHAD EDIT FLAG: EDITABLE PACKAGE: PCE PATIENT CARE ENCOUNTER  DATA SOURCE: CLINICAL PROCEDURES

Comments

Validates

Attachments

Step 14

Execution Step

Description*

Log in to CPRS and then enter the Patient name.

Expected Results

The CPRS Coversheet is displayed. Comments

Validates

Attachments

Step 15

Execution Step

Description*

Click the Notes tab.

Expected Results

The patient TIU Notes screen is displayed. Comments

Validates

Attachments

Step 16

Execution Step

Description*

Locate the Patient's signed EKG result. Double click on the Note.

Expected Results

The patient TIU Note for the EKG Result is displayed. Comments

Validates

Attachments

Step 17

Execution Step

Description*

Review the information and then locate the Procedure code.

Expected Results

The 9300 Procedure code for ECG is displayed. Comments

Validates

Attachments

Step 18

Execution Step

Description*

Review the Diagnosis code.

Expected Results

The Diagnosis code is listed. Comments

Validates

Attachments

Step 19

Execution Step

Description*

Click the Reports tab and then locate the Procedures (local only) Report.

Expected Results

The Procedure Date/Time and the Procedure Name for the EKG are displayed. Comments

Validates

Attachments

Step 20

Execution Step

Description*

If the user has access to VistA Imaging, the EKG report prints. Note: EPIP Test accounts are not hooked up to VistA Imaging.

Expected Results

The report prints in VistA Imaging. Comments

Validates

Attachments

Step 21

Execution Step

Description* End of test.

Expected Results

Comments

Validates

Attachments

Step 22

Execution Step

Description*

Type the Clinic name and then press Enter.

Expected Results

The simulated transmission continues and then the PCE Visit is created. For example, the following is displayed:

IEN TO 702= 8559

DONE

Comments

Validates

Attachments

Step 23

Execution Step

Description*

Navigate to PXCE Encounter Viewer.

Expected Results

The "Select Patient or Clinic name:" prompt is displayed. Comments

Validates

Attachments

Step 24

Execution Step

Description*

Type the patient name and then press Enter.

Expected Results

The "...OK? Yes//" prompt is displayed. Comments

Validates

Attachments

Step 25

Execution Step

Description* Press Enter.

Expected Results

The PCE View Appointment List screen is displayed and the "Select Action:Quit//" prompt is displayed. Comments

Validates

Attachments

Step 26

Execution Step

Description*

Type LI (List by Encounter) and then press Enter.

Expected Results

The Patient Encounter list is displayed for the patient and then the "Select Action:Quit//" prompt is displayed again. Comments

Validates

Attachments

Step 27

Execution Step

Description*

Select the encounter for the ECG.

Expected Results

The Encounter Profile for the patient is displayed and the details of the encounter is also displayed. Comments

Validates

Attachments

Step 28

Execution Step

Description*

View the status of the Encounter.

Expected Results

The encounter is checked out. Comments

Validates

Attachments

Step 29

Execution Step

Description*

Navigate to FileMan and inquire on the VISIT. Use the date and time of the EKG.

Expected Results

The VISIT information is displayed. For example:

VISIT/ADMIT DATE&TIME: JAN 25, 2019@12:28:20

DATE VISIT CREATED: JAN 25, 2019@14:57:54

TYPE: VA PATIENT NAME: DHA,JHJDADL

LOC. OF ENCOUNTER: CHEYENNE VAMC SERVICE CATEGORY: AMBULATORY DEPENDENT ENTRY COUNT: 3

DATE LAST MODIFIED: JAN 25, 2019@14:57:55

ELIGIBILITY: SHARING AGREEMENT HOSPITAL LOCATION: ICU CREATED BY USER: DOCTOR,GAMMA VISIT ID: 8TM7G-CHY PATIENT STATUS IN/OUT: OUT ENCOUNTER TYPE: PRIMARY SERVICE CONNECTION EDIT FLAG: EDITABLE

AGENT ORANGE EDIT FLAG: EDITABLE IONIZING RADIATION EDIT FLAG: EDITABLE SW ASIA CONDITIONS EDIT FLAG: EDITABLE

MST EDIT FLAG: EDITABLE HEAD AND NECK CANCER EDIT FLAG: EDITABLE COMBAT VETERAN EDIT FLAG: EDITABLE PROJ 112/SHAD EDIT FLAG: EDITABLE PACKAGE: PCE PATIENT CARE ENCOUNTER DATA SOURCE: CLINICAL PROCEDURES

Comments

Validates

Attachments

Step 30

Execution Step

Description*

Log in to CPRS and then enter the Patient name.

Expected Results

The CPRS Coversheet page is displayed. Comments

Validates

Attachments

Step 31

Execution Step

Description*

Click the Notes tab.

Expected Results

The patient TIU Notes screen is displayed. Comments

Validates

Attachments

Step 32

Execution Step

Description*

Locate the Patient's signed EKG result. Double click on the Note.

Expected Results

The patient TIU Note for the EKG Result is displayed. Comments

Validates

Attachments

Step 33

Execution Step

Description*

Review the information and then locate the Procedure code.

Expected Results

The 93000 Procedure code for ECG is displayed. Comments

Validates

Attachments

Step 34

Execution Step

Description*

Click the Reports tab and then locate the Procedures (local only) Report.

Expected Results

The Procedure Date/Time and the Procedure Name for the EKG are displayed. Comments

Validates

Attachments

Step 35

Execution Step

Description*

Optional:

If the user has access to VistA Imaging, the EKG report prints. Note: EPIP Test accounts are not hooked up to VistA Imaging.

Expected Results

The report prints in VistA Imaging.

Comments

Validates

Attachments

Step 36

Execution Step

Description* End of test.

Expected Results

Comments

Validates

Attachments

Associated E-Signatures

Signed	Action	Signer	Comment	Additional Information

147560: MD*1.0*57 Regression Testing

Creation Date:  Sep 21, 2017 2:18:30 PM (UTC-05:00)	Last Modified: Jan 29, 2019 11:42:28 AM (UTC-06:00) State:  Approved

Originator:  Henderson, John (AbleVets LLC)	Owner: Henderson, John (AbleVets LLC) Type:  Manual

Test Data:  Unassigned

Description:  This Test Script lists the Regression Testing steps for the patch MD*1.0*57 code modifications.

Summary

Categories

Function: Unassigned

Test Phase: Unassigned

Formal Review

General Comments

Manual Steps

Step 1

Execution Step

Description*

Prerequisites:

1. The User must have VistA and CPRS access.

2. The User must be able to manually enter and result an ECG order.

Expected Results

Comments

Validates

Attachments

Step 2

Execution Step

Description* Log in to VistA.

Expected Results

The "SELECT OPTION NAME:" prompt is displayed. Comments

Validates

Attachments

Step 3

Execution Step

Description*

Enter ECG Menu.

Expected Results

The "Select ELECTROCARDIOGRAM (EKG) Date and Time :" prompt is displayed. Comments

Validates

Attachments

Step 4

Execution Step

Description*

Enter a date and time. Example : T@0700.

Expected Results

The ELECTROCARDIOGRAM SCREEN is displayed.

Comments

Validates

Attachments

Step 5

Execution Step

Description*

Manually create an EKG report and then press Enter.

Expected Results

The EKG is completed and resulted. Comments

Validates

Attachments

Step 6

Execution Step

Description*

Log in to CPRS and then type the patient name.

Expected Results

The CPRS page is displayed. Comments

Validates

Attachments

Step 7

Execution Step

Description*

Go to the Reports tab and access Health Summary Ad Hoc report.

Expected Results

The Health Summary Components are displayed. Comments

Validates

Attachments

Step 8

Execution Step

Description*

Select and enter the EKG component for the report. Then click OK.

Expected Results

The patient EKG report is displayed. Comments

Validates

Attachments

Step 9

Execution Step

Description*

View the EKG report.

Expected Results

The EKG report is displayed. Comments

Validates

Attachments

Step 10

Execution Step

Description* End of test.

Expected Results

Comments

Validates

Attachments

Associated E-Signatures

Signed	Action	Signer	Comment	Additional Information

147563: MD*1.0*57 Unit Testing

Creation Date:  Sep 21, 2017 2:22:21 PM (UTC-05:00)	Last Modified: Jan 28, 2019 6:33:42 PM (UTC-06:00) State:  Approved

Originator:  Henderson, John (AbleVets LLC)	Owner: Bostwick, Leonard L. (Leidos) Type:  Manual

Test Data:  Unassigned

Description:  This Test Script lists the Unit Testing test steps for the Patch MD*1.0*57 code modifications.

Summary

Categories

Function: Unassigned

Test Phase: Unassigned

Formal Review

General Comments

Manual Steps

Step 1

Execution Step

Description* Prerequisites:

1. The user must have Development access.

Expected Results

Comments

Validates

Attachments

Step 2

Execution Step

Description*

Note that all of the entries are for CHEYENNE, highlighted in RED, and not for the test server. Add a new Entry by using the OPTION: XPAR EDIT PARAMETER.

Expected Results

Select OPTION NAME: XPAR EDIT PARAMETER	Edit Parameter Values

Comments

Validates

Attachments

Step 3

Execution Step

Description*

Enter XPAR.

Expected Results

Select PARAMETER DEFINITION NAME: MD GET HIGH VOLUME	Get High Volume

Comments

Validates

Attachments

Step 4

Execution Step

Description*

Type EKG, <ENTER> EKG, ROUTINE (12 LEADS).

Expected Results

Are you adding EKG, ROUTINE (12 LEADS as a new Procedure? Yes//.

Comments

Validates

Attachments

Step 5

Execution Step

Description* Press Enter.

Expected Results

Procedure: EKG, ROUTINE (12 LEADS)//.

Comments

Validates

Attachments

Step 6

Execution Step

Description* Press Enter.

Expected Results

EKG, ROUTINE (12 LEADS) {FC24A83A-6A93-A. Get String:

Comments

Validates

Attachments

Step 7

Execution Step

Description*

Enter 1;0 and then press Enter.

Expected Results

The Select Procedure prompt is displayed. Comments

Validates

Attachments

Step 8

Execution Step

Description*

Now if you recheck the parameters you will see your new entry with the test server associated. Run OPTION: XPAR LIST BY PARAM.

Expected Results

Values for MD GET HIGH VOLUME

Parameter	Instance	Value

----------------------------------------------------------------------------

SYS: DNS   11.AAC.VA.GOV	EKG, ROUTINE (12 LEA 1;0

SYS: CHEYLAB1.AAC.VA.GOV	COLONOSCOPY	1;0

SYS: CHEYLAB1.AAC.VA.GOV	EGD	1;0

SYS: CHEYLAB1.AAC.VA.GOV	FLEX SIG	1;0

Comments

Validates

Attachments

Step 9

Execution Step

Description*

Next you will need a default TIU note for EKG, ROUTINE (12 LEAD) in CP DEFINITION file (#702.01) (You may need programmer level access for this).

D P^DI <ENTER>

Expected Results

Input to what File:

Comments

Validates

Attachments

Step 10

Execution Step

Description*

Type 702.01  <ENTER> CP DEFINITION.

Expected Results

EDIT WHICH FIELD: ALL// Comments

Validates

Attachments

Step 11

Execution Step

Description*

Type .04 <ENTER> DEFAULT TIU NOTE.

Expected Results

Select CP DEFINITION NAME:

Comments

Validates

Attachments

Step 12

Execution Step

Description*

Type EKG, ROUTINE (12 LEADS) and press <ENTER>.

Expected Results

DEFAULT TIU NOTE:

Comments

Validates

Attachments

Step 13

Execution Step

Description*

Type EKG RESULTS and then press Enter.

Expected Results

You are exited out of the option.

Comments

Validates

Attachments

Step 14

Execution Step

Description* Prerequisite:

To activate the patch, the user must have the option MDACTVST as a secondary menu option.

Expected Results

Comments

Validates

Attachments

Step 15

Execution Step

Description*

Run option MDACTVST.

Expected Results

Select OPTION NAME: MDACTVST	Activate Auto Create of Visit for EKG

Activate Auto Create of Visit for EKG

Setting AUTO CREATE VISIT ON FINALIZING EKG for System: PW             .GOV Value: NO//

Comments

Validates

Attachments

Step 16

Execution Step

Description*

Type Yes and then press Enter.

Expected Results

The flag is set to On. Comments

Validates

Attachments

Step 17

Execution Step

Description*

At the programmer's prompt, type D HL7SETUP^MD1P57 and then press Enter.

Expected Results

The patient name prompt is displayed. Comments

Validates

Attachments

Step 18

Execution Step

Description*

Type patient name and then press Enter.

Expected Results

The Automatic transmission is created for EKG. Comments

Validates

Attachments

Step 19

Execution Step

Description* End of test.

Expected Results

Comments

Validates

Attachments

Associated E-Signatures

Signed	Action	Signer	Comment	Additional Information

211666: MD*1.0*57 Component Integration and System Testing

Creation Date:  Jan 21, 2019 12:03:40 PM (UTC-06:00)	Last Modified: Jan 29, 2019 11:40:41 AM (UTC-06:00) State:  Approved

Originator:  Ilustrisimo, Lucy (Leidos)	Owner: Ilustrisimo, Lucy (Leidos) Type:  Manual

Test Data:  Unassigned

Description:  This Test Script lists the steps for the Component Integration testing of EPIP patch MD*1.0*57.

Summary

Categories

Function: Unassigned

Test Phase: Unassigned

Formal Review

General Comments

Manual Steps

Step 1

Execution Step

Description*

Prerequisites:

1. The user must have access to Health Summary in VistA, preferably ADPAC credentials.

2. The user must have the ability to order, process, and complete an EKG order manually.

3. The user test account must be set up in CPRS to display TIU result for manual ECG.

Test Data :

1. EKG orders and results must be created manually in VistA.

Expected Results

Comments

Validates

Attachments

Step 2

Execution Step

Description*

Log in to VistA and then navigate to the ECG Menu.

Expected Results

A list of ECG Menu options is displayed and the "Select Option Name:" prompt is also displayed. Comments

Validates

Attachments

Step 3

Execution Step

Description*

Select menu option 1 Enter/Edit ECG (Screen).

Expected Results

The "Select ELECTROCARDIOGRAM(EKG) DATE /TIME:" prompt is displayed. Comments

Validates

Attachments

Step 4

Execution Step

Description*

Enter the Date and Time for the EKG Report.

Expected Results

The ECG screen is displayed and then the patient results are displayed.

Comments

Validates

Attachments

Step 5

Execution Step

Description*

Log in to CPRS and then enter the patient name.

Expected Results

The CPRS Coversheet is displayed. Comments

Validates

Attachments

Step 6

Execution Step

Description*

Select the Reports tab and then select Health Summary Ad Hoc report.

Expected Results

The patient EKG report is displayed.

Comments

Validates

Attachments

Step 7

Execution Step

Description*

Type EKG results to select the EKG report to display and then click OK.

Expected Results

The EKG results is displayed. Comments

Validates

Attachments

Step 8

Execution Step

Description*

Click the Notes tab and locate the EKG result for the patient.

Expected Results

The EKG result is displayed. Comments

Validates

Attachments

Step 9

Execution Step

Description* End of test.

Expected Results

Comments

Validates

Attachments

Associated E-Signatures

Signed	Action	Signer	Comment	Additional Information

212291: MD*1.0*57 On/Off Switch for EKG MUSE Transmission

Creation Date:  Jan 25, 2019 2:10:14 PM (UTC-06:00)	Last Modified: Jan 31, 2019 4:15:10 PM (UTC-06:00) State:  Approved

Originator:  Ilustrisimo, Lucy (Leidos)	Owner: Type:  Manual

Test Data:  Unassigned

Copied To:MD*1.0*57 VA 508 Compliance On/Off Switch for EKG MUSE Transmission

Description:  This Test Script lists the steps for the Functional Testing of EPIP patch MD*1.0*57 On/Off Switch parameter for the Automatic EKG MUSE Transmission.

Summary

Categories

Function: Unassigned

Test Phase: Unassigned

Formal Review

General Comments

Manual Steps

Step 1

Execution Step

Description*

Note to IOC Test Sites:

This test script was executed in the SQA test environment and is meant as a guideline for IOC testing. You may experience a slight difference in system responses when executing this test script due to your site’s test environment, VistA configuration, and/or test data. Please be sure to consider your site’s configuration and workflow as you execute this test script, and adjust accordingly

Prerequisites:

1.  The user must have access to the Programmer's prompt in VistA.

2.  The user must have a secondary menu option MDACTVST. Expected Results

Comments

Validates

Attachments

Step 2

Execution Step

Description*

Log in to VistA and then access the Programmer's prompt.

Expected Results

The "Select OPTION NAME:" prompt is displayed. Comments

Validates

Attachments

Step 3

Execution Step

Description*

Type MDACTVST and then press Enter.

Expected Results

The "Setting AUTO CREATE VISIT ON FINALIZING EKG for System: DNS   13.AAC.DNS    Value:" prompt is displayed. Comments

Validates

Attachments

Step 4

Execution Step

Description* Type Yes.

Expected Results

The ON (Yes) flag is set. Comments

Validates

Attachments

Step 5

Execution Step

Description*

Change the flag to No.

Expected Results

The flag is set to OFF (No). Comments

Validates

Attachments

Step 6

Execution Step

Description* End of test.

Expected Results

Comments

Validates

Attachments

Associated E-Signatures

Signed	Action	Signer	Comment	Additional Information

212327: MD*1.0*57 VA 508 Compliance On/Off Switch for EKG MUSE Transmission

Creation Date:  Jan 25, 2019 4:45:04 PM (UTC-06:00)	Last Modified: Jan 25, 2019 5:29:17 PM (UTC-06:00) State:  Approved

Originator:  Hunton, Eden (Leidos)	Owner: Hunton, Eden (Leidos)

Type:  Manual

Test Data:  Unassigned

Copied From:MD*1.0*57 On/Off Switch for EKG MUSE Transmission

Description:  This test script lists the steps for the VA 508 Compliance Testing of the EPIP patch MD*1.0*57 code modifications.

Summary

Categories

Function: Unassigned

Test Phase: Unassigned

Formal Review

General Comments

Manual Steps

Step 1

Execution Step

Description* Prerequisite:

1. The user must have a secondary menu option MDACTVST.

2. The use has JAWS application. Expected Results

Comments

Validates

Attachments

Step 2

Execution Step

Description*

Launch JAWS application.

Expected Results

The JAWS application is launched. Comments

Validates

Attachments

Step 3

Execution Step

Description*

Log in to VistA and then access the programmer's prompt.

Expected Results

The "Select OPTION NAME:" prompt is displayed. Comments

Validates

Attachments

Step 4

Execution Step

Description*

Type MDACTVST and then press Enter.

Expected Results

The " Setting AUTO CREATE VISIT ON FINALIZING EKG for System: DNS   13.AAC.DNS    Value: YES// " prompt is displayed. Comments

Validates

Attachments

Step 5

Execution Step

Description*

Press Enter. Or enter a new system name and then press Enter.

Expected Results

The ON/Off flag is displayed ( Yes or No). Comments

Validates

Attachments

Step 6

Execution Step

Description*

Edit the flag as needed.

Expected Results

The flag is set as needed.

Comments

Validates

Attachments

Step 7

Execution Step

Description* End of test.

Expected Results

Comments

Validates

Attachments

Associated E-Signatures

Signed	Action	Signer	Comment	Additional Information