Existing Product Intake Program (EPIP)

Patch MC*2.3*48

National Patch Module Patch Description

Department of Veterans Affairs

January 2019

Version 2.0

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 01/22/2019 | 2.0 | Updates throughout | EPIP Project Team |
| 11/17/2017 | 1.0 | Initial (draft) version | EPIP Project Team |

National Patch Module Patch Description

=============================================================================

Run Date: JAN 22, 2019                         Designation: MC*2.3*48 TEST v3

Package : MEDICINE                             Priority:    MANDATORY

Version : 2.3                                  Status:      UNDER DEVELOPMENT

=============================================================================

Subject: CREATE PCE ENTRY FOR EKG

Category: ROUTINE

Description:

----------------------------------------------------------------

PLEASE NOTE

THIS PATCH IS PART OF THE EPIP_MC_GMTS_IP25_TV3.KID HOST FILE,

WHICH CONSISTS OF MC*2.3*48 AND GMTS*2.7*123. THE MC PATCH

WILL BE INSTALLED BEFORE THE GMTS PATCH.

----------------------------------------------------------------

MC*2.3*48 automatically adds a Patient Care Encounter (PCE) entry in VistA after an electrocardiogram (EKG) reading is verified in the MUSE web service. Currently, staff cardiologists must manually enter the information from each EKG reading, which is time consuming and prone to data errors and omissions.

To create the automated PCE entry, each EKG cart is assigned a unique identifier to designate an inpatient or outpatient location. After an EKG is performed, transmitted to MUSE, and manually confirmed by the cardiologist, MUSE generates a Health Link 7 (HL7) message that includes the cardiologist's identification, the EKG location, date/time of the EKG, and patient identification. This data is automatically filed in the ELECTROCARDIOGRAM (EKG) file (#691.5) and the visit is created in the VISIT file (#9000010). If the EKG data is not successfully transferred to a PCE, a Mail Alert is sent to the MCM4 MUSE mail group.

Note: Information Resource Management (IRM) staff can view visits in the PCE Encounter Viewer [PXCE ENCOUNTER VIEWER] option in the PCE Coordinator Menu [PX PCE COORDINATOR MENU]. Visits do not display in the PCE Clinician Menu [PX PCE CLINICIAN MENU] to prevent the editing of the transmitted data.

The new option Set XPAR Values for EKG/MUSE [MCM4 XPAR] in the existing ECG Menu [MCARECG] option is used to configure the five new XPAR MUSE system-level parameters used to pass the EKG data from MUSE to a PCE. The MCM4 MUSE parameter template calls the five parameters.

- The MCM4 MUSE INTERFACE STATUS parameter in the PARAMETER DEFINITION file (#8989.51) is used to turn the functionality On/Off. Initially, this parameter is set to OFF (No).

- The MCM4 MUSE STD INPATIENT LOC parameter is used to set the default inpatient location.

- The MCM4 MUSE DEFAULT OUTPT LOC parameter maps the default outpatient location.

- The MCM4 MUSE LOC ID parameter is used to define the EKG cart number(s) that identify the MUSE location(s).

- The MCM4 MUSE LOC INPATIENT OOS parameter is used to set the inpatient Occasion of Service (OOS) location.

The patch also adds two new options that generate reports that can be printed to a Cardiology department printer. Both of these reports are configured in Taskman. It is recommended that these reports be run weekly, but the site can set the schedule to meet its needs. The EKG Action Required Report [MCM4 EKG OUTPATIENT ENC] option creates a report listing outpatients with a status of “ACTION REQUIRED” in the OUTPATIENT ENCOUNTER file (#409.68). The EKG Action Required Report is generated using the new print template MC EKG ACTION REQ and the new sort template MC EKG ACTION REQ. The sort template must be set up using the Template Edit option in the FileMan Utility Functions menu [DIUTILITY] to establish the clinic that will be used for this report. The Missing EKG Report Interpreted By [MCM4 MISSING EKG REPORT] option creates a report listing the patient records that need a physician name to be entered in the INTERPRETED BY field (#12)in the ELECTROCARDIOGRAM (EKG) file (#691.5). The Missing EKG Report Interpreted By report is generated using the new print template MC MISSING INTERPRETED BY and the new sort template MC MISSING INTERPRETED BY.

Patch Components:

-----------------

Files & Fields Associated:

File Name (Number)         Field Name (Number)     New/Modified/Deleted

------------------         -------------------     --------------------

N/A

Forms Associated:

Form Name                  File #                  New/Modified/Deleted

---------                  ------                  --------------------

N/A

Mail Groups Associated:

Mail Group Name            New/Modified/Deleted

---------------            --------------------

N/A

Options Associated:

Option Name                   Type                 New/Modified/Deleted

-----------                   ----                 ---------------------

MCARECG                       MENU                 MODIFIED

MCM4 EKG MUSE TEST MENU       MENU                 NEW

MCM4 EKG OUTPATIENT ENC       REPORT               NEW

MCM4 MISSING EKG REPORT       REPORT               NEW

MCM4 HL7 TEST                 RUN ROUTINE          NEW

MCM4 XPAR                     RUN ROUTINE          NEW

Protocols Associated:

Protocol Name              New/Modified/Deleted

-------------              --------------------

N/A

Parameters Associated:

Parameter Name                    New/Modified/Deleted

---------------                   --------------------

MCM4 MUSE DEFAULT OUTPT LOC       NEW

MCM4 MUSE INTERFACE STATUS        NEW

MCM4 MUSE LOC ID                  NEW

MCM4 MUSE LOC INPATIENT OOS       NEW

MCM4 MUSE STD INPATIENT LOC       NEW

Security Keys Associated:

Security Key Name

-----------------

N/A

Templates Associated:

Template Name           Type     File Name (Number)               New/Modified/Deleted

-------------           ----     ------------------               --------------------

MC EKG ACTION REQ       PRINT    OUTPATIENT ENCOUNTER (409.68)    NEW

MC MISSING INTERPRETED  PRINT    ELECTROCARDIOGRAM                NEW

BY                                (EKG)(691.5)

MC EKG ACTION REQ       SORT     OUTPATIENT ENCOUNTER (409.68)    NEW

MC MISSING INTERPRETED  SORT     ELECTROCARDIOGRAM                NEW

BY                                (EKG)(691.5)

MCM4 MUSE               XPAR     PARAMETER TEMPLATE (8989.52)     NEW

Additional Information:

N/A

New Service Requests (NSRs):

----------------------------

NSR 20170607 Create PCE Entry for EKG

Patient Safety Issues (PSIs):

-----------------------------

N/A

Defect Tracking System Ticket(s) & Overview:

--------------------------------------------

N/A

Problem:

-------

N/A

Resolution:

----------

N/A

Test Sites:

----------

Hunter Holmes McGuire VA Medical Center, Richmond, VA

Milwaukee VA Medical Center, Milwaukee, WI

Software and Documentation Retrieval Instructions:

----------------------------------------------------

Software being released as a host file and/or documentation describing the new functionality introduced by this patch are available.

The preferred method is to retrieve files from download.DNS      .DNS   . This transmits the files from the first available server. Sites may also elect to retrieve files directly from a specific server.

Sites may retrieve the software and/or documentation directly using Secure File Transfer Protocol (SFTP) from the ANONYMOUS.SOFTWARE directory at the following OI Field Offices:

Hines:                 DNS     .URL

Salt Lake City:              .URL

Documentation can also be found in the VA Software Document Library (VDL) at:

https://www.DNS   /vdl/.

Title                         File Name                        FTP Mode

-----------------------------------------------------------------------

Medicine Technical Manual     mc_2_3tm.doc                      Binary

Medicine Technical Manual     mc_2_3tm.pdf                      Binary

Medicine User Manual          mc_2_3um.doc                      Binary

Medicine User Manual          mc_2_3um.pdf                      Binary

Patch Installation:

Pre/Post Installation Overview:

-------------------------------

Review the Pre-Installation Instructions provided before beginning installation of the patch.

Pre-Installation Instructions:

------------------------------

This patch may be installed with users on the system, although it is recommended that it be installed during non-peak hours to minimize potential disruption to users. This patch should take less than 5 minutes to install.

Installation Instructions:

------------------------------

- To install the patch:

- 1. From the Kernel Installation and Distribution System (KIDS) menu, select the Installation Menu.

- 2. Select option 1, Load a Distribution. At the “Enter a Host File:” prompt, enter the full pathname for host file EPIP_MC_GMTS_IP25_TV3.KID.

- 3. Enter YES for each “OK to Continue with Load? NO//” prompt.

- 4. When the Installation Menu is redisplayed, use the following options to continue patch installation. When prompted for the INSTALL NAME, enter primary patch number <Patch #>.

- a. Verify Checksums in Transport Global - This option will help ensure the

- integrity of the routines that are in the transport global.

- b. Print Transport Global - This option will enable viewing the components of

- the KIDS build.

- c. Compare Transport Global to Current System - This option will enable viewing

- all changes that will be made when this patch is installed. It compares all

- components of this patch (routines, data dictionaries, templates, etc.).

- d. Back up a Transport Global - This option will create a backup message of any

- routines exported with this patch. It will not back up any other changes such

- as data dictionaries or templates.

- 5. From the Installation Menu, select the Install Package(s) option. When prompted for the INSTALL NAME, enter primary patch number MC*2.3*48.

- 6. If prompted ‘Want KIDS to Rebuild Menu Trees Upon Completion of Install? NO//’, press <Enter>.

- 7. When prompted ‘Want KIDS to INHIBIT LOGONs during the install? NO//’, press <Enter>.

- 8. When prompted 'Want to DISABLE Scheduled Options, Menu Options, and Protocols? NO//’, press <Enter>.

- 9. If prompted ‘Delay install (Minutes): (0-60): 0//’, press <Enter>.

- 10. If prompted 'Enter the Device you want to print the Install messages. You can queue the install by enter a 'Q' at the device prompt. Enter a '^' to abort the install. DEVICE: HOME//   HOME  (CRT)', press <Enter>.

Post-Installation Instructions:

-------------------------------

To test the MUSE-to-PCE data transfer capabilities without an available EKG machine, this patch adds the new Medicine Emulate HL7 to PCE [MCM4 HL7 TEST] test option in the EKG MUSE Test Menu [MCM4 EKG MUSE TEST MENU] secondary menu option. This secondary menu option must be set up only for a tester by Office of Information and Technology (OIT) support personnel, users in a Production environment will not have access to this secondary menu option.

The EKG Action Required Report and Missing EKG Report Interpreted By options can be tested without being configured in Taskman by using these options in the EKG MUSE Test Menu [MCM4 EKG MUSE TEST MENU] secondary menu. The reports generated using the options in the test menu provide results from the last seven days.

Backout Procedure:

------------------

Backout of this patch will be performed only with the concurrence and participation of the appropriate VA site/region personnel. The decision to back out the patch will be a joint decision between VA site/region personnel and other appropriate VA personnel.

Note: Due to the complexity of the multi-patch build that includes this patch, it is not recommended for backout, and a restore from a backup of the Transport Global should not be attempted. However, in the event that a site decides to back out the primary and/or companion patches included in the host file, the site should contact the National Service Desk (NSD) to submit a help desk ticket. The development team will need to issue one or more follow-on patches in order to comprehensively complete the backout, after coordination with the VA Project Manager and COR.

Validation of Backout Procedure:

--------------------------------

The Backout procedure can be verified by printing the first two lines of the MC routines contained in this patch using the option First Line Routine Print [XU FIRST LINE PRINT]. Once the MC routines have been backed out, the first two lines of the routines will no longer contain the designation of patch MC*2.3*48 on line 2 in the patch list section.

Note: This validation procedure only verifies that routine changes have been backed out for this patch. It does not confirm that routine changes within other patches in the multi-patch build have been backed out. It also does not confirm that component changes other than routines have been backed out.

Routine Information:

--------------------

The second line of each of these routines now looks like:

;;2.3;Medicine;**[Patch List]**;09/13/1996;Build 31

The checksums below are new checksums, and can be checked with CHECK1^XTSUMBLD.

Routine Name: MCAR7M1

Before:  B5115104   After:  B5204541  **24,48**

Routine Name: MCM4MC3

Before:       n/a   After: B64549046   **48**

Routine list of preceding patches: 24