Existing Product Intake Program (EPIP)

Patch LR*5.2*508

National Patch Module Patch Description

Department of Veterans Affairs

August 2018

Version 1.0

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 08/06/2018 | 1.0 | Initial version | EPIP Project Team |

National Patch Module Patch Description

=============================================================================

Run Date: AUG 02,2018                        Designation: LR*5.2*508  TEST v4

Package : LAB SERVICE                        Priority   : MANDATORY

Version : 5.2                                Status     : UNDER DEVELOPMENT

=============================================================================

Associated patches:	(v)LR*5.2*476  <<= must be installed BEFORE `LR*5.2*508'

Subject: REMOVAL OF OBSOLETE FIELD AND SPECIMEN IN EXECUTE CODE

Category:	ROUTINE

Description:

------------

Patch LR*5.2*508 corrects references to one obsolete field and one specimen found in the EXECUTE CODE file (#62.07) for Mycology and Bacteriology. The obsolete references were discovered after the release of LR*5.2*476.

For Mycology, field #19.2 listed in the EXECUTE CODE field (#1) is not defined in the LAB DATA file (#63) and is deleted. For Bacteriology, specimen #68 from the TOPOGRAPHY FIELD file (#61) was previously referenced in the EXECUTE CODE field (#1) with the expression LRSPEC=68. This reference is changed to LRSPEC=360 to reflect specimen #360 from the TOPOGRAPHY FIELD file (#61).

This patch also updates the DESCRIPTION field (#6) in the EXECUTE CODE file (#62.07) with new national definitions for Bacteriology, Mycology, and TB Bacteriology entries. The national definitions are updated to include the sub-fields PRELIMINARY BACT COMMENT (#1), PRELIMINARY MYCOLOGY COMMENT (#20.5), and PRELIMINARY TB COMMENT (#26.5). These sub-fields originate from the MICROBIOLOGY multiple field (#5) defined in the LAB DATA file (#63).

Post-installation routine LR52P508 makes the edits to the EXECUTE CODE field (#1) for Bacteriology and Mycology records. This routine also updates the DESCRIPTION field (#6) with new national definitions for Bacteriology, Mycology, and TB Bacteriology entries. Upon completion of patch installation, the routine is deleted automatically.

Routine LRMISTF is modified to reference the preliminary comment fields for Bacteriology, Mycology, and TB Bacteriology, along with corresponding expansion codes. This enables predefined messages from the LAB DESCRIPTIONS file (#62.5) to appear when the user runs the Results Entry (Batch) option.

Note to sites: Office of Information and Technology (OIT) personnel can retrieve the installation log for this patch by using the Install File Print [XPD PRINT INSTALL FILE] option in the UTILITIES submenu of KIDS. If any local changes were saved when this patch was installed, they must be restored manually after installation of the patch.

BLOOD BANK Clearance:

---------------------

EFFECT ON BLOOD BANK FUNCTIONAL REQUIREMENTS: Patch LR*5.2*508 does not contain any changes to the VISTA BLOOD BANK Software as defined by ProPath standard titled: BBM Team Review of VistA Patches.

EFFECT ON BLOOD BANK FUNCTIONAL REQUIREMENTS: Patch LR*5.2*508 does not alter or modify any software design safeguards or safety critical elements functions.

RISK ANALYSIS: Changes made by patch LR*5.2*508 have no effect on Blood

Bank software functionality, therefore RISK is none.

VALIDATION REQUIREMENTS BY OPTION: Because of the nature of the changes made, no specific validation requirements exist as a result of installation of this patch.

Patch Components:

-----------------

Files & Fields Associated:

File Name (Number)         Field Name (Number)     New/Modified/Deleted

------------------         -------------------     --------------------

N/A

Forms Associated:

Form Name                  File #                  New/Modified/Deleted

---------                  ------                  --------------------

N/A

Mail Groups Associated:

Mail Group Name            New/Modified/Deleted

---------------            --------------------

N/A

Options Associated:

Option Name                      Type              New/Modified/Deleted

-----------                      ----              --------------------

N/A

Protocols Associated:

Protocol Name              New/Modified/Deleted

-------------              --------------------

N/A

Parameters Associated:

Parameter Name             New/Modified/Deleted

---------------            --------------------

N/A

Security Keys Associated:

Security Key Name

-----------------

N/A

Templates Associated:

Template Name      Type    File Name (Number)  New/Modified/Deleted

-------------      ----    ------------------  --------------------

N/A

Additional Information:

-----------------------

N/A

New Service Requests (NSRs):

----------------------------

N/A

Patient Safety Issues (PSIs):

-----------------------------

N/A

Defect Tracking System Ticket(s) & Overview:

--------------------------------------------

N/A

Problem:

-------

N/A

Resolution:

----------

N/A

Test Sites:

----------

VA San Diego Healthcare System, San Diego, CA

Gulf Coast Veterans Health Care System, Biloxi, MS

Software and Documentation Retrieval Instructions:

----------------------------------------------------

The software is released as a PackMan patch message and is distributed from FORUM.

Software documentation describing the new functionality introduced by this patch is available for downloading.

The preferred method is to retrieve files from download.DNS      .DNS   .

This transmits the files from the first available server. Sites may

also elect to retrieve files directly from a specific server.

Sites may retrieve the software and/or documentation directly using Secure File Transfer Protocol (SFTP) from the ANONYMOUS.SOFTWARE directory at the following

OI Field Offices:

Hines:                  DNS     .URL

Salt Lake City:               .URL

Documentation can also be found in the VA Software Document Library (VDL) at:

https://www.DNS   /vdl/.

Title                                    File Name            FTP Mode

-----------------------------------------------------------------------

Laboratory Technical Manual Version 5.2  lab5_2tm.doc         Binary

Laboratory Technical Manual Version 5.2  lab5_2tm.pdf         Binary

Patch Installation:

Pre/Post Installation Overview:

-------------------------------

Review the Pre-Installation Instructions provided before beginning installation of the patch.

Pre-Installation Instructions:

------------------------------

This patch may be installed with users on the system although it is recommended that it be installed during non-peak hours to minimize potential disruption to users.  This patch should take less than 5 minutes to install.

Installation Instructions:

------------------------------

- To install the patch:

- 1. Choose the PackMan message containing this patch.

- 2. Choose the INSTALL/CHECK MESSAGE PackMan option.

- 3. From the Kernel Installation and Distribution System (KIDS) menu, select the Installation Menu. From this menu, you may elect to use the following options. When prompted for the INSTALL NAME, enter the patch number LR*5.2*508.

- a. Verify Checksums in Transport Global - This option will help ensure the

- integrity of the routines that are in the transport global.

- b. Print Transport Global - This option will enable viewing the components of

- the KIDS build.

- c. Compare Transport Global to Current System - This option will enable viewing

- all changes that will be made when this patch is installed. It compares all

- components of this patch (routines, data dictionaries, templates, etc.).

- d. Back up a Transport Global - This option will create a backup message of any

- routines exported with this patch. It will not back up any other changes such

- as data dictionaries or templates.

- 4. From the Installation Menu, select the Install Package(s) option and choose the patch to install.

- 5. When prompted ‘Want KIDS to INHIBIT LOGONs during the install? NO//’, press <Enter>.

6. When prompted 'Want to DISABLE Scheduled Options, Menu Options, and Protocols? NO//', press <Enter>.

- 7. If prompted ‘Delay install (Minutes): (0-60): 0//’, press <Enter>.

- 8. If prompted 'Enter the Device you want to print the Install messages. You can queue the install by enter a 'Q' at the device prompt. Enter a '^' to abort the install. DEVICE: HOME//   HOME  (CRT)', press <Enter>.

Post-Installation Instructions:

-------------------------------

Verify that the execute codes for Mycology and Bacteriology have been updated by doing a FileMan inquiry of the EXECUTE CODE file (#62.07) and then reviewing the MUMPS code in the EXECUTE CODE field (#1). For Mycology, field #19.2 should no longer be available. For Bacteriology, the reference to specimen #68 with the expression LRSPEC=68 should now read LRSPEC=360.

OIT personnel can retrieve the installation log for this patch by using the Install File Print [XPD PRINT INSTALL FILE] option in the UTILITIES submenu of KIDS. If any local changes were saved when this patch was installed, they must be restored manually after installation of the patch.

Backout Procedure:

------------------

Backout of this patch will be performed only with the concurrence and participation of the appropriate VA site/region personnel. The decision to back out the patch will be a joint decision between VA site/region personnel and other appropriate VA personnel.

Prior to installing the updated KIDS package, the site/region should have saved a backup of the routines in a mail message using the Backup a Transport Global [XPD BACKUP] menu option. The message containing the backed up routines can be loaded with the "Xtract PackMan" function at the Message Action prompt. The PackMan function INSTALL/CHECK MESSAGE is then used to install the backed up routines onto the VistA system.

Validation of Backout Procedure:

--------------------------------

The Backout procedure can be verified by printing the first two lines of the LR routines contained in this patch using the option First Line Routine Print [XU FIRST LINE PRINT]. Once the LR routines have been backed out, the first two lines of the routines will no longer contain the designation of patch LR*5.2*508 on line 2 in the patch list section.

Routine Information:

--------------------

The second line of each of these routines now looks like:

;;5.2;LAB SERVICE;**[Patch List]**;Sep 27, 1994;Build 8

The checksums below are new checksums, and can be checked with CHECK1^XTSUMBLD.

Routine Name: LR52P508

Before:       n/a   After: B42243663  **508**

Routine Name: LRMISTF

Before: B14531968   After: B15004530  **153,476,508**

Routine list of preceding patches: 476